## Test Receipt
Test Results
2022-03-11
Instrument Type | High Speed Photoreceiver Module
Model | RXM40AF
Serial Number | U00460
Dark Current | 19 | nA
Responsivity @ 1550nm SM | 0.62 | A/W
ORL (dB) @ 1550nm SM | -31 | dB
Responsivity @ | #DIV/0! | A/W
ORL (dB) @ | 0 | dB
3 dB Bandwidth | 39.9651 | GHz
QA:
Normalized Frequency Response:
Peaking=1, Gain=8
Caution: This is an ESD Sensitive Component
Additional test data and all other documentation may be found at www.thorlabs.com/manuals

## Tabular Results
U00460 | Peaking=1, Gain=8
2022-03-11
Frequency | Out 1 Frequency Response | Out 2 Frequency Response
0.035 | 0.10223 | -0.05674
0.07 | 0.14736 | -0.020905
0.105 | 0.17654 | 0.016488
0.14 | 0.1841 | 0.026413
0.175 | 0.19178 | 0.047343
0.21 | 0.24387 | 0.083051
0.245 | 0.24015 | 0.090597
0.28 | 0.23025 | 0.096098
0.315 | 0.20646 | 0.078535
0.35 | 0.21424 | 0.084016
0.385 | 0.19767 | 0.073018
0.42 | 0.14887 | 0.03762
0.455 | 0.068008 | -0.04273
0.49 | 0.074007 | -0.031331
0.525 | 0.005532 | -0.069568
0.56 | 0.051739 | -0.037517
0.595 | 0.008155 | -0.068453
0.63 | -0.029358 | -0.11324
0.665 | -0.014974 | -0.093911
0.7 | -0.059261 | -0.14691
0.735 | -0.02723 | -0.095617
0.77 | -0.090307 | -0.14114
0.805 | -0.10428 | -0.16804
0.84 | -0.11653 | -0.16621
0.875 | -0.096407 | -0.12632
0.91 | -0.082056 | -0.12083
0.945 | -0.058797 | -0.089917
0.98 | -0.014037 | -0.045242
1.015 | 0.022597 | -0.005519
1.05 | -0.020746 | -0.046233
1.085 | -0.005765 | -0.037676
1.12 | -0.043829 | -0.077072
1.155 | -0.00705 | -0.030037
1.19 | -0.045703 | -0.066623
1.225 | -0.020345 | -0.032311
1.26 | -0.094454 | -0.1029
1.295 | -0.06203 | -0.067446
1.33 | -0.007651 | -0.034802
1.365 | -0.076676 | -0.078655
1.4 | -0.045751 | -0.044458
1.435 | -0.040047 | -0.042639
1.47 | 0 | 0
1.505 | -0.058134 | -0.03768
1.54 | -0.075587 | -0.061924
1.575 | -0.1032 | -0.084622
1.61 | -0.13813 | -0.13567
1.645 | -0.14078 | -0.14217
1.68 | -0.13458 | -0.1148
1.715 | -0.14231 | -0.11238
1.75 | -0.15963 | -0.13401
1.785 | -0.17017 | -0.15606
1.82 | -0.19726 | -0.17435
1.855 | -0.18921 | -0.16964
1.89 | -0.19432 | -0.16944
1.925 | -0.20103 | -0.17615
1.96 | -0.21502 | -0.18981
1.995 | -0.22618 | -0.2023
2.03 | -0.32037 | -0.30386
2.065 | -0.33232 | -0.30971
2.1 | -0.27251 | -0.25108
2.135 | -0.2802 | -0.24715
2.17 | -0.28271 | -0.25857
2.205 | -0.30538 | -0.28164
2.24 | -0.2976 | -0.2659
2.275 | -0.29856 | -0.25903
2.31 | -0.30799 | -0.28079
2.345 | -0.31776 | -0.28584
2.38 | -0.34154 | -0.29339
2.415 | -0.33783 | -0.2968
2.45 | -0.34875 | -0.31309
2.485 | -0.27888 | -0.24827
2.52 | -0.40431 | -0.36053
2.555 | -0.39782 | -0.33838
2.59 | -0.38666 | -0.33367
2.625 | -0.39301 | -0.34353
2.66 | -0.4083 | -0.35227
2.695 | -0.4141 | -0.35906
2.73 | -0.44897 | -0.40678
2.765 | -0.48319 | -0.44105
2.8 | -0.49474 | -0.46257
2.835 | -0.4549 | -0.40733
2.87 | -0.45196 | -0.39544
2.905 | -0.44362 | -0.386
2.94 | -0.42371 | -0.38287
2.975 | -0.42184 | -0.35976
3.01 | -0.40103 | -0.33737
3.045 | -0.42872 | -0.36962
3.08 | -0.38568 | -0.32458
3.115 | -0.38421 | -0.30912
3.15 | -0.37174 | -0.31003
3.185 | -0.34741 | -0.30785
3.22 | -0.34895 | -0.30577
3.255 | -0.33828 | -0.28573
3.29 | -0.35288 | -0.30636
3.325 | -0.34248 | -0.30318
3.36 | -0.33573 | -0.29617
3.395 | -0.32682 | -0.28468
3.43 | -0.34696 | -0.31134
3.465 | -0.38304 | -0.33954
3.5 | -0.35544 | -0.31034
3.535 | -0.37903 | -0.31994
3.57 | -0.39142 | -0.3517
3.605 | -0.38015 | -0.33231
3.64 | -0.38369 | -0.34216
3.675 | -0.36206 | -0.32407
3.71 | -0.35749 | -0.32155
3.745 | -0.35392 | -0.29879
3.78 | -0.31821 | -0.28302
3.815 | -0.33109 | -0.29374
3.85 | -0.32441 | -0.29291
3.885 | -0.33919 | -0.29517
3.92 | -0.3316 | -0.28201
3.955 | -0.33295 | -0.28519
3.99 | -0.34177 | -0.28587
4.025 | -0.31989 | -0.27616
4.06 | -0.30492 | -0.25647
4.095 | -0.30435 | -0.27234
4.13 | -0.30178 | -0.25118
4.165 | -0.24553 | -0.20761
4.2 | -0.25408 | -0.21034
4.235 | -0.246 | -0.20333
4.27 | -0.24346 | -0.19977
4.305 | -0.22975 | -0.17295
4.34 | -0.22002 | -0.19266
4.375 | -0.25794 | -0.20351
4.41 | -0.24074 | -0.19312
4.445 | -0.22845 | -0.20626
4.48 | -0.23197 | -0.19904
4.515 | -0.24374 | -0.20884
4.55 | -0.23772 | -0.19437
4.585 | -0.24506 | -0.2137
4.62 | -0.25125 | -0.21305
4.655 | -0.254 | -0.22597
4.69 | -0.24523 | -0.21101
4.725 | -0.23802 | -0.20757
4.76 | -0.25655 | -0.20945
4.795 | -0.2479 | -0.19065
4.83 | -0.24328 | -0.18724
4.865 | -0.25015 | -0.20615
4.9 | -0.27164 | -0.21863
4.935 | -0.2686 | -0.23276
4.97 | -0.25129 | -0.20889
5.005 | -0.26393 | -0.19368
5.04 | -0.24459 | -0.18763
5.075 | -0.23031 | -0.17979
5.11 | -0.20154 | -0.14393
5.145 | -0.19332 | -0.13446
5.18 | -0.17841 | -0.13506
5.215 | -0.17552 | -0.13258
5.25 | -0.15669 | -0.10172
5.285 | -0.12149 | -0.075678
5.32 | -0.14962 | -0.10702
5.355 | -0.13654 | -0.092509
5.39 | -0.11075 | -0.10021
5.425 | -0.1145 | -0.098079
5.46 | -0.12211 | -0.11149
5.495 | -0.13371 | -0.12363
5.53 | -0.11048 | -0.095438
5.565 | -0.10692 | -0.1133
5.6 | -0.14354 | -0.13589
5.635 | -0.12941 | -0.13964
5.67 | -0.17603 | -0.16709
5.705 | -0.18425 | -0.17276
5.74 | -0.21122 | -0.20188
5.775 | -0.21344 | -0.19291
5.81 | -0.20702 | -0.1961
5.845 | -0.21716 | -0.20982
5.88 | -0.22906 | -0.19651
5.915 | -0.19733 | -0.17147
5.95 | -0.18686 | -0.16676
5.985 | -0.16993 | -0.15531
6.02 | -0.16084 | -0.14256
6.055 | -0.15342 | -0.12978
6.09 | -0.11622 | -0.082657
6.125 | -0.12568 | -0.10124
6.16 | -0.13662 | -0.11009
6.195 | -0.12094 | -0.09941
6.23 | -0.11717 | -0.10677
6.265 | -0.12944 | -0.12006
6.3 | -0.14414 | -0.15568
6.335 | -0.15796 | -0.15827
6.37 | -0.16146 | -0.16991
6.405 | -0.20404 | -0.2086
6.44 | -0.19169 | -0.20002
6.475 | -0.19863 | -0.21622
6.51 | -0.21445 | -0.21559
6.545 | -0.21153 | -0.22962
6.58 | -0.24654 | -0.26438
6.615 | -0.22436 | -0.24331
6.65 | -0.22217 | -0.25593
6.685 | -0.24944 | -0.25827
6.72 | -0.26251 | -0.26339
6.755 | -0.25903 | -0.26628
6.79 | -0.26202 | -0.25729
6.825 | -0.27002 | -0.28052
6.86 | -0.28369 | -0.27752
6.895 | -0.26941 | -0.26713
6.93 | -0.23753 | -0.24676
6.965 | -0.23827 | -0.25388
7 | -0.25221 | -0.23952
7.035 | -0.23691 | -0.25267
7.07 | -0.24096 | -0.21531
7.105 | -0.23383 | -0.22098
7.14 | -0.24092 | -0.22279
7.175 | -0.21714 | -0.19778
7.21 | -0.22775 | -0.22919
7.245 | -0.22283 | -0.22365
7.28 | -0.23074 | -0.23101
7.315 | -0.21905 | -0.2161
7.35 | -0.21641 | -0.2238
7.385 | -0.24082 | -0.25365
7.42 | -0.22933 | -0.24759
7.455 | -0.25394 | -0.27441
7.49 | -0.26981 | -0.27312
7.525 | -0.30397 | -0.30722
7.56 | -0.29299 | -0.30801
7.595 | -0.27763 | -0.28657
7.63 | -0.27238 | -0.28142
7.665 | -0.2741 | -0.28365
7.7 | -0.261 | -0.2834
7.735 | -0.26959 | -0.27563
7.77 | -0.26859 | -0.2586
7.805 | -0.28522 | -0.27534
7.84 | -0.28068 | -0.26698
7.875 | -0.27665 | -0.27724
7.91 | -0.28642 | -0.27991
7.945 | -0.30897 | -0.30165
7.98 | -0.35411 | -0.30902
8.015 | -0.33469 | -0.31352
8.05 | -0.33998 | -0.32697
8.085 | -0.33601 | -0.30973
8.12 | -0.33225 | -0.30787
8.155 | -0.33211 | -0.31869
8.19 | -0.34389 | -0.29794
8.225 | -0.33491 | -0.31681
8.26 | -0.33091 | -0.32815
8.295 | -0.34558 | -0.32065
8.33 | -0.33884 | -0.31301
8.365 | -0.36905 | -0.3281
8.4 | -0.34358 | -0.31577
8.435 | -0.37286 | -0.34882
8.47 | -0.36739 | -0.35537
8.505 | -0.36161 | -0.349
8.54 | -0.34471 | -0.33833
8.575 | -0.34358 | -0.32612
8.61 | -0.34838 | -0.33312
8.645 | -0.33088 | -0.32386
8.68 | -0.31525 | -0.29383
8.715 | -0.30249 | -0.28756
8.75 | -0.31925 | -0.30232
8.785 | -0.31154 | -0.2739
8.82 | -0.28221 | -0.26596
8.855 | -0.31221 | -0.31243
8.89 | -0.36543 | -0.32951
8.925 | -0.38065 | -0.35869
8.96 | -0.38102 | -0.37258
8.995 | -0.39052 | -0.35046
9.03 | -0.4086 | -0.36028
9.065 | -0.37812 | -0.34394
9.1 | -0.34559 | -0.32691
9.135 | -0.337 | -0.31812
9.17 | -0.30888 | -0.29713
9.205 | -0.30747 | -0.27413
9.24 | -0.2662 | -0.24837
9.275 | -0.27431 | -0.24547
9.31 | -0.29671 | -0.2629
9.345 | -0.31005 | -0.29524
9.38 | -0.29828 | -0.27681
9.415 | -0.28921 | -0.26891
9.45 | -0.29965 | -0.2861
9.485 | -0.28064 | -0.27178
9.52 | -0.27521 | -0.24532
9.555 | -0.28674 | -0.26093
9.59 | -0.29063 | -0.26533
9.625 | -0.29491 | -0.24907
9.66 | -0.31743 | -0.2596
9.695 | -0.32951 | -0.27252
9.73 | -0.33214 | -0.27728
9.765 | -0.33821 | -0.2977
9.8 | -0.36491 | -0.30588
9.835 | -0.37389 | -0.33264
9.87 | -0.40223 | -0.3415
9.905 | -0.40119 | -0.33699
9.94 | -0.41391 | -0.34269
9.975 | -0.41007 | -0.34104
10.01 | -0.43368 | -0.34729
10.045 | -0.40554 | -0.33697
10.08 | -0.39069 | -0.32756
10.115 | -0.37497 | -0.3344
10.15 | -0.35472 | -0.32511
10.185 | -0.32945 | -0.29467
10.22 | -0.31538 | -0.26958
10.255 | -0.31857 | -0.28159
10.29 | -0.31557 | -0.29452
10.325 | -0.30201 | -0.27729
10.36 | -0.28902 | -0.27324
10.395 | -0.30155 | -0.26343
10.43 | -0.29308 | -0.2824
10.465 | -0.29339 | -0.26181
10.5 | -0.30051 | -0.27041
10.535 | -0.3173 | -0.2744
10.57 | -0.31551 | -0.29528
10.605 | -0.2945 | -0.25516
10.64 | -0.30751 | -0.26811
10.675 | -0.33473 | -0.29052
10.71 | -0.35356 | -0.28472
10.745 | -0.36734 | -0.31368
10.78 | -0.36262 | -0.31008
10.815 | -0.4 | -0.3159
10.85 | -0.39925 | -0.33726
10.885 | -0.39047 | -0.32265
10.92 | -0.40539 | -0.31159
10.955 | -0.42231 | -0.33375
10.99 | -0.41857 | -0.34402
11.025 | -0.37917 | -0.30443
11.06 | -0.36013 | -0.2983
11.095 | -0.3575 | -0.28312
11.13 | -0.34854 | -0.26473
11.165 | -0.33466 | -0.25388
11.2 | -0.33085 | -0.24746
11.235 | -0.31556 | -0.26111
11.27 | -0.32483 | -0.25895
11.305 | -0.31003 | -0.26002
11.34 | -0.30316 | -0.25777
11.375 | -0.3215 | -0.27788
11.41 | -0.33059 | -0.29552
11.445 | -0.35414 | -0.31399
11.48 | -0.37695 | -0.33269
11.515 | -0.38564 | -0.32215
11.55 | -0.36041 | -0.29767
11.585 | -0.36189 | -0.31018
11.62 | -0.37961 | -0.32847
11.655 | -0.40413 | -0.34359
11.69 | -0.38709 | -0.32347
11.725 | -0.37442 | -0.31831
11.76 | -0.39098 | -0.33264
11.795 | -0.38033 | -0.30093
11.83 | -0.37533 | -0.30159
11.865 | -0.36011 | -0.276
11.9 | -0.37921 | -0.31224
11.935 | -0.36597 | -0.30336
11.97 | -0.35037 | -0.2774
12.005 | -0.34674 | -0.26748
12.04 | -0.33944 | -0.26883
12.075 | -0.31875 | -0.25672
12.11 | -0.31861 | -0.2392
12.145 | -0.30337 | -0.25444
12.18 | -0.30908 | -0.25585
12.215 | -0.3057 | -0.25866
12.25 | -0.29646 | -0.2529
12.285 | -0.29385 | -0.26957
12.32 | -0.32 | -0.29498
12.355 | -0.35708 | -0.30899
12.39 | -0.35743 | -0.31337
12.425 | -0.36366 | -0.32995
12.46 | -0.38115 | -0.35308
12.495 | -0.37374 | -0.35809
12.53 | -0.37514 | -0.36544
12.565 | -0.39134 | -0.37249
12.6 | -0.39337 | -0.3889
12.635 | -0.38837 | -0.3746
12.67 | -0.35699 | -0.32779
12.705 | -0.34445 | -0.31652
12.74 | -0.36338 | -0.32844
12.775 | -0.33661 | -0.3085
12.81 | -0.31086 | -0.28001
12.845 | -0.29431 | -0.26766
12.88 | -0.29766 | -0.27387
12.915 | -0.29312 | -0.26754
12.95 | -0.2792 | -0.23931
12.985 | -0.30332 | -0.27262
13.02 | -0.31305 | -0.30103
13.055 | -0.34253 | -0.3193
13.09 | -0.33278 | -0.31391
13.125 | -0.35399 | -0.35322
13.16 | -0.3981 | -0.39679
13.195 | -0.37792 | -0.3833
13.23 | -0.36825 | -0.37758
13.265 | -0.36839 | -0.38833
13.3 | -0.40387 | -0.42196
13.335 | -0.38601 | -0.37502
13.37 | -0.33504 | -0.33093
13.405 | -0.32825 | -0.33166
13.44 | -0.34318 | -0.36616
13.475 | -0.33846 | -0.37024
13.51 | -0.33113 | -0.35446
13.545 | -0.31895 | -0.36414
13.58 | -0.34134 | -0.34054
13.615 | -0.32864 | -0.31932
13.65 | -0.3066 | -0.29374
13.685 | -0.2807 | -0.26665
13.72 | -0.2863 | -0.2842
13.755 | -0.2591 | -0.2675
13.79 | -0.25087 | -0.24124
13.825 | -0.24788 | -0.24709
13.86 | -0.28471 | -0.28084
13.895 | -0.28691 | -0.27363
13.93 | -0.27826 | -0.26416
13.965 | -0.33671 | -0.32781
14 | -0.33532 | -0.35133
14.035 | -0.34067 | -0.34954
14.07 | -0.3282 | -0.35286
14.105 | -0.32724 | -0.36928
14.14 | -0.38455 | -0.40827
14.175 | -0.35657 | -0.37778
14.21 | -0.33844 | -0.36717
14.245 | -0.35301 | -0.37122
14.28 | -0.35634 | -0.38459
14.315 | -0.35585 | -0.38865
14.35 | -0.33416 | -0.34421
14.385 | -0.32399 | -0.35826
14.42 | -0.33737 | -0.3487
14.455 | -0.30476 | -0.31387
14.49 | -0.27606 | -0.28358
14.525 | -0.24828 | -0.24743
14.56 | -0.26376 | -0.24695
14.595 | -0.2329 | -0.21563
14.63 | -0.22256 | -0.19891
14.665 | -0.24116 | -0.19782
14.7 | -0.2761 | -0.23419
14.735 | -0.28924 | -0.22982
14.77 | -0.27734 | -0.21076
14.805 | -0.29493 | -0.23152
14.84 | -0.31506 | -0.23321
14.875 | -0.32035 | -0.25558
14.91 | -0.32924 | -0.25211
14.945 | -0.32864 | -0.26356
14.98 | -0.33063 | -0.27452
15.015 | -0.30799 | -0.24315
15.05 | -0.31906 | -0.25612
15.085 | -0.34622 | -0.27424
15.12 | -0.33921 | -0.27451
15.155 | -0.326 | -0.27615
15.19 | -0.31757 | -0.25683
15.225 | -0.34337 | -0.26962
15.26 | -0.34026 | -0.27251
15.295 | -0.3044 | -0.24501
15.33 | -0.27136 | -0.21106
15.365 | -0.26454 | -0.2003
15.4 | -0.2588 | -0.20378
15.435 | -0.21525 | -0.16306
15.47 | -0.18895 | -0.12327
15.505 | -0.17749 | -0.10827
15.54 | -0.16545 | -0.10673
15.575 | -0.15565 | -0.082306
15.61 | -0.15149 | -0.081468
15.645 | -0.14888 | -0.077339
15.68 | -0.15823 | -0.074856
15.715 | -0.1762 | -0.087372
15.75 | -0.17426 | -0.05653
15.785 | -0.1913 | -0.083735
15.82 | -0.22368 | -0.12466
15.855 | -0.21315 | -0.1144
15.89 | -0.21239 | -0.090975
15.925 | -0.22165 | -0.10816
15.96 | -0.23521 | -0.11803
15.995 | -0.19674 | -0.10086
16.03 | -0.1909 | -0.082325
16.065 | -0.20423 | -0.10082
16.1 | -0.20106 | -0.10445
16.135 | -0.17703 | -0.077108
16.17 | -0.15594 | -0.059602
16.205 | -0.15948 | -0.051267
16.24 | -0.17418 | -0.045171
16.275 | -0.14701 | -0.033334
16.31 | -0.12247 | -0.007887
16.345 | -0.13768 | -0.023725
16.38 | -0.15183 | -0.034864
16.415 | -0.13894 | -0.002166
16.45 | -0.12411 | 0.007531
16.485 | -0.12471 | 0.009423
16.52 | -0.12853 | 0.010405
16.555 | -0.12112 | 0.019245
16.59 | -0.11943 | 0.018149
16.625 | -0.11607 | 0.045306
16.66 | -0.11152 | 0.033557
16.695 | -0.11963 | 0.038034
16.73 | -0.095548 | 0.055021
16.765 | -0.11742 | 0.060036
16.8 | -0.10875 | 0.066437
16.835 | -0.1253 | 0.061884
16.87 | -0.13551 | 0.047752
16.905 | -0.15052 | 0.043594
16.94 | -0.15172 | 0.041968
16.975 | -0.13518 | 0.055203
17.01 | -0.12459 | 0.088374
17.045 | -0.12035 | 0.10505
17.08 | -0.081058 | 0.12651
17.115 | -0.065427 | 0.13849
17.15 | -0.031065 | 0.19728
17.185 | -0.022994 | 0.20757
17.22 | -0.013302 | 0.21025
17.255 | -0.018354 | 0.22173
17.29 | -0.014657 | 0.20524
17.325 | -0.04925 | 0.19505
17.36 | -0.062099 | 0.15496
17.395 | -0.087823 | 0.16333
17.43 | -0.080906 | 0.18441
17.465 | -0.080646 | 0.17901
17.5 | -0.081757 | 0.18092
17.535 | -0.091086 | 0.17336
17.57 | -0.089725 | 0.19219
17.605 | -0.081882 | 0.19571
17.64 | -0.091677 | 0.20213
17.675 | -0.10754 | 0.17685
17.71 | -0.088686 | 0.19064
17.745 | -0.10533 | 0.17872
17.78 | -0.099717 | 0.18467
17.815 | -0.083816 | 0.21288
17.85 | -0.066009 | 0.23649
17.885 | -0.046156 | 0.25548
17.92 | -0.031163 | 0.26576
17.955 | -0.030297 | 0.27506
17.99 | -0.010846 | 0.28788
18.025 | -0.013152 | 0.30279
18.06 | 0.013519 | 0.32555
18.095 | 0.000913 | 0.31779
18.13 | 0.00538 | 0.32273
18.165 | 0.002683 | 0.32327
18.2 | -0.015294 | 0.32211
18.235 | -0.009221 | 0.32225
18.27 | -0.011557 | 0.29339
18.305 | 0.005075 | 0.31886
18.34 | -0.012637 | 0.30837
18.375 | -0.010921 | 0.3186
18.41 | -0.019839 | 0.3103
18.445 | -0.011487 | 0.30781
18.48 | -0.035249 | 0.31256
18.515 | -0.042702 | 0.28993
18.55 | -0.037836 | 0.30096
18.585 | -0.034672 | 0.30104
18.62 | -0.038625 | 0.2969
18.655 | -0.044994 | 0.29923
18.69 | -0.044214 | 0.28428
18.725 | -0.049903 | 0.27793
18.76 | -0.04348 | 0.30208
18.795 | -0.028955 | 0.31398
18.83 | -0.012025 | 0.30422
18.865 | -0.003722 | 0.33885
18.9 | 0.001897 | 0.33281
18.935 | 0.018485 | 0.33774
18.97 | 0.024224 | 0.35633
19.005 | -0.001605 | 0.33978
19.04 | 0.007967 | 0.33045
19.075 | -0.028195 | 0.30583
19.11 | -0.036476 | 0.27873
19.145 | -0.045719 | 0.27451
19.18 | -0.049499 | 0.27729
19.215 | -0.052638 | 0.28114
19.25 | -0.051052 | 0.30568
19.285 | -0.031342 | 0.30356
19.32 | -0.029773 | 0.31659
19.355 | -0.040244 | 0.28854
19.39 | -0.038455 | 0.29797
19.425 | -0.020279 | 0.31436
19.46 | -0.014723 | 0.29586
19.495 | -0.028326 | 0.29678
19.53 | -0.036129 | 0.28056
19.565 | -0.040642 | 0.275
19.6 | -0.047413 | 0.26528
19.635 | -0.030739 | 0.27478
19.67 | 0.011033 | 0.31169
19.705 | 0.052886 | 0.32494
19.74 | 0.08608 | 0.35833
19.775 | 0.088659 | 0.36867
19.81 | 0.10972 | 0.38192
19.845 | 0.10761 | 0.37979
19.88 | 0.11231 | 0.38098
19.915 | 0.11568 | 0.36804
19.95 | 0.12049 | 0.3815
19.985 | 0.11567 | 0.403
20.02 | 0.12213 | 0.39355
20.055 | 0.10107 | 0.36205
20.09 | 0.097496 | 0.40093
20.125 | 0.11228 | 0.40716
20.16 | 0.12908 | 0.43628
20.195 | 0.12561 | 0.44191
20.23 | 0.13734 | 0.43299
20.265 | 0.11805 | 0.41679
20.3 | 0.11137 | 0.41873
20.335 | 0.14198 | 0.42701
20.37 | 0.11557 | 0.42926
20.405 | 0.11334 | 0.43005
20.44 | 0.13336 | 0.45738
20.475 | 0.14837 | 0.46961
20.51 | 0.17461 | 0.47201
20.545 | 0.19025 | 0.47665
20.58 | 0.21363 | 0.50319
20.615 | 0.23748 | 0.50965
20.65 | 0.25386 | 0.53675
20.685 | 0.264 | 0.53128
20.72 | 0.26725 | 0.53607
20.755 | 0.26786 | 0.53163
20.79 | 0.26819 | 0.52586
20.825 | 0.26469 | 0.52817
20.86 | 0.27062 | 0.52483
20.895 | 0.28035 | 0.52373
20.93 | 0.24993 | 0.51535
20.965 | 0.22122 | 0.47088
21 | 0.19126 | 0.46787
21.035 | 0.17101 | 0.45508
21.07 | 0.16983 | 0.44659
21.105 | 0.16441 | 0.43081
21.14 | 0.16655 | 0.44767
21.175 | 0.15549 | 0.45782
21.21 | 0.14619 | 0.43952
21.245 | 0.15207 | 0.47983
21.28 | 0.19723 | 0.50663
21.315 | 0.19828 | 0.55056
21.35 | 0.24904 | 0.58118
21.385 | 0.26464 | 0.60048
21.42 | 0.28823 | 0.62633
21.455 | 0.32076 | 0.63678
21.49 | 0.35778 | 0.69708
21.525 | 0.36696 | 0.67062
21.56 | 0.38036 | 0.7029
21.595 | 0.45206 | 0.74284
21.63 | 0.42852 | 0.73612
21.665 | 0.43515 | 0.73085
21.7 | 0.43074 | 0.71582
21.735 | 0.43413 | 0.73326
21.77 | 0.45932 | 0.72446
21.805 | 0.40705 | 0.67602
21.84 | 0.39719 | 0.65958
21.875 | 0.3525 | 0.65606
21.91 | 0.31847 | 0.59026
21.945 | 0.27721 | 0.55131
21.98 | 0.23758 | 0.52915
22.015 | 0.24254 | 0.55162
22.05 | 0.21793 | 0.54693
22.085 | 0.19817 | 0.54392
22.12 | 0.21917 | 0.56025
22.155 | 0.22408 | 0.58714
22.19 | 0.24268 | 0.62156
22.225 | 0.28179 | 0.67081
22.26 | 0.288 | 0.69518
22.295 | 0.32315 | 0.72475
22.33 | 0.3609 | 0.78977
22.365 | 0.36696 | 0.78042
22.4 | 0.37421 | 0.79841
22.435 | 0.40085 | 0.84845
22.47 | 0.41909 | 0.86034
22.505 | 0.42232 | 0.86634
22.54 | 0.42714 | 0.87755
22.575 | 0.4329 | 0.90238
22.61 | 0.43469 | 0.88598
22.645 | 0.41402 | 0.86614
22.68 | 0.38185 | 0.84263
22.715 | 0.35722 | 0.85283
22.75 | 0.36429 | 0.84777
22.785 | 0.34461 | 0.80468
22.82 | 0.27599 | 0.74203
22.855 | 0.25622 | 0.73914
22.89 | 0.23175 | 0.72127
22.925 | 0.21736 | 0.70773
22.96 | 0.17278 | 0.66524
22.995 | 0.16752 | 0.64432
23.03 | 0.17257 | 0.66482
23.065 | 0.18198 | 0.68862
23.1 | 0.16606 | 0.6813
23.135 | 0.16516 | 0.68916
23.17 | 0.16539 | 0.69871
23.205 | 0.20877 | 0.75445
23.24 | 0.22454 | 0.77273
23.275 | 0.2564 | 0.8012
23.31 | 0.26074 | 0.79552
23.345 | 0.29005 | 0.84188
23.38 | 0.3226 | 0.87635
23.415 | 0.33365 | 0.91005
23.45 | 0.33139 | 0.91066
23.485 | 0.33318 | 0.91757
23.52 | 0.34906 | 0.91725
23.555 | 0.33905 | 0.92068
23.59 | 0.35203 | 0.9218
23.625 | 0.33319 | 0.92361
23.66 | 0.31258 | 0.91508
23.695 | 0.28056 | 0.87926
23.73 | 0.27044 | 0.85591
23.765 | 0.23159 | 0.85078
23.8 | 0.20836 | 0.84066
23.835 | 0.19867 | 0.83247
23.87 | 0.16722 | 0.76393
23.905 | 0.14188 | 0.74918
23.94 | 0.13046 | 0.74507
23.975 | 0.13151 | 0.74784
24.01 | 0.11082 | 0.74129
24.045 | 0.11404 | 0.74446
24.08 | 0.12124 | 0.76825
24.115 | 0.1713 | 0.79512
24.15 | 0.20464 | 0.81766
24.185 | 0.2268 | 0.84214
24.22 | 0.22109 | 0.84806
24.255 | 0.21797 | 0.87082
24.29 | 0.23411 | 0.85757
24.325 | 0.20644 | 0.85223
24.36 | 0.21908 | 0.87627
24.395 | 0.23937 | 0.86378
24.43 | 0.23198 | 0.87712
24.465 | 0.22669 | 0.88554
24.5 | 0.21933 | 0.90462
24.535 | 0.25794 | 0.9117
24.57 | 0.27887 | 0.9542
24.605 | 0.26425 | 0.94819
24.64 | 0.27954 | 0.93924
24.675 | 0.26217 | 0.94277
24.71 | 0.27082 | 0.93396
24.745 | 0.25584 | 0.92609
24.78 | 0.2787 | 0.92477
24.815 | 0.28381 | 0.9274
24.85 | 0.28408 | 0.90566
24.885 | 0.26468 | 0.89378
24.92 | 0.25453 | 0.88919
24.955 | 0.24111 | 0.87586
24.99 | 0.24688 | 0.87127
25.025 | 0.24336 | 0.85698
25.06 | 0.24482 | 0.85515
25.095 | 0.23669 | 0.89851
25.13 | 0.25529 | 0.88392
25.165 | 0.23975 | 0.86954
25.2 | 0.22851 | 0.87256
25.235 | 0.2258 | 0.89971
25.27 | 0.25897 | 0.927
25.305 | 0.25793 | 0.93474
25.34 | 0.25817 | 0.9235
25.375 | 0.22594 | 0.91873
25.41 | 0.23273 | 0.92366
25.445 | 0.23092 | 0.92612
25.48 | 0.25543 | 0.92724
25.515 | 0.2569 | 0.95916
25.55 | 0.25154 | 0.94275
25.585 | 0.29064 | 0.95
25.62 | 0.31416 | 0.98736
25.655 | 0.35164 | 1.0295
25.69 | 0.3767 | 1.0236
25.725 | 0.38974 | 1.0426
25.76 | 0.44852 | 1.075
25.795 | 0.46302 | 1.1111
25.83 | 0.50986 | 1.1331
25.865 | 0.50023 | 1.109
25.9 | 0.48707 | 1.1013
25.935 | 0.48744 | 1.1014
25.97 | 0.48564 | 1.1136
26.005 | 0.45616 | 1.1039
26.04 | 0.46052 | 1.0935
26.075 | 0.44547 | 1.1132
26.11 | 0.41592 | 1.0661
26.145 | 0.36952 | 1.0418
26.18 | 0.34987 | 1.0209
26.215 | 0.31746 | 1.0125
26.25 | 0.28751 | 0.97028
26.285 | 0.27344 | 0.966
26.32 | 0.21932 | 0.93311
26.355 | 0.18767 | 0.91423
26.39 | 0.16765 | 0.88328
26.425 | 0.15946 | 0.89362
26.46 | 0.16798 | 0.90169
26.495 | 0.18469 | 0.91502
26.53 | 0.20277 | 0.93142
26.565 | 0.25566 | 0.93999
26.6 | 0.28223 | 0.96675
26.635 | 0.32304 | 0.98897
26.67 | 0.3263 | 0.99205
26.705 | 0.34481 | 1.0028
26.74 | 0.38443 | 1.0389
26.775 | 0.42763 | 1.0531
26.81 | 0.42126 | 1.0397
26.845 | 0.41199 | 1.0491
26.88 | 0.38882 | 1.044
26.915 | 0.39881 | 1.0429
26.95 | 0.38662 | 1.0367
26.985 | 0.36499 | 1.0201
27.02 | 0.31767 | 0.98079
27.055 | 0.30482 | 0.98885
27.09 | 0.22233 | 0.93289
27.125 | 0.20351 | 0.90132
27.16 | 0.17117 | 0.87624
27.195 | 0.14372 | 0.85761
27.23 | 0.10183 | 0.83675
27.265 | 0.098176 | 0.83955
27.3 | 0.064651 | 0.8085
27.335 | 0.069177 | 0.81769
27.37 | 0.051877 | 0.78512
27.405 | 0.036764 | 0.77776
27.44 | 0.051309 | 0.78991
27.475 | 0.067031 | 0.80444
27.51 | 0.049453 | 0.78252
27.545 | 0.049739 | 0.77835
27.58 | 0.047785 | 0.76781
27.615 | 0.090748 | 0.80152
27.65 | 0.083642 | 0.79981
27.685 | 0.096078 | 0.79428
27.72 | 0.098087 | 0.80136
27.755 | 0.07186 | 0.82079
27.79 | 0.049616 | 0.78421
27.825 | 0.050873 | 0.76457
27.86 | 0.004993 | 0.74391
27.895 | -0.028475 | 0.73799
27.93 | -0.063861 | 0.70301
27.965 | -0.094663 | 0.65903
28 | -0.13545 | 0.63831
28.035 | -0.14128 | 0.63094
28.07 | -0.13403 | 0.63396
28.105 | -0.11356 | 0.64492
28.14 | -0.13985 | 0.63514
28.175 | -0.11679 | 0.64008
28.21 | -0.14103 | 0.64476
28.245 | -0.10987 | 0.63569
28.28 | -0.12311 | 0.6166
28.315 | -0.12927 | 0.60355
28.35 | -0.12532 | 0.60595
28.385 | -0.12255 | 0.60858
28.42 | -0.11428 | 0.59778
28.455 | -0.11956 | 0.59416
28.49 | -0.13586 | 0.58711
28.525 | -0.14183 | 0.60137
28.56 | -0.1196 | 0.60058
28.595 | -0.15889 | 0.62505
28.63 | -0.17621 | 0.63035
28.665 | -0.22097 | 0.57493
28.7 | -0.2475 | 0.5492
28.735 | -0.32183 | 0.5423
28.77 | -0.3275 | 0.51034
28.805 | -0.33617 | 0.50931
28.84 | -0.3672 | 0.49069
28.875 | -0.3697 | 0.49152
28.91 | -0.40222 | 0.48073
28.945 | -0.39864 | 0.47426
28.98 | -0.38946 | 0.45948
29.015 | -0.38415 | 0.46587
29.05 | -0.37762 | 0.48478
29.085 | -0.34691 | 0.49188
29.12 | -0.35093 | 0.48289
29.155 | -0.34365 | 0.47805
29.19 | -0.31094 | 0.49074
29.225 | -0.28072 | 0.50286
29.26 | -0.25407 | 0.54057
29.295 | -0.21055 | 0.57388
29.33 | -0.17963 | 0.59813
29.365 | -0.17595 | 0.58877
29.4 | -0.19975 | 0.59434
29.435 | -0.18747 | 0.59439
29.47 | -0.20165 | 0.60997
29.505 | -0.19736 | 0.61984
29.54 | -0.23628 | 0.60981
29.575 | -0.28454 | 0.57756
29.61 | -0.33017 | 0.53811
29.645 | -0.4035 | 0.50758
29.68 | -0.43031 | 0.48813
29.715 | -0.45203 | 0.48149
29.75 | -0.4848 | 0.48026
29.785 | -0.55139 | 0.43475
29.82 | -0.60191 | 0.40741
29.855 | -0.60422 | 0.37952
29.89 | -0.61601 | 0.34899
29.925 | -0.60852 | 0.37438
29.96 | -0.62669 | 0.37203
29.995 | -0.60083 | 0.38198
30.03 | -0.57742 | 0.4023
30.065 | -0.50974 | 0.438
30.1 | -0.52025 | 0.45344
30.135 | -0.46407 | 0.47597
30.17 | -0.42054 | 0.52032
30.205 | -0.37767 | 0.54735
30.24 | -0.3492 | 0.5838
30.275 | -0.35768 | 0.57572
30.31 | -0.37877 | 0.55812
30.345 | -0.38967 | 0.53633
30.38 | -0.4005 | 0.53311
30.415 | -0.41734 | 0.53191
30.45 | -0.43813 | 0.51065
30.485 | -0.49357 | 0.49454
30.52 | -0.56026 | 0.41312
30.555 | -0.613 | 0.3757
30.59 | -0.64683 | 0.35929
30.625 | -0.64484 | 0.36329
30.66 | -0.63823 | 0.38266
30.695 | -0.6453 | 0.38517
30.73 | -0.62552 | 0.40742
30.765 | -0.61859 | 0.38729
30.8 | -0.60582 | 0.42778
30.835 | -0.58082 | 0.45611
30.87 | -0.48863 | 0.53666
30.905 | -0.44879 | 0.58253
30.94 | -0.39969 | 0.61291
30.975 | -0.41062 | 0.63476
31.01 | -0.36048 | 0.68174
31.045 | -0.31986 | 0.73772
31.08 | -0.2891 | 0.7814
31.115 | -0.28612 | 0.80039
31.15 | -0.25231 | 0.83344
31.185 | -0.22873 | 0.84249
31.22 | -0.23644 | 0.84725
31.255 | -0.29408 | 0.80666
31.29 | -0.34082 | 0.76646
31.325 | -0.34631 | 0.7651
31.36 | -0.3757 | 0.74029
31.395 | -0.41661 | 0.68727
31.43 | -0.46002 | 0.64448
31.465 | -0.48746 | 0.59368
31.5 | -0.51784 | 0.57046
31.535 | -0.51221 | 0.55605
31.57 | -0.51606 | 0.54159
31.605 | -0.52876 | 0.56026
31.64 | -0.54575 | 0.56392
31.675 | -0.60102 | 0.50268
31.71 | -0.61335 | 0.48711
31.745 | -0.63856 | 0.48375
31.78 | -0.58964 | 0.56394
31.815 | -0.58486 | 0.56409
31.85 | -0.59646 | 0.54723
31.885 | -0.58036 | 0.58959
31.92 | -0.57937 | 0.62549
31.955 | -0.55751 | 0.62952
31.99 | -0.52672 | 0.68558
32.025 | -0.55059 | 0.67743
32.06 | -0.56823 | 0.69827
32.095 | -0.58438 | 0.65911
32.13 | -0.59844 | 0.65549
32.165 | -0.65802 | 0.60478
32.2 | -0.68378 | 0.55922
32.235 | -0.70253 | 0.54499
32.27 | -0.7429 | 0.50634
32.305 | -0.78648 | 0.45521
32.34 | -0.83697 | 0.39665
32.375 | -0.8962 | 0.34741
32.41 | -0.91128 | 0.31801
32.445 | -0.904 | 0.30219
32.48 | -0.90745 | 0.27202
32.515 | -0.9297 | 0.23858
32.55 | -0.95438 | 0.2309
32.585 | -0.95221 | 0.21346
32.62 | -0.9187 | 0.21555
32.655 | -0.90921 | 0.25822
32.69 | -0.83269 | 0.30948
32.725 | -0.83309 | 0.31212
32.76 | -0.78316 | 0.37864
32.795 | -0.75592 | 0.41615
32.83 | -0.75945 | 0.41239
32.865 | -0.76324 | 0.41459
32.9 | -0.77841 | 0.38315
32.935 | -0.78203 | 0.40615
32.97 | -0.80659 | 0.41614
33.005 | -0.83234 | 0.40568
33.04 | -0.86088 | 0.34376
33.075 | -0.94955 | 0.29296
33.11 | -0.96443 | 0.2644
33.145 | -0.97711 | 0.2282
33.18 | -0.98943 | 0.24632
33.215 | -1.0181 | 0.16249
33.25 | -1.0933 | 0.11621
33.285 | -1.1381 | 0.073604
33.32 | -1.1387 | 0.034983
33.355 | -1.1481 | 0.017792
33.39 | -1.1278 | 0.021325
33.425 | -1.1357 | -0.004888
33.46 | -1.0968 | 0.021944
33.495 | -1.0828 | 0.047869
33.53 | -1.0436 | 0.092527
33.565 | -1.011 | 0.11328
33.6 | -0.95437 | 0.16941
33.635 | -0.89091 | 0.20559
33.67 | -0.884 | 0.227
33.705 | -0.8562 | 0.22846
33.74 | -0.8569 | 0.27717
33.775 | -0.86075 | 0.26827
33.81 | -0.8477 | 0.31188
33.845 | -0.84063 | 0.28235
33.88 | -0.82175 | 0.33617
33.915 | -0.84772 | 0.29688
33.95 | -0.90608 | 0.28591
33.985 | -0.9027 | 0.22719
34.02 | -0.90421 | 0.22673
34.055 | -0.89784 | 0.22244
34.09 | -0.90653 | 0.19518
34.125 | -0.95029 | 0.15085
34.16 | -0.95621 | 0.12521
34.195 | -0.93971 | 0.10781
34.23 | -0.95464 | 0.10305
34.265 | -0.91145 | 0.10836
34.3 | -0.86213 | 0.16364
34.335 | -0.84826 | 0.17201
34.37 | -0.80284 | 0.2113
34.405 | -0.78991 | 0.22683
34.44 | -0.76464 | 0.26784
34.475 | -0.75346 | 0.27878
34.51 | -0.75667 | 0.29334
34.545 | -0.73028 | 0.32373
34.58 | -0.74225 | 0.32445
34.615 | -0.71823 | 0.37524
34.65 | -0.74612 | 0.34824
34.685 | -0.74368 | 0.34686
34.72 | -0.76505 | 0.36757
34.755 | -0.79177 | 0.33412
34.79 | -0.82247 | 0.31592
34.825 | -0.84085 | 0.27812
34.86 | -0.92074 | 0.21856
34.895 | -0.92666 | 0.17714
34.93 | -0.96789 | 0.11285
34.965 | -1.0367 | 0.029682
35 | -1.0353 | -0.014107
35.035 | -1.0012 | 0.022623
35.07 | -0.99055 | 0.00094
35.105 | -0.95934 | 0.019341
35.14 | -0.94023 | 0.010807
35.175 | -0.89629 | 0.032569
35.21 | -0.83874 | 0.11958
35.245 | -0.7585 | 0.18898
35.28 | -0.74598 | 0.22592
35.315 | -0.73356 | 0.23472
35.35 | -0.72726 | 0.27259
35.385 | -0.69224 | 0.36029
35.42 | -0.69945 | 0.36654
35.455 | -0.68311 | 0.42227
35.49 | -0.69742 | 0.4342
35.525 | -0.72964 | 0.44814
35.56 | -0.72328 | 0.44261
35.595 | -0.80647 | 0.40703
35.63 | -0.84511 | 0.36068
35.665 | -0.87767 | 0.33352
35.7 | -0.93535 | 0.26726
35.735 | -1.0301 | 0.17481
35.77 | -1.1017 | 0.10036
35.805 | -1.1293 | 0.037434
35.84 | -1.1646 | 0.017801
35.875 | -1.1735 | -0.031769
35.91 | -1.1458 | -0.082852
35.945 | -1.1058 | -0.049764
35.98 | -1.0537 | -0.005192
36.015 | -0.99123 | 0.035431
36.05 | -0.96554 | 0.024804
36.085 | -0.91358 | 0.07629
36.12 | -0.90816 | 0.10959
36.155 | -0.90937 | 0.14074
36.19 | -0.86352 | 0.1898
36.225 | -0.84692 | 0.24827
36.26 | -0.83359 | 0.31959
36.295 | -0.83931 | 0.3189
36.33 | -0.87769 | 0.35248
36.365 | -0.91602 | 0.36775
36.4 | -0.94579 | 0.38093
36.435 | -1.0268 | 0.34864
36.47 | -1.0576 | 0.31476
36.505 | -1.1202 | 0.28155
36.54 | -1.1947 | 0.22303
36.575 | -1.297 | 0.13488
36.61 | -1.361 | 0.078903
36.645 | -1.4299 | -0.006157
36.68 | -1.4847 | -0.087055
36.715 | -1.5335 | -0.1303
36.75 | -1.5504 | -0.17227
36.785 | -1.5072 | -0.16132
36.82 | -1.5238 | -0.19959
36.855 | -1.4796 | -0.20212
36.89 | -1.4187 | -0.16266
36.925 | -1.3581 | -0.10328
36.96 | -1.297 | -0.02924
36.995 | -1.2934 | -0.004254
37.03 | -1.2999 | 0.034038
37.065 | -1.2224 | 0.10989
37.1 | -1.1758 | 0.20174
37.135 | -1.1478 | 0.26974
37.17 | -1.1616 | 0.28804
37.205 | -1.1933 | 0.31613
37.24 | -1.2461 | 0.2971
37.275 | -1.3523 | 0.25208
37.31 | -1.4507 | 0.19101
37.345 | -1.5453 | 0.12395
37.38 | -1.6235 | 0.042054
37.415 | -1.7393 | -0.036765
37.45 | -1.8151 | -0.11547
37.485 | -1.8638 | -0.16747
37.52 | -1.923 | -0.25854
37.555 | -1.9304 | -0.30024
37.59 | -1.9655 | -0.31996
37.625 | -1.9317 | -0.3282
37.66 | -1.846 | -0.28784
37.695 | -1.7938 | -0.25302
37.73 | -1.7074 | -0.18184
37.765 | -1.6391 | -0.1432
37.8 | -1.6093 | -0.10191
37.835 | -1.5156 | -0.018063
37.87 | -1.4644 | 0.044391
37.905 | -1.3988 | 0.15826
37.94 | -1.4003 | 0.18729
37.975 | -1.4442 | 0.16445
38.01 | -1.4868 | 0.14444
38.045 | -1.5243 | 0.15562
38.08 | -1.5807 | 0.18087
38.115 | -1.6279 | 0.16791
38.15 | -1.6942 | 0.13332
38.185 | -1.8014 | 0.063725
38.22 | -1.8813 | -0.039058
38.255 | -1.9762 | -0.11004
38.29 | -2.0685 | -0.17397
38.325 | -2.1121 | -0.25654
38.36 | -2.1975 | -0.36668
38.395 | -2.2368 | -0.43244
38.43 | -2.2303 | -0.45689
38.465 | -2.2116 | -0.49627
38.5 | -2.1917 | -0.48253
38.535 | -2.1251 | -0.46957
38.57 | -2.0686 | -0.44604
38.605 | -1.99 | -0.37116
38.64 | -1.9305 | -0.33033
38.675 | -1.8814 | -0.28479
38.71 | -1.8668 | -0.22547
38.745 | -1.7899 | -0.16995
38.78 | -1.7335 | -0.07955
38.815 | -1.7412 | -0.068146
38.85 | -1.7461 | -0.016762
38.885 | -1.804 | -0.048547
38.92 | -1.8481 | -0.053252
38.955 | -1.8666 | -0.030475
38.99 | -1.9742 | -0.073855
39.025 | -2.0236 | -0.10648
39.06 | -2.1451 | -0.19177
39.095 | -2.2621 | -0.28242
39.13 | -2.347 | -0.3792
39.165 | -2.479 | -0.53439
39.2 | -2.6284 | -0.68198
39.235 | -2.6596 | -0.75064
39.27 | -2.6527 | -0.78942
39.305 | -2.6468 | -0.82044
39.34 | -2.6443 | -0.85411
39.375 | -2.5637 | -0.8343
39.41 | -2.534 | -0.86874
39.445 | -2.4602 | -0.81246
39.48 | -2.3237 | -0.66157
39.515 | -2.2085 | -0.59044
39.55 | -2.1769 | -0.53488
39.585 | -2.1673 | -0.49357
39.62 | -2.2069 | -0.50797
39.655 | -2.1611 | -0.44719
39.69 | -2.1654 | -0.39166
39.725 | -2.1492 | -0.36716
39.76 | -2.2414 | -0.41687
39.795 | -2.314 | -0.49261
39.83 | -2.4196 | -0.57177
39.865 | -2.6098 | -0.70185
39.9 | -2.7627 | -0.8285
39.935 | -2.8805 | -0.92792
39.97 | -3.0194 | -1.064
40.005 | -3.1639 | -1.2133
40.04 | -3.3472 | -1.3941
40.075 | -3.4512 | -1.5242
40.11 | -3.5425 | -1.6278
40.145 | -3.5508 | -1.6817
40.18 | -3.4525 | -1.6503
40.215 | -3.4442 | -1.6287
40.25 | -3.3813 | -1.6657
40.285 | -3.3288 | -1.6063
40.32 | -3.2668 | -1.5916
40.355 | -3.1878 | -1.5477
40.39 | -3.1263 | -1.4702
40.425 | -3.0427 | -1.4634
40.46 | -3.0581 | -1.4145
40.495 | -3.1057 | -1.426
40.53 | -3.1103 | -1.4311
40.565 | -3.1725 | -1.4764
40.6 | -3.2693 | -1.573
40.635 | -3.3749 | -1.6633
40.67 | -3.5108 | -1.7749
40.705 | -3.6239 | -1.8985
40.74 | -3.8284 | -2.0912
40.775 | -3.9511 | -2.2068
40.81 | -4.2226 | -2.4305
40.845 | -4.3509 | -2.5614
40.88 | -4.4798 | -2.7224
40.915 | -4.6564 | -2.8849
40.95 | -4.7952 | -3.0209
40.985 | -4.9063 | -3.1254
41.02 | -4.9584 | -3.2555
41.055 | -4.9734 | -3.2699
41.09 | -4.945 | -3.3099
41.125 | -4.9229 | -3.296
41.16 | -4.7893 | -3.2325
41.195 | -4.7645 | -3.2517
41.23 | -4.7444 | -3.2425
41.265 | -4.6341 | -3.1531
41.3 | -4.566 | -3.1232
41.335 | -4.5284 | -3.0317
41.37 | -4.5212 | -3.0454
41.405 | -4.6038 | -3.1018
41.44 | -4.6487 | -3.1939
41.475 | -4.7652 | -3.2452
41.51 | -4.8788 | -3.3322
41.545 | -5.0204 | -3.4729
41.58 | -5.169 | -3.6343
41.615 | -5.3275 | -3.769
41.65 | -5.5456 | -3.9685
41.685 | -5.7086 | -4.1534
41.72 | -5.9513 | -4.3226
41.755 | -6.0998 | -4.5214
41.79 | -6.1944 | -4.6551
41.825 | -6.3419 | -4.8228
41.86 | -6.4173 | -4.9976
41.895 | -6.5037 | -5.1048
41.93 | -6.4693 | -5.153
41.965 | -6.4945 | -5.1925
42 | -6.4486 | -5.2403
42.035 | -6.2756 | -5.1315
42.07 | -6.2235 | -5.1158
42.105 | -6.1659 | -5.1019
42.14 | -6.0692 | -5.0281
42.175 | -6.0197 | -4.994
42.21 | -6.0311 | -5.004
42.245 | -6.0254 | -4.9964
42.28 | -6.0343 | -4.9691
42.315 | -6.21 | -5.0927
42.35 | -6.3038 | -5.1589
42.385 | -6.3825 | -5.2238
42.42 | -6.5073 | -5.3
42.455 | -6.677 | -5.4756
42.49 | -6.887 | -5.6826
42.525 | -7.0284 | -5.8438
42.56 | -7.1175 | -5.9922
42.595 | -7.369 | -6.186
42.63 | -7.5136 | -6.3336
42.665 | -7.5923 | -6.3961
42.7 | -7.6028 | -6.4985
42.735 | -7.5985 | -6.6453
42.77 | -7.6036 | -6.6552
42.805 | -7.5822 | -6.6921
42.84 | -7.5557 | -6.7305
42.875 | -7.5439 | -6.7164
42.91 | -7.5128 | -6.7359
42.945 | -7.4694 | -6.7168
42.98 | -7.4269 | -6.7384
43.015 | -7.4853 | -6.7808
43.05 | -7.4669 | -6.7729
43.085 | -7.5049 | -6.8273
43.12 | -7.6603 | -6.8811
43.155 | -7.738 | -7.0361
43.19 | -7.8659 | -7.0876
43.225 | -7.9377 | -7.1383
43.26 | -8.0677 | -7.2316
43.295 | -8.2166 | -7.3041
43.33 | -8.2818 | -7.4334
43.365 | -8.4859 | -7.6287
43.4 | -8.6644 | -7.8843
43.435 | -8.7906 | -7.9229
43.47 | -9.002 | -8.1165
43.505 | -8.9854 | -8.1918
43.54 | -8.9617 | -8.1821
43.575 | -8.926 | -8.2296
43.61 | -8.8859 | -8.2233
43.645 | -8.8206 | -8.2288
43.68 | -8.8097 | -8.2017
43.715 | -8.7728 | -8.2394
43.75 | -8.8779 | -8.2383
43.785 | -8.9154 | -8.2112
43.82 | -8.9081 | -8.2807
43.855 | -8.9672 | -8.2836
43.89 | -9.074 | -8.3476
43.925 | -9.2609 | -8.4884
43.96 | -9.4225 | -8.6326
43.995 | -9.7236 | -8.8626
44.03 | -9.8282 | -8.9043
44.065 | -9.9753 | -9.0727
44.1 | -10.1666 | -9.2632
44.135 | -10.4038 | -9.3775
44.17 | -10.6034 | -9.5557
44.205 | -10.779 | -9.6147
44.24 | -10.9292 | -9.6844
44.275 | -10.9648 | -9.8523
44.31 | -11.1319 | -10.0235
44.345 | -11.2795 | -10.1912
44.38 | -11.3606 | -10.3933
44.415 | -11.4609 | -10.4199
44.45 | -11.3378 | -10.4889
44.485 | -11.2942 | -10.5049
44.52 | -11.1713 | -10.3763
44.555 | -11.0652 | -10.3183
44.59 | -10.9529 | -10.2951
44.625 | -10.8705 | -10.1493
44.66 | -10.8643 | -10.1839
44.695 | -10.8191 | -10.1244
44.73 | -11.0014 | -10.3048
44.765 | -11.132 | -10.352
44.8 | -11.2569 | -10.4896
44.835 | -11.4359 | -10.6368
44.87 | -11.7712 | -10.7771
44.905 | -11.9468 | -10.9086
44.94 | -12.1333 | -11.1147
44.975 | -12.3556 | -11.3685
45.01 | -12.5287 | -11.5883
45.045 | -12.8939 | -11.6788
45.08 | -13.1133 | -11.8679
45.115 | -13.3588 | -12.003
45.15 | -13.5988 | -12.2276
45.185 | -13.7694 | -12.4826
45.22 | -13.8815 | -12.5715
45.255 | -13.9776 | -12.7254
45.29 | -14.0101 | -12.7664
45.325 | -14.0214 | -12.8682
45.36 | -13.9811 | -12.7472
45.395 | -13.9152 | -12.7926
45.43 | -13.7261 | -12.7796
45.465 | -13.5088 | -12.6612
45.5 | -13.6072 | -12.5849
45.535 | -13.5352 | -12.6005
45.57 | -13.5478 | -12.5717
45.605 | -13.5018 | -12.6583
45.64 | -13.6731 | -12.5389
45.675 | -13.6708 | -12.6308
45.71 | -14.0911 | -12.8567
45.745 | -14.0157 | -12.9945
45.78 | -14.1661 | -13.0819
45.815 | -14.411 | -13.2389
45.85 | -14.6586 | -13.4823
45.885 | -15.038 | -13.6329
45.92 | -15.2753 | -13.9027
45.955 | -15.529 | -14.1777
45.99 | -15.912 | -14.3587
46.025 | -16.0819 | -14.5817
46.06 | -16.129 | -14.7666
46.095 | -16.1462 | -14.779
46.13 | -16.5541 | -14.9773
46.165 | -16.6473 | -15.1559
46.2 | -16.3996 | -15.465
46.235 | -16.4289 | -15.2574
46.27 | -16.1983 | -15.266
46.305 | -16.074 | -15.1199
46.34 | -16.0678 | -15.0806
46.375 | -16.3464 | -14.9848
46.41 | -16.0478 | -14.8007
46.445 | -16.0352 | -14.7409
46.48 | -16.097 | -14.852
46.515 | -16.1214 | -14.6378
46.55 | -16.2854 | -14.6176
46.585 | -16.2557 | -14.9335
46.62 | -16.6958 | -14.9958
46.655 | -16.5901 | -15.3424
46.69 | -16.8227 | -15.4378
46.725 | -16.9883 | -15.51
46.76 | -17.2616 | -15.7854
46.795 | -17.214 | -15.8952
46.83 | -17.2576 | -16.1481
46.865 | -17.3195 | -16.4308
46.9 | -17.3678 | -16.6467
46.935 | -17.3001 | -16.7438
46.97 | -17.4693 | -16.7765
47.005 | -17.5013 | -16.7767
47.04 | -17.35 | -16.6554
47.075 | -17.3626 | -16.6796
47.11 | -17.6594 | -16.6032
47.145 | -17.5681 | -16.547
47.18 | -17.6804 | -16.5426
47.215 | -17.7437 | -16.4903
47.25 | -18.1236 | -16.3328
47.285 | -17.9092 | -16.5054
47.32 | -18.1209 | -16.4215
47.355 | -17.96 | -16.6039
47.39 | -18.0468 | -16.6072
47.425 | -18.1352 | -16.8287
47.46 | -17.9338 | -16.785
47.495 | -18.0019 | -17.0265
47.53 | -17.976 | -17.1852
47.565 | -18.0684 | -17.1216
47.6 | -18.0303 | -17.1375
47.635 | -17.9267 | -17.3321
47.67 | -17.819 | -17.2377
47.705 | -17.7344 | -17.1861
47.74 | -17.9283 | -17.2314
47.775 | -17.8823 | -17.2875
47.81 | -18.0589 | -17.191
47.845 | -18.1086 | -17.3185
47.88 | -18.1735 | -17.4709
47.915 | -18.5679 | -17.1746
47.95 | -18.3992 | -17.7056
47.985 | -18.6517 | -17.7312
48.02 | -18.6039 | -17.8874
48.055 | -18.5938 | -17.9755
48.09 | -18.5729 | -18.0284
48.125 | -18.4163 | -17.9848
48.16 | -18.4466 | -18.1206
48.195 | -18.5652 | -18.0631
48.23 | -18.6667 | -17.9767
48.265 | -18.4539 | -18.0244
48.3 | -18.1398 | -18.0517
48.335 | -17.8573 | -17.6171
48.37 | -17.9077 | -17.6766
48.405 | -17.7166 | -17.6085
48.44 | -17.8869 | -17.369
48.475 | -17.7996 | -17.4515
48.51 | -18.0734 | -17.2658
48.545 | -18.117 | -17.5142
48.58 | -18.1155 | -17.4234
48.615 | -18.3304 | -17.5555
48.65 | -18.6458 | -17.6309
48.685 | -18.7134 | -18.0926
48.72 | -18.7046 | -18.3753
48.755 | -18.8357 | -18.1479
48.79 | -18.8352 | -18.5779
48.825 | -19.1845 | -18.5319
48.86 | -19.0044 | -18.8998
48.895 | -19.1827 | -18.7218
48.93 | -19.2739 | -19.0042
48.965 | -18.9415 | -18.9887
49 | -18.8568 | -19.101
49.035 | -18.8437 | -19.0726
49.07 | -18.8142 | -19.0694
49.105 | -18.6 | -18.9137
49.14 | -18.8151 | -18.6421
49.175 | -18.4913 | -18.4759
49.21 | -18.3501 | -18.4701
49.245 | -18.4375 | -18.2558
49.28 | -18.4688 | -18.5625
49.315 | -18.5682 | -18.3943
49.35 | -18.8851 | -17.9378
49.385 | -18.6713 | -18.2907
49.42 | -18.5675 | -18.4597
49.455 | -18.7574 | -18.2132
49.49 | -19.0645 | -18.3396
49.525 | -19.1281 | -18.672
49.56 | -19.29 | -18.7624
49.595 | -19.5033 | -18.9952
49.63 | -19.5801 | -19.2093
49.665 | -19.8517 | -19.0942
49.7 | -19.9718 | -19.5535
49.735 | -19.7438 | -19.5953
49.77 | -19.9817 | -20.0109
49.805 | -19.9092 | -19.5112
49.84 | -19.8915 | -19.9156
49.875 | -19.8297 | -19.9788
49.91 | -20.3461 | -20.1017
49.945 | -20.0982 | -20.1371
49.98 | -20.0285 | -19.9912
50.015 | -20.4809 | -19.6659
50.05 | -20.5682 | -19.7883
50.085 | -20.7967 | -20.1882
50.12 | -20.8162 | -20.4006
50.155 | -20.6082 | -20.2709
50.19 | -20.943 | -20.2914
50.225 | -21.3261 | -20.1911
50.26 | -21.0399 | -20.4294
50.295 | -21.407 | -20.4228
50.33 | -21.6129 | -20.4643
50.365 | -21.4202 | -20.2137
50.4 | -21.4994 | -20.2197
50.435 | -21.7857 | -20.5037
50.47 | -21.4854 | -20.5478
50.505 | -21.3959 | -21.1726
50.54 | -21.7707 | -20.8266
50.575 | -21.7695 | -20.8887
50.61 | -21.6907 | -20.7655
50.645 | -21.4409 | -21.3055
50.68 | -21.8561 | -21.1355
50.715 | -21.8656 | -21.3183
50.75 | -22.2068 | -21.2837
50.785 | -22.2266 | -21.3051
50.82 | -22.3959 | -21.7207
50.855 | -22.5544 | -22.1262
50.89 | -23.2609 | -22.1225
50.925 | -23.0091 | -22.2661
50.96 | -23.7178 | -22.2765
50.995 | -23.7022 | -22.883
51.03 | -23.9455 | -23.0114
51.065 | -24.2006 | -23.0933
51.1 | -24.2363 | -22.8704
51.135 | -24.4119 | -23.4448
51.17 | -24.6667 | -23.2075
51.205 | -24.4677 | -23.3318
51.24 | -24.4461 | -23.5207
51.275 | -25.0085 | -23.3407
51.31 | -25.2388 | -23.3231
51.345 | -24.775 | -23.3485
51.38 | -24.5271 | -23.1962
51.415 | -24.836 | -23.393
51.45 | -24.727 | -23.4297
51.485 | -24.2721 | -23.1051
51.52 | -24.5395 | -23.2796
51.555 | -24.9532 | -23.508
51.59 | -24.4518 | -23.7064
51.625 | -24.4012 | -23.3675
51.66 | -24.9134 | -24.2223
51.695 | -24.8157 | -23.7951
51.73 | -24.8195 | -24.6571
51.765 | -25.0488 | -24.2143
51.8 | -25.2464 | -24.6019
51.835 | -25.9048 | -24.5731
51.87 | -26.4545 | -25.1191
51.905 | -25.8351 | -24.9246
51.94 | -26.3553 | -24.9032
51.975 | -27.1327 | -25.2059
52.01 | -26.8057 | -25.6086
52.045 | -26.7755 | -25.309
52.08 | -27.054 | -26.0498
52.115 | -28.1087 | -25.7519
52.15 | -27.7831 | -26.385
52.185 | -27.2614 | -25.9136
52.22 | -27.5049 | -25.818
52.255 | -27.4855 | -26.2343
52.29 | -27.5781 | -25.9638
52.325 | -27.6094 | -26.1792
52.36 | -26.9863 | -25.6077
52.395 | -27.1384 | -26.2061
52.43 | -27.2228 | -26.386
52.465 | -26.4832 | -25.7502
52.5 | -26.3241 | -25.818
52.535 | -26.0897 | -25.7377
52.57 | -26.4237 | -25.5472
52.605 | -26.451 | -25.6731
52.64 | -26.7115 | -26.1301
52.675 | -26.6482 | -25.8538
52.71 | -26.7424 | -26.2008
52.745 | -27.201 | -25.7149
52.78 | -27.2269 | -26.615
52.815 | -27.272 | -26.328
52.85 | -27.6969 | -26.8365
52.885 | -27.4516 | -26.7414
52.92 | -28.0723 | -27.144
52.955 | -28.2456 | -27.2158
52.99 | -28.508 | -27.7774
53.025 | -28.5638 | -26.7712
53.06 | -28.3761 | -27.2618
53.095 | -28.6323 | -27.6302
53.13 | -28.7727 | -27.732
53.165 | -28.337 | -27.462
53.2 | -28.8994 | -27.656
53.235 | -28.415 | -27.7156
53.27 | -28.131 | -27.8409
53.305 | -27.9086 | -27.6445
53.34 | -28.3953 | -27.5596
53.375 | -27.4489 | -27.1283
53.41 | -27.599 | -26.5609
53.445 | -27.4942 | -26.9304
53.48 | -27.1792 | -27.4986
53.515 | -27.1274 | -26.9253
53.55 | -27.7963 | -26.431
53.585 | -27.6608 | -27.0049
53.62 | -27.4708 | -27.2871
53.655 | -28.1567 | -27.1325
53.69 | -28.6986 | -27.5326
53.725 | -28.379 | -28.1015
53.76 | -28.4609 | -28.5198
53.795 | -28.4178 | -27.845
53.83 | -28.6404 | -28.9368
53.865 | -28.7473 | -28.3972
53.9 | -27.8091 | -28.3286
53.935 | -28.1334 | -28.3854
53.97 | -28.273 | -28.9599
54.005 | -27.9775 | -28.034
54.04 | -28.4104 | -28.4966
54.075 | -28.2052 | -27.8216
54.11 | -28.2732 | -27.9165
54.145 | -27.449 | -27.3936
54.18 | -28.3305 | -27.8096
54.215 | -28.4708 | -27.8708
54.25 | -28.9751 | -27.1924
54.285 | -28.6197 | -27.6501
54.32 | -29.4463 | -27.9327
54.355 | -28.4523 | -27.5297
54.39 | -28.6788 | -28.589
54.425 | -29.2347 | -28.0749
54.46 | -28.8515 | -28.9351
54.495 | -29.3572 | -29.3058
54.53 | -29.3171 | -28.4367
54.565 | -30.0048 | -29.111
54.6 | -29.6819 | -30.0555
54.635 | -28.8328 | -29.2694
54.67 | -29.0913 | -29.0028
54.705 | -28.8295 | -28.9971
54.74 | -28.5009 | -29.118
54.775 | -29.1417 | -28.6834
54.81 | -29.3224 | -28.2177
54.845 | -29.6233 | -27.807
54.88 | -29.0189 | -28.5244
54.915 | -29.9833 | -29.1331
54.95 | -30.0279 | -29.3626
54.985 | -30.4874 | -29.125
55.02 | -31.2954 | -28.9425
55.055 | -31.1927 | -29.91
55.09 | -31.802 | -29.958
55.125 | -32.0772 | -30.2021
55.16 | -31.3538 | -32.0357
55.195 | -32.0578 | -31.0723
55.23 | -31.5701 | -31.8823
55.265 | -31.6124 | -31.2663
55.3 | -31.625 | -32.3365
55.335 | -30.9225 | -31.1858
55.37 | -32.1839 | -31.9692
55.405 | -31.3552 | -31.0907
55.44 | -31.2852 | -30.7525
55.475 | -31.0613 | -31.0015
55.51 | -30.4818 | -30.1784
55.545 | -30.7317 | -30.3398
55.58 | -31.5582 | -30.2251
55.615 | -31.4752 | -30.7446
55.65 | -31.9672 | -29.8814
55.685 | -32.5854 | -30.3977
55.72 | -33.4859 | -30.629
55.755 | -32.5822 | -32.2017
55.79 | -32.3698 | -32.23
55.825 | -33.6788 | -31.7209
55.86 | -34.3258 | -32.2276
55.895 | -34.361 | -32.7059
55.93 | -33.7679 | -33.221
55.965 | -34.2628 | -35.0144
56 | -35.158 | -33.8993
56.035 | -33.456 | -33.9751
56.07 | -35.1003 | -34.3021
56.105 | -35.2052 | -34.6587
56.14 | -34.664 | -35.8936
56.175 | -34.6512 | -35.5693
56.21 | -34.7416 | -35.8864
56.245 | -35.1734 | -36.3696
56.28 | -34.1185 | -35.7649
56.315 | -33.9124 | -33.2681
56.35 | -34.4843 | -33.7027
56.385 | -32.8273 | -33.4602
56.42 | -34.6709 | -33.0822
56.455 | -33.8283 | -34.3825
56.49 | -33.3466 | -33.3084
56.525 | -34.7024 | -33.9226
56.56 | -33.4162 | -34.6921
56.595 | -34.5859 | -33.7025
56.63 | -36.3297 | -34.3374
56.665 | -33.3118 | -35.3452
56.7 | -35.5563 | -35.6258
56.735 | -33.8458 | -35.8941
56.77 | -36.2953 | -36.0544
56.805 | -34.8054 | -35.0668
56.84 | -34.6185 | -37.0709
56.875 | -35.679 | -35.476
56.91 | -36.5462 | -37.8244
56.945 | -35.1398 | -35.6768
56.98 | -35.5788 | -37.9459
57.015 | -35.3129 | -38.3956
57.05 | -36.5997 | -39.285
57.085 | -36.6603 | -38.6854
57.12 | -35.5087 | -38.4847
57.155 | -35.6835 | -37.9156
57.19 | -36.6819 | -37.1435
57.225 | -36.1278 | -36.2638
57.26 | -34.5893 | -34.3869
57.295 | -34.4309 | -37.0923
57.33 | -34.4796 | -36.356
57.365 | -33.944 | -35.8895
57.4 | -34.5978 | -34.7745
57.435 | -33.7297 | -38.0646
57.47 | -34.108 | -35.8158
57.505 | -33.9861 | -36.6922
57.54 | -33.58 | -36.6111
57.575 | -34.4908 | -35.1458
57.61 | -34.8396 | -36.72
57.645 | -34.9272 | -36.3026
57.68 | -35.2089 | -37.5576
57.715 | -35.2162 | -38.6331
57.75 | -35.7182 | -36.9021
57.785 | -34.7251 | -38.5146
57.82 | -36.1386 | -40.9693
57.855 | -34.5261 | -37.7523
57.89 | -37.0134 | -38.7861
57.925 | -37.5054 | -41.3051
57.96 | -36.6404 | -38.0191
57.995 | -34.9271 | -37.792
58.03 | -34.835 | -38.5866
58.065 | -36.4523 | -37.241
58.1 | -34.9374 | -37.7939
58.135 | -34.9206 | -37.0007
58.17 | -35.2525 | -36.8249
58.205 | -35.7363 | -35.8936
58.24 | -33.3517 | -37.4291
58.275 | -33.3089 | -37.1565
58.31 | -32.822 | -36.2233
58.345 | -33.1268 | -35.1287
58.38 | -35.3268 | -37.2068
58.415 | -33.1214 | -37.0884
58.45 | -33.2141 | -38.6425
58.485 | -32.8366 | -40.0924
58.52 | -32.805 | -40.3741
58.555 | -33.4046 | -37.1217
58.59 | -32.73 | -38.5004
58.625 | -32.8279 | -39.4984
58.66 | -34.0872 | -39.9135
58.695 | -34.6724 | -38.9308
58.73 | -33.4612 | -38.4773
58.765 | -34.3432 | -38.1894
58.8 | -34.1273 | -40.308
58.835 | -34.1318 | -38.5208
58.87 | -34.7302 | -37.0173
58.905 | -33.8419 | -40.1091
58.94 | -34.9617 | -36.621
58.975 | -33.9994 | -37.4263
59.01 | -34.0723 | -35.7617
59.045 | -35.0192 | -37.8586
59.08 | -36.3414 | -37.9739
59.115 | -35.0594 | -37.6407
59.15 | -33.0079 | -35.297
59.185 | -33.7748 | -37.4656
59.22 | -34.6847 | -38.6643
59.255 | -34.0162 | -37.5068
59.29 | -34.2562 | -38.7681
59.325 | -33.975 | -37.9785
59.36 | -32.9716 | -38.491
59.395 | -33.5985 | -38.5863
59.43 | -34.2281 | -36.9855
59.465 | -33.2496 | -37.8717
59.5 | -34.1336 | -37.6023
59.535 | -32.5157 | -38.5309
59.57 | -33.8066 | -38.4985
59.605 | -33.899 | -37.2968
59.64 | -33.6709 | -37.4464
59.675 | -35.0295 | -37.2859
59.71 | -34.3301 | -37.6586
59.745 | -34.655 | -39.5745
59.78 | -35.2151 | -37.988
59.815 | -34.6251 | -40.4303
59.85 | -36.8237 | -40.7502
59.885 | -36.1102 | -40.7611
59.92 | -35.99 | -40.2838
59.955 | -36.0684 | -41.3572
59.99 | -34.625 | -45.1259
60.025 | -35.2757 | -42.0699
60.06 | -34.6939 | -43.2791
60.095 | -36.353 | -40.833
60.13 | -36.6046 | -42.0061
60.165 | -37.1027 | -44.5507
60.2 | -37.3687 | -40.9102
60.235 | -36.4105 | -43.9377
60.27 | -37.2821 | -49.89
60.305 | -35.5979 | -42.1332
60.34 | -36.6318 | -41.3285
60.375 | -35.7197 | -42.2708
60.41 | -37.0235 | -46.5187
60.445 | -36.5294 | -46.0767
60.48 | -37.1926 | -42.2159
60.515 | -36.3443 | -44.6092
60.55 | -36.5303 | -45.2941
60.585 | -37.4024 | -42.93
60.62 | -36.9955 | -48.5892
60.655 | -35.5979 | -43.3585
60.69 | -38.3867 | -43.0071
60.725 | -38.8524 | -43.1894
60.76 | -38.8956 | -44.5668
60.795 | -37.6733 | -45.9042
60.83 | -40.1561 | -46.1413
60.865 | -40.2793 | -45.8093
60.9 | -42.5203 | -50.3173
60.935 | -41.0484 | -53.3644
60.97 | -40.3242 | -60.9452
61.005 | -38.7343 | -50.8565
61.04 | -38.6921 | -53.7118
61.075 | -40.3016 | -51.9406
61.11 | -39.9936 | -48.8893
61.145 | -37.9795 | -56.7958
61.18 | -43.261 | -58.4495
61.215 | -38.6637 | -49.4799
61.25 | -40.0599 | -58.3318
61.285 | -40.0642 | -47.4933
61.32 | -39.7308 | -44.9706
61.355 | -43.5345 | -43.8067
61.39 | -43.2532 | -49.4777
61.425 | -43.5291 | -47.95
61.46 | -40.5747 | -46.456
61.495 | -41.9192 | -47.2422
61.53 | -47.1512 | -54.8533
61.565 | -40.9508 | -53.0011
61.6 | -40.483 | -51.2647
61.635 | -42.3897 | -53.8358
61.67 | -43.6646 | -54.9302
61.705 | -45.7099 | -52.703
61.74 | -40.9908 | -52.1939
61.775 | -43.9864 | -50.9779
61.81 | -44.4918 | -73.9012
61.845 | -42.1228 | -68.0998
61.88 | -41.6746 | -48.387
61.915 | -43.4935 | -54.648
61.95 | -42.1362 | -47.2733
61.985 | -51.1087 | -53.7259
62.02 | -41.3787 | -52.7677
62.055 | -43.6642 | -49.3319
62.09 | -50.9383 | -52.0727
62.125 | -44.5759 | -55.3584
62.16 | -46.5355 | -50.8487
62.195 | -44.2807 | -49.1914
62.23 | -45.2557 | -44.8788
62.265 | -47.0785 | -53.5135
62.3 | -45.2593 | -50.7302
62.335 | -44.016 | -49.0598
62.37 | -45.0595 | -51.4545
62.405 | -44.8979 | -46.8385
62.44 | -48.9123 | -57.8198
62.475 | -48.9745 | -67.9581
62.51 | -44.9957 | -59.0096
62.545 | -56.2745 | -54.1623
62.58 | -47.1955 | -56.6806
62.615 | -44.6736 | -52.1237
62.65 | -50.3193 | -71.6771
62.685 | -56.2829 | -54.8272
62.72 | -47.4849 | -56.4569
62.755 | -50.8183 | -56.3237
62.79 | -46.9948 | -49.2717
62.825 | -45.0966 | -53.2262
62.86 | -52.0515 | -57.007
62.895 | -48.7461 | -46.624
62.93 | -45.3094 | -52.8482
62.965 | -47.936 | -55.6578
63 | -46.2594 | -49.7964
63.035 | -45.361 | -60.9992
63.07 | -47.9903 | -69.6666
63.105 | -46.7775 | -49.1927
63.14 | -46.7811 | -48.6472
63.175 | -50.4245 | -52.0128
63.21 | -53.3977 | -61.4123
63.245 | -48.4948 | -52.3586
63.28 | -49.4138 | -51.4083
63.315 | -50.6125 | -49.2513
63.35 | -50.0902 | -57.6646
63.385 | -46.5346 | -49.6266
63.42 | -46.7523 | -50.1439
63.455 | -57.5024 | -54.6928
63.49 | -49.384 | -49.4732
63.525 | -45.8217 | -49.6048
63.56 | -49.5773 | -54.9692
63.595 | -46.0903 | -47.3271
63.63 | -56.7524 | -51.8431
63.665 | -43.512 | -51.9033
63.7 | -50.0117 | -52.4694
63.735 | -47.0751 | -60.6681
63.77 | -43.6805 | -54.8439
63.805 | -56.3502 | -47.6199
63.84 | -43.4 | -48.3691
63.875 | -52.1344 | -50.84
63.91 | -50.6589 | -56.2787
63.945 | -43.9709 | -50.6486
63.98 | -53.982 | -62.5566
64.015 | -47.8235 | -49.6146
64.05 | -47.1427 | -61.9841
64.085 | -43.7918 | -57.4562
64.12 | -56.6378 | -43.8187
64.155 | -42.2582 | -51.5934
64.19 | -53.9496 | -69.0647
64.225 | -53.2402 | -52.9167
64.26 | -45.5644 | -64.0724
64.295 | -48.9321 | -49.4756
64.33 | -46.843 | -60.0224
64.365 | -40.5786 | -57.9435
64.4 | -46.7494 | -56.4865
64.435 | -49.5794 | -59.8699
64.47 | -46.7088 | -48.1834
64.505 | -45.2694 | -57.3318
64.54 | -49.4138 | -58.6744
64.575 | -49.7209 | -48.4204
64.61 | -48.5166 | -48.1549
64.645 | -65.1518 | -54.2247
64.68 | -58.9218 | -53.3618
64.715 | -50.1712 | -60.7885
64.75 | -52.0548 | -57.3578
64.785 | -41.9643 | -53.3385
64.82 | -51.121 | -59.1337
64.855 | -45.0792 | -48.5462
64.89 | -49.1429 | -57.4609
64.925 | -48.646 | -53.7171
64.96 | -44.3731 | -53.3814
64.995 | -49.7817 | -48.314
65.03 | -50.1572 | -52.3488
65.065 | -53.6128 | -52.4616
65.1 | -49.0315 | -63.255
65.135 | -45.848 | -58.9839
65.17 | -50.1666 | -43.9646
65.205 | -49.3869 | -51.9135
65.24 | -41.8233 | -44.1649
65.275 | -46.7264 | -52.4549
65.31 | -48.2042 | -67.8731
65.345 | -52.5764 | -60.1304
65.38 | -46.053 | -56.851
65.415 | -44.9631 | -58.8142
65.45 | -45.595 | -51.8613
65.485 | -53.8925 | -58.8838
65.52 | -45.7864 | -55.0787
65.555 | -51.6246 | -56.6983
65.59 | -56.8916 | -48.7894
65.625 | -55.8172 | -51.9325
65.66 | -44.5905 | -53.7111
65.695 | -53.9622 | -48.0845
65.73 | -68.0183 | -50.0963
65.765 | -45.9093 | -54.5375
65.8 | -52.4153 | -56.3152
65.835 | -55.5902 | -50.5285
65.87 | -47.5513 | -48.1675
65.905 | -53.1968 | -64.4895
65.94 | -53.7784 | -61.9841
65.975 | -48.5742 | -50.446
66.01 | -59.3166 | -44.6776
66.045 | -50.548 | -53.7582
66.08 | -50.6531 | -45.3591
66.115 | -44.7326 | -45.1329
66.15 | -45.4374 | -47.6563
66.185 | -51.0468 | -44.7174
66.22 | -42.1459 | -52.4699
66.255 | -49.6094 | -50.458
66.29 | -48.9951 | -42.503
66.325 | -49.2844 | -49.358
66.36 | -45.1485 | -52.1851
66.395 | -50.4762 | -50.4523
66.43 | -54.3695 | -45.2653
66.465 | -49.6958 | -49.9695
66.5 | -52.1022 | -43.4035
66.535 | -47.2843 | -45.8819
66.57 | -65.8575 | -45.162
66.605 | -43.4417 | -51.8738
66.64 | -51.1786 | -67.454
66.675 | -44.9116 | -61.1228
66.71 | -50.6551 | -44.9205
66.745 | -55.5572 | -51.636
66.78 | -57.5419 | -54.5946
66.815 | -47.4478 | -45.8015
66.85 | -49.1056 | -59.7885
66.885 | -55.2679 | -52.0168
66.92 | -46.1623 | -57.4263
66.955 | -47.1389 | -53.8204
66.99 | -48.0413 | -50.2002
67.025 | -62.5391 | -48.3054
67.06 | -46.1247 | -49.8152
67.095 | -43.9614 | -66.6739
67.13 | -55.4606 | -46.3422
67.165 | -50.3207 | -52.1669
67.2 | -49.3669 | -47.8496
67.235 | -53.3442 | -51.2143
67.27 | -60.4669 | -57.5773
67.305 | -44.4053 | -54.4578
67.34 | -70.4152 | -52.2657
67.375 | -42.9357 | -51.2502
67.41 | -46.9818 | -46.8273
67.445 | -45.4452 | -47.4995
67.48 | -50.1714 | -50.9902
67.515 | -46.4224 | -46.1392
67.55 | -46.582 | -55.6733
67.585 | -51.4586 | -43.5988
67.62 | -45.9899 | -51.9792
67.655 | -53.7291 | -47.7515
67.69 | -51.0808 | -47.5597
67.725 | -51.0404 | -55.174
67.76 | -49.7709 | -63.1986
67.795 | -61.1775 | -51.0667
67.83 | -53.1518 | -56.105
67.865 | -49.8309 | -55.4853
67.9 | -46.4179 | -58.621
67.935 | -60.2484 | -52.3874
67.97 | -49.0561 | -54.6209
68.005 | -61.687 | -51.6229
68.04 | -54.4707 | -56.7863
68.075 | -48.1976 | -46.227
68.11 | -57.0145 | -61.6734
68.145 | -72.8553 | -51.0025
68.18 | -48.1168 | -52.084
68.215 | -45.6791 | -46.0909
68.25 | -49.5438 | -44.7688
68.285 | -48.9412 | -49.2884
68.32 | -49.2253 | -39.9025
68.355 | -46.1458 | -60.9628
68.39 | -47.1268 | -50.7537
68.425 | -45.3417 | -45.7868
68.46 | -48.5817 | -54.5863
68.495 | -44.4223 | -58.0581
68.53 | -46.7844 | -50.5739
68.565 | -48.5007 | -48.0915
68.6 | -41.9035 | -49.606
68.635 | -54.5834 | -43.2556
68.67 | -50.3364 | -56.2768
68.705 | -48.6819 | -64.0548
68.74 | -59.9704 | -48.7041
68.775 | -42.9193 | -44.9077
68.81 | -56.6836 | -55.6115
68.845 | -42.4143 | -49.9549
68.88 | -45.8706 | -45.5781
68.915 | -47.3395 | -54.2147
68.95 | -54.0514 | -46.0537
68.985 | -51.7926 | -57.5671
69.02 | -45.3329 | -54.7589
69.055 | -55.9738 | -61.5113
69.09 | -44.3099 | -49.1317
69.125 | -43.4028 | -46.3727
69.16 | -46.7081 | -54.0511
69.195 | -51.2066 | -50.6266
69.23 | -43.0962 | -45.8463
69.265 | -53.1831 | -47.683
69.3 | -50.6146 | -48.3798
69.335 | -50.4717 | -51.0318
69.37 | -49.2108 | -50.1769
69.405 | -48.6978 | -52.6356
69.44 | -52.3697 | -68.122
69.475 | -47.3471 | -52.2725
69.51 | -52.1379 | -49.0999
69.545 | -59.7361 | -58.1799
69.58 | -45.5167 | -47.8505
69.615 | -44.66 | -62.292
69.65 | -49.1361 | -47.5643
69.685 | -49.8041 | -47.989
69.72 | -42.4986 | -47.2156
69.755 | -52.7255 | -47.8771
69.79 | -49.8522 | -54.761
69.825 | -53.9177 | -52.6632
69.86 | -47.1068 | -64.2829
69.895 | -49.3739 | -53.9223
69.93 | -51.5062 | -45.6591
69.965 | -50.2803 | -39.6618
70 | -48.9027 | -53.8758