## Syn. Quartz Glass Transmission
Synthetic Quartz Glass Cuvettes Transmission (1 mm or 2 mm Path Length)
|  | Wavelength (nm) | % Transmission
|  | 184 | 79.5084
|  | 186 | 79.5429
|  | 188 | 80.2791
|  | 190 | 79.9152
Product Raw Data |  | 192 | 80.2448
Synthetic Quartz Glass Cuvettes Transmission (1 mm or 2 mm Path Length) |  | 194 | 80.5759
|  | 196 | 80.7284
|  | 198 | 81.0711
Item # | CV1Q035AE, CV1Q035AE2, CV2Q07AE, CV2Q07AE2 | 200 | 81.5117
|  | 202 | 81.9281
|  | 204 | 82.2143
|  | 206 | 82.4922
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 82.7842
|  | 210 | 82.9785
|  | 212 | 83.1717
|  | 214 | 83.3376
|  | 216 | 83.4096
|  | 218 | 83.5734
|  | 220 | 83.6932
Additional Information: |  | 222 | 83.7563
Transmission was measured at normal incidence through an empty cuvette. |  | 224 | 83.8469
|  | 226 | 83.9403
|  | 228 | 83.9441
|  | 230 | 84.0151
|  | 232 | 84.099
|  | 234 | 84.2065
|  | 236 | 84.2693
|  | 238 | 84.3306
|  | 240 | 84.4185
|  | 242 | 84.482
|  | 244 | 84.5822
|  | 246 | 84.6281
|  | 248 | 84.6565
|  | 250 | 84.7275
|  | 252 | 84.7766
|  | 254 | 84.8658
|  | 256 | 84.8763
|  | 258 | 84.954
|  | 260 | 85.0536
|  | 262 | 85.0766
|  | 264 | 85.092
|  | 266 | 85.1438
|  | 268 | 85.2145
|  | 270 | 85.2425
|  | 272 | 85.3045
|  | 274 | 85.3613
|  | 276 | 85.4233
|  | 278 | 85.5084
|  | 280 | 85.5791
|  | 282 | 85.587
|  | 284 | 85.6
|  | 286 | 85.6474
|  | 288 | 85.7149
|  | 290 | 85.7559
|  | 292 | 85.7788
|  | 294 | 85.7742
|  | 296 | 85.8328
|  | 298 | 85.875
|  | 300 | 85.9095
|  | 302 | 85.9749
|  | 304 | 86.0329
|  | 306 | 86.0355
|  | 308 | 86.0502
|  | 310 | 86.0844
|  | 312 | 86.1188
|  | 314 | 86.1585
|  | 316 | 86.2
|  | 318 | 86.2048
|  | 320 | 86.1982
|  | 322 | 86.2116
|  | 324 | 86.2549
|  | 326 | 86.261
|  | 328 | 86.2747
|  | 330 | 86.2882
|  | 332 | 86.3447
|  | 334 | 86.363
|  | 336 | 86.3756
|  | 338 | 86.4184
|  | 340 | 86.4372
|  | 342 | 86.4341
|  | 344 | 86.4312
|  | 346 | 86.4536
|  | 348 | 86.4732
|  | 350 | 86.4926
|  | 352 | 86.4893
|  | 354 | 86.5062
|  | 356 | 86.5341
|  | 358 | 86.5488
|  | 360 | 86.5892
|  | 362 | 86.6084
|  | 364 | 86.5971
|  | 366 | 86.5972
|  | 368 | 86.6074
|  | 370 | 86.6149
|  | 372 | 86.6117
|  | 374 | 86.6459
|  | 376 | 86.6847
|  | 378 | 86.7032
|  | 380 | 86.6999
|  | 382 | 86.6992
|  | 384 | 86.7356
|  | 386 | 86.7348
|  | 388 | 86.72
|  | 390 | 86.7488
|  | 392 | 86.7717
|  | 394 | 86.7641
|  | 396 | 86.7629
|  | 398 | 86.7864
|  | 400 | 86.8045
|  | 402 | 86.7826
|  | 404 | 86.7955
|  | 406 | 86.8567
|  | 408 | 86.8614
|  | 410 | 86.8522
|  | 412 | 86.8759
|  | 414 | 86.854
|  | 416 | 86.8462
|  | 418 | 86.8764
|  | 420 | 86.8764
|  | 422 | 86.8878
|  | 424 | 86.9253
|  | 426 | 86.9229
|  | 428 | 86.9071
|  | 430 | 86.9307
|  | 432 | 86.9312
|  | 434 | 86.9235
|  | 436 | 86.9437
|  | 438 | 86.9753
|  | 440 | 86.9717
|  | 442 | 86.9629
|  | 444 | 86.9968
|  | 446 | 87.0116
|  | 448 | 86.984
|  | 450 | 86.9949
|  | 452 | 87.0235
|  | 454 | 86.9993
|  | 456 | 86.9969
|  | 458 | 87.0278
|  | 460 | 87.039
|  | 462 | 87.0164
|  | 464 | 87.0248
|  | 466 | 87.079
|  | 468 | 87.1004
|  | 470 | 87.071
|  | 472 | 87.0512
|  | 474 | 87.0802
|  | 476 | 87.0921
|  | 478 | 87.0504
|  | 480 | 87.0466
|  | 482 | 87.0818
|  | 484 | 87.1094
|  | 486 | 87.105
|  | 488 | 87.0966
|  | 490 | 87.1247
|  | 492 | 87.1433
|  | 494 | 87.1241
|  | 496 | 87.0861
|  | 498 | 87.1211
|  | 500 | 87.1759
|  | 502 | 87.1514
|  | 504 | 87.1094
|  | 506 | 87.1095
|  | 508 | 87.1431
|  | 510 | 87.1709
|  | 512 | 87.1564
|  | 514 | 87.1442
|  | 516 | 87.149
|  | 518 | 87.2009
|  | 520 | 87.2176
|  | 522 | 87.1759
|  | 524 | 87.1441
|  | 526 | 87.1736
|  | 528 | 87.2356
|  | 530 | 87.2443
|  | 532 | 87.2004
|  | 534 | 87.1987
|  | 536 | 87.2078
|  | 538 | 87.24
|  | 540 | 87.2546
|  | 542 | 87.2274
|  | 544 | 87.1775
|  | 546 | 87.2039
|  | 548 | 87.2272
|  | 550 | 87.2577
|  | 552 | 87.256
|  | 554 | 87.2207
|  | 556 | 87.1938
|  | 558 | 87.2413
|  | 560 | 87.3097
|  | 562 | 87.3224
|  | 564 | 87.2584
|  | 566 | 87.2305
|  | 568 | 87.2244
|  | 570 | 87.2838
|  | 572 | 87.3391
|  | 574 | 87.3309
|  | 576 | 87.2925
|  | 578 | 87.2534
|  | 580 | 87.2572
|  | 582 | 87.3003
|  | 584 | 87.3508
|  | 586 | 87.3489
|  | 588 | 87.3282
|  | 590 | 87.262
|  | 592 | 87.2528
|  | 594 | 87.3154
|  | 596 | 87.3743
|  | 598 | 87.4228
|  | 600 | 87.374
|  | 602 | 87.2769
|  | 604 | 87.2705
|  | 606 | 87.3181
|  | 608 | 87.3414
|  | 610 | 87.4053
|  | 612 | 87.4107
|  | 614 | 87.3571
|  | 616 | 87.3272
|  | 618 | 87.2895
|  | 620 | 87.3243
|  | 622 | 87.3841
|  | 624 | 87.4454
|  | 626 | 87.4398
|  | 628 | 87.3876
|  | 630 | 87.3222
|  | 632 | 87.318
|  | 634 | 87.3346
|  | 636 | 87.4027
|  | 638 | 87.4521
|  | 640 | 87.4873
|  | 642 | 87.4048
|  | 644 | 87.344
|  | 646 | 87.306
|  | 648 | 87.3303
|  | 650 | 87.3846
|  | 652 | 87.4309
|  | 654 | 87.4721
|  | 656 | 87.4601
|  | 658 | 87.402
|  | 660 | 87.3277
|  | 662 | 87.3224
|  | 664 | 87.3456
|  | 666 | 87.4075
|  | 668 | 87.4907
|  | 670 | 87.4926
|  | 672 | 87.479
|  | 674 | 87.4025
|  | 676 | 87.3495
|  | 678 | 87.2943
|  | 680 | 87.3458
|  | 682 | 87.4071
|  | 684 | 87.4852
|  | 686 | 87.4953
|  | 688 | 87.5073
|  | 690 | 87.4445
|  | 692 | 87.366
|  | 694 | 87.3219
|  | 696 | 87.3156
|  | 698 | 87.3703
|  | 700 | 87.4495
|  | 702 | 87.4825
|  | 704 | 87.5555
|  | 706 | 87.5492
|  | 708 | 87.461
|  | 710 | 87.362
|  | 712 | 87.3459
|  | 714 | 87.3334
|  | 716 | 87.3645
|  | 718 | 87.4393
|  | 720 | 87.5259
|  | 722 | 87.5513
|  | 724 | 87.535
|  | 726 | 87.5109
|  | 728 | 87.4376
|  | 730 | 87.3607
|  | 732 | 87.3213
|  | 734 | 87.3379
|  | 736 | 87.4308
|  | 738 | 87.5032
|  | 740 | 87.5233
|  | 742 | 87.5635
|  | 744 | 87.5518
|  | 746 | 87.5092
|  | 748 | 87.4244
|  | 750 | 87.3481
|  | 752 | 87.3471
|  | 754 | 87.3609
|  | 756 | 87.4214
|  | 758 | 87.5115
|  | 760 | 87.54
|  | 762 | 87.5823
|  | 764 | 87.6044
|  | 766 | 87.5382
|  | 768 | 87.4587
|  | 770 | 87.4083
|  | 772 | 87.3713
|  | 774 | 87.3171
|  | 776 | 87.3817
|  | 778 | 87.4524
|  | 780 | 87.5068
|  | 782 | 87.6112
|  | 784 | 87.5861
|  | 786 | 87.5806
|  | 788 | 87.5474
|  | 790 | 87.4628
|  | 792 | 87.4101
|  | 794 | 87.3348
|  | 796 | 87.3215
|  | 798 | 87.3813
|  | 800 | 87.4474
|  | 802 | 87.5199
|  | 804 | 87.6031
|  | 806 | 87.5885
|  | 808 | 87.6175
|  | 810 | 87.5829
|  | 812 | 87.5268
|  | 814 | 87.4768
|  | 816 | 87.3855
|  | 818 | 87.3415
|  | 820 | 87.3521
|  | 822 | 87.378
|  | 824 | 87.4424
|  | 826 | 87.5146
|  | 828 | 87.5731
|  | 830 | 87.6152
|  | 832 | 87.6207
|  | 834 | 87.642
|  | 836 | 87.5532
|  | 838 | 87.4684
|  | 840 | 87.412
|  | 842 | 87.4027
|  | 844 | 87.285
|  | 846 | 87.3189
|  | 848 | 87.3717
|  | 850 | 87.4503
|  | 852 | 87.5752
|  | 854 | 87.5911
|  | 856 | 87.6264
|  | 858 | 87.688
|  | 860 | 87.6835
|  | 862 | 87.7092
|  | 864 | 87.697
|  | 866 | 87.7076
|  | 868 | 87.6968
|  | 870 | 87.7082
|  | 872 | 87.7289
|  | 874 | 87.7255
|  | 876 | 87.7178
|  | 878 | 87.722
|  | 880 | 87.7253
|  | 882 | 87.7275
|  | 884 | 87.7255
|  | 886 | 87.718
|  | 888 | 87.7233
|  | 890 | 87.7161
|  | 892 | 87.7185
|  | 894 | 87.7224
|  | 896 | 87.7321
|  | 898 | 87.7338
|  | 900 | 87.7412
|  | 902 | 87.7386
|  | 904 | 87.7491
|  | 906 | 87.7525
|  | 908 | 87.7531
|  | 910 | 87.7526
|  | 912 | 87.7472
|  | 914 | 87.7536
|  | 916 | 87.7498
|  | 918 | 87.7369
|  | 920 | 87.7281
|  | 922 | 87.7217
|  | 924 | 87.7433
|  | 926 | 87.7507
|  | 928 | 87.7547
|  | 930 | 87.7522
|  | 932 | 87.7442
|  | 934 | 87.7768
|  | 936 | 87.7835
|  | 938 | 87.7775
|  | 940 | 87.778
|  | 942 | 87.7725
|  | 944 | 87.7669
|  | 946 | 87.7703
|  | 948 | 87.7655
|  | 950 | 87.7566
|  | 952 | 87.7526
|  | 954 | 87.755
|  | 956 | 87.7582
|  | 958 | 87.7652
|  | 960 | 87.7634
|  | 962 | 87.7659
|  | 964 | 87.7852
|  | 966 | 87.8007
|  | 968 | 87.8087
|  | 970 | 87.8237
|  | 972 | 87.8358
|  | 974 | 87.8345
|  | 976 | 87.835
|  | 978 | 87.8329
|  | 980 | 87.8263
|  | 982 | 87.8162
|  | 984 | 87.8111
|  | 986 | 87.7926
|  | 988 | 87.7596
|  | 990 | 87.7468
|  | 992 | 87.7505
|  | 994 | 87.7506
|  | 996 | 87.753
|  | 998 | 87.7619
|  | 1000 | 87.782
|  | 1002 | 87.8
|  | 1004 | 87.8238
|  | 1006 | 87.8458
|  | 1008 | 87.8688
|  | 1010 | 87.8818
|  | 1012 | 87.8856
|  | 1014 | 87.9047
|  | 1016 | 87.895
|  | 1018 | 87.8709
|  | 1020 | 87.8524
|  | 1022 | 87.8216
|  | 1024 | 87.7888
|  | 1026 | 87.7603
|  | 1028 | 87.7332
|  | 1030 | 87.7177
|  | 1032 | 87.715
|  | 1034 | 87.7279
|  | 1036 | 87.746
|  | 1038 | 87.7702
|  | 1040 | 87.8074
|  | 1042 | 87.8408
|  | 1044 | 87.8786
|  | 1046 | 87.9168
|  | 1048 | 87.944
|  | 1050 | 87.9583
|  | 1052 | 87.9613
|  | 1054 | 87.9554
|  | 1056 | 87.9419
|  | 1058 | 87.9166
|  | 1060 | 87.8831
|  | 1062 | 87.8504
|  | 1064 | 87.8121
|  | 1066 | 87.7758
|  | 1068 | 87.7492
|  | 1070 | 87.723
|  | 1072 | 87.7079
|  | 1074 | 87.7184
|  | 1076 | 87.7368
|  | 1078 | 87.7622
|  | 1080 | 87.8012
|  | 1082 | 87.8488
|  | 1084 | 87.8929
|  | 1086 | 87.9391
|  | 1088 | 87.9774
|  | 1090 | 87.9939
|  | 1092 | 88.0034
|  | 1094 | 88.0085
|  | 1096 | 87.9984
|  | 1098 | 87.9712
|  | 1100 | 87.9498
|  | 1102 | 87.9185
|  | 1104 | 87.8707
|  | 1106 | 87.8293
|  | 1108 | 87.8004
|  | 1110 | 87.7755
|  | 1112 | 87.7467
|  | 1114 | 87.7279
|  | 1116 | 87.7297
|  | 1118 | 87.7365
|  | 1120 | 87.7588
|  | 1122 | 87.7986
|  | 1124 | 87.8382
|  | 1126 | 87.8717
|  | 1128 | 87.924
|  | 1130 | 87.972
|  | 1132 | 88.0075
|  | 1134 | 88.043
|  | 1136 | 88.0607
|  | 1138 | 88.068
|  | 1140 | 88.0709
|  | 1142 | 88.0505
|  | 1144 | 88.0228
|  | 1146 | 87.9932
|  | 1148 | 87.9635
|  | 1150 | 87.9149
|  | 1152 | 87.8706
|  | 1154 | 87.827
|  | 1156 | 87.7952
|  | 1158 | 87.7734
|  | 1160 | 87.7559
|  | 1162 | 87.7452
|  | 1164 | 87.7446
|  | 1166 | 87.7574
|  | 1168 | 87.7773
|  | 1170 | 87.813
|  | 1172 | 87.8495
|  | 1174 | 87.8885
|  | 1176 | 87.9516
|  | 1178 | 88.0111
|  | 1180 | 88.0537
|  | 1182 | 88.0677
|  | 1184 | 88.0884
|  | 1186 | 88.1086
|  | 1188 | 88.1094
|  | 1190 | 88.1026
|  | 1192 | 88.0918
|  | 1194 | 88.0651
|  | 1196 | 88.0338
|  | 1198 | 87.9841
|  | 1200 | 87.9443
|  | 1202 | 87.903
|  | 1204 | 87.8397
|  | 1206 | 87.8044
|  | 1208 | 87.7807
|  | 1210 | 87.7676
|  | 1212 | 87.7549
|  | 1214 | 87.7472
|  | 1216 | 87.761
|  | 1218 | 87.7748
|  | 1220 | 87.8039
|  | 1222 | 87.8529
|  | 1224 | 87.8906
|  | 1226 | 87.9324
|  | 1228 | 87.982
|  | 1230 | 88.0316
|  | 1232 | 88.0713
|  | 1234 | 88.0895
|  | 1236 | 88.1159
|  | 1238 | 88.129
|  | 1240 | 88.1314
|  | 1242 | 88.1403
|  | 1244 | 88.135
|  | 1246 | 88.1296
|  | 1248 | 88.0994
|  | 1250 | 88.0617
|  | 1252 | 88.0181
|  | 1254 | 87.9687
|  | 1256 | 87.9281
|  | 1258 | 87.8889
|  | 1260 | 87.8604
|  | 1262 | 87.8256
|  | 1264 | 87.7915
|  | 1266 | 87.7794
|  | 1268 | 87.7739
|  | 1270 | 87.7777
|  | 1272 | 87.7876
|  | 1274 | 87.8103
|  | 1276 | 87.8397
|  | 1278 | 87.8631
|  | 1280 | 87.9066
|  | 1282 | 87.9426
|  | 1284 | 87.9904
|  | 1286 | 88.0174
|  | 1288 | 88.0675
|  | 1290 | 88.1141
|  | 1292 | 88.1488
|  | 1294 | 88.1775
|  | 1296 | 88.1972
|  | 1298 | 88.211
|  | 1300 | 88.2069
|  | 1302 | 88.1968
|  | 1304 | 88.1775
|  | 1306 | 88.1539
|  | 1308 | 88.1328
|  | 1310 | 88.0993
|  | 1312 | 88.0492
|  | 1314 | 88.008
|  | 1316 | 87.9691
|  | 1318 | 87.9293
|  | 1320 | 87.8943
|  | 1322 | 87.8579
|  | 1324 | 87.8406
|  | 1326 | 87.8282
|  | 1328 | 87.8095
|  | 1330 | 87.7913
|  | 1332 | 87.7894
|  | 1334 | 87.8018
|  | 1336 | 87.828
|  | 1338 | 87.8513
|  | 1340 | 87.8742
|  | 1342 | 87.9017
|  | 1344 | 87.9399
|  | 1346 | 87.9856
|  | 1348 | 88.0267
|  | 1350 | 88.0719
|  | 1352 | 88.1049
|  | 1354 | 88.1403
|  | 1356 | 88.1566
|  | 1358 | 88.1677
|  | 1360 | 88.18
|  | 1362 | 88.1929
|  | 1364 | 88.1984
|  | 1366 | 88.1887
|  | 1368 | 88.1509
|  | 1370 | 88.1031
|  | 1372 | 88.0437
|  | 1374 | 87.9733
|  | 1376 | 87.8846
|  | 1378 | 87.81
|  | 1380 | 87.7283
|  | 1382 | 87.6694
|  | 1384 | 87.6261
|  | 1386 | 87.5913
|  | 1388 | 87.5762
|  | 1390 | 87.5894
|  | 1392 | 87.5965
|  | 1394 | 87.6044
|  | 1396 | 87.6272
|  | 1398 | 87.6552
|  | 1400 | 87.6842
|  | 1402 | 87.713
|  | 1404 | 87.7432
|  | 1406 | 87.7898
|  | 1408 | 87.8209
|  | 1410 | 87.87
|  | 1412 | 87.9227
|  | 1414 | 87.9653
|  | 1416 | 88.0071
|  | 1418 | 88.0564
|  | 1420 | 88.0872
|  | 1422 | 88.1251
|  | 1424 | 88.1678
|  | 1426 | 88.1943
|  | 1428 | 88.2259
|  | 1430 | 88.2506
|  | 1432 | 88.2521
|  | 1434 | 88.2673
|  | 1436 | 88.2682
|  | 1438 | 88.2551
|  | 1440 | 88.2376
|  | 1442 | 88.225
|  | 1444 | 88.2135
|  | 1446 | 88.1856
|  | 1448 | 88.1577
|  | 1450 | 88.1141
|  | 1452 | 88.0917
|  | 1454 | 88.052
|  | 1456 | 88.0211
|  | 1458 | 87.9927
|  | 1460 | 87.961
|  | 1462 | 87.936
|  | 1464 | 87.9199
|  | 1466 | 87.8912
|  | 1468 | 87.8841
|  | 1470 | 87.8784
|  | 1472 | 87.8651
|  | 1474 | 87.8651
|  | 1476 | 87.8765
|  | 1478 | 87.8918
|  | 1480 | 87.9061
|  | 1482 | 87.9338
|  | 1484 | 87.957
|  | 1486 | 87.9806
|  | 1488 | 88.012
|  | 1490 | 88.067
|  | 1492 | 88.1009
|  | 1494 | 88.1336
|  | 1496 | 88.1758
|  | 1498 | 88.2163
|  | 1500 | 88.2381
|  | 1502 | 88.2666
|  | 1504 | 88.2994
|  | 1506 | 88.3158
|  | 1508 | 88.3342
|  | 1510 | 88.3414
|  | 1512 | 88.3516
|  | 1514 | 88.352
|  | 1516 | 88.3388
|  | 1518 | 88.3182
|  | 1520 | 88.3004
|  | 1522 | 88.2861
|  | 1524 | 88.2612
|  | 1526 | 88.2441
|  | 1528 | 88.215
|  | 1530 | 88.1836
|  | 1532 | 88.1447
|  | 1534 | 88.1114
|  | 1536 | 88.0942
|  | 1538 | 88.0728
|  | 1540 | 88.0335
|  | 1542 | 87.9999
|  | 1544 | 87.9828
|  | 1546 | 87.9535
|  | 1548 | 87.9409
|  | 1550 | 87.9369
|  | 1552 | 87.9205
|  | 1554 | 87.9131
|  | 1556 | 87.9133
|  | 1558 | 87.9228
|  | 1560 | 87.9381
|  | 1562 | 87.9583
|  | 1564 | 87.973
|  | 1566 | 87.9912
|  | 1568 | 88.008
|  | 1570 | 88.0492
|  | 1572 | 88.0643
|  | 1574 | 88.1074
|  | 1576 | 88.1443
|  | 1578 | 88.1707
|  | 1580 | 88.1855
|  | 1582 | 88.228
|  | 1584 | 88.2628
|  | 1586 | 88.2919
|  | 1588 | 88.3167
|  | 1590 | 88.3475
|  | 1592 | 88.3451
|  | 1594 | 88.36
|  | 1596 | 88.3875
|  | 1598 | 88.3861
|  | 1600 | 88.3865
|  | 1602 | 88.3812
|  | 1604 | 88.3795
|  | 1606 | 88.3787
|  | 1608 | 88.3638
|  | 1610 | 88.3505
|  | 1612 | 88.3272
|  | 1614 | 88.3043
|  | 1616 | 88.2847
|  | 1618 | 88.2563
|  | 1620 | 88.2312
|  | 1622 | 88.1979
|  | 1624 | 88.1782
|  | 1626 | 88.1458
|  | 1628 | 88.117
|  | 1630 | 88.0945
|  | 1632 | 88.07
|  | 1634 | 88.0505
|  | 1636 | 88.0275
|  | 1638 | 88.0133
|  | 1640 | 87.998
|  | 1642 | 87.9795
|  | 1644 | 87.983
|  | 1646 | 87.9837
|  | 1648 | 87.9742
|  | 1650 | 87.9827
|  | 1652 | 87.9843
|  | 1654 | 87.9866
|  | 1656 | 88.0113
|  | 1658 | 88.0361
|  | 1660 | 88.0581
|  | 1662 | 88.0865
|  | 1664 | 88.1087
|  | 1666 | 88.1145
|  | 1668 | 88.1299
|  | 1670 | 88.175
|  | 1672 | 88.218
|  | 1674 | 88.2267
|  | 1676 | 88.2685
|  | 1678 | 88.2875
|  | 1680 | 88.3322
|  | 1682 | 88.3463
|  | 1684 | 88.3735
|  | 1686 | 88.3834
|  | 1688 | 88.3934
|  | 1690 | 88.4132
|  | 1692 | 88.42
|  | 1694 | 88.4202
|  | 1696 | 88.4446
|  | 1698 | 88.4492
|  | 1700 | 88.4543
|  | 1702 | 88.4533
|  | 1704 | 88.4349
|  | 1706 | 88.4236
|  | 1708 | 88.4237
|  | 1710 | 88.4179
|  | 1712 | 88.3752
|  | 1714 | 88.3569
|  | 1716 | 88.3389
|  | 1718 | 88.3139
|  | 1720 | 88.307
|  | 1722 | 88.2603
|  | 1724 | 88.2491
|  | 1726 | 88.2346
|  | 1728 | 88.1921
|  | 1730 | 88.1845
|  | 1732 | 88.1621
|  | 1734 | 88.1401
|  | 1736 | 88.1012
|  | 1738 | 88.0906
|  | 1740 | 88.0866
|  | 1742 | 88.087
|  | 1744 | 88.0821
|  | 1746 | 88.0492
|  | 1748 | 88.049
|  | 1750 | 88.0512
|  | 1752 | 88.0618
|  | 1754 | 88.0576
|  | 1756 | 88.0609
|  | 1758 | 88.0693
|  | 1760 | 88.1052
|  | 1762 | 88.1071
|  | 1764 | 88.1088
|  | 1766 | 88.1389
|  | 1768 | 88.1591
|  | 1770 | 88.177
|  | 1772 | 88.2105
|  | 1774 | 88.23
|  | 1776 | 88.2623
|  | 1778 | 88.2947
|  | 1780 | 88.31
|  | 1782 | 88.3537
|  | 1784 | 88.3702
|  | 1786 | 88.3841
|  | 1788 | 88.4076
|  | 1790 | 88.4236
|  | 1792 | 88.4538
|  | 1794 | 88.4629
|  | 1796 | 88.478
|  | 1798 | 88.4915
|  | 1800 | 88.5016
|  | 1802 | 88.4012
|  | 1804 | 88.3992
|  | 1806 | 88.4019
|  | 1808 | 88.4411
|  | 1810 | 88.4299
|  | 1812 | 88.412
|  | 1814 | 88.4243
|  | 1816 | 88.4406
|  | 1818 | 88.4224
|  | 1820 | 88.4144
|  | 1822 | 88.375
|  | 1824 | 88.3702
|  | 1826 | 88.3586
|  | 1828 | 88.3079
|  | 1830 | 88.2864
|  | 1832 | 88.2861
|  | 1834 | 88.3006
|  | 1836 | 88.2692
|  | 1838 | 88.1981
|  | 1840 | 88.1509
|  | 1842 | 88.1465
|  | 1844 | 88.1273
|  | 1846 | 88.1115
|  | 1848 | 88.0513
|  | 1850 | 88.0102
|  | 1852 | 88.0224
|  | 1854 | 87.9955
|  | 1856 | 87.9452
|  | 1858 | 87.9123
|  | 1860 | 87.8707
|  | 1862 | 87.8575
|  | 1864 | 87.9161
|  | 1866 | 87.9602
|  | 1868 | 87.9318
|  | 1870 | 87.9201
|  | 1872 | 87.8747
|  | 1874 | 87.8478
|  | 1876 | 87.8465
|  | 1878 | 87.8747
|  | 1880 | 87.9042
|  | 1882 | 87.9336
|  | 1884 | 87.9413
|  | 1886 | 87.9616
|  | 1888 | 87.9688
|  | 1890 | 87.9739
|  | 1892 | 87.9981
|  | 1894 | 88.0299
|  | 1896 | 88.079
|  | 1898 | 88.0809
|  | 1900 | 88.1176
|  | 1902 | 88.1344
|  | 1904 | 88.1537
|  | 1906 | 88.1683
|  | 1908 | 88.2196
|  | 1910 | 88.2394
|  | 1912 | 88.2818
|  | 1914 | 88.2814
|  | 1916 | 88.3309
|  | 1918 | 88.3379
|  | 1920 | 88.3615
|  | 1922 | 88.3646
|  | 1924 | 88.382
|  | 1926 | 88.398
|  | 1928 | 88.3969
|  | 1930 | 88.4118
|  | 1932 | 88.4275
|  | 1934 | 88.4372
|  | 1936 | 88.4484
|  | 1938 | 88.4336
|  | 1940 | 88.4327
|  | 1942 | 88.4163
|  | 1944 | 88.4105
|  | 1946 | 88.404
|  | 1948 | 88.4019
|  | 1950 | 88.3774
|  | 1952 | 88.3584
|  | 1954 | 88.3524
|  | 1956 | 88.3463
|  | 1958 | 88.3164
|  | 1960 | 88.2892
|  | 1962 | 88.2769
|  | 1964 | 88.2432
|  | 1966 | 88.23
|  | 1968 | 88.206
|  | 1970 | 88.1823
|  | 1972 | 88.1586
|  | 1974 | 88.1312
|  | 1976 | 88.1065
|  | 1978 | 88.074
|  | 1980 | 88.0491
|  | 1982 | 88.0395
|  | 1984 | 88.0146
|  | 1986 | 87.9984
|  | 1988 | 87.9741
|  | 1990 | 87.9718
|  | 1992 | 87.9583
|  | 1994 | 87.9428
|  | 1996 | 87.9398
|  | 1998 | 87.9164
|  | 2000 | 87.9075
|  | 2002 | 87.9021
|  | 2004 | 87.907
|  | 2006 | 87.8916
|  | 2008 | 87.9021
|  | 2010 | 87.8864
|  | 2012 | 87.8912
|  | 2014 | 87.8871
|  | 2016 | 87.9
|  | 2018 | 87.9119
|  | 2020 | 87.9186
|  | 2022 | 87.942
|  | 2024 | 87.9694
|  | 2026 | 87.9925
|  | 2028 | 88.0034
|  | 2030 | 88.0054
|  | 2032 | 88.0325
|  | 2034 | 88.0515
|  | 2036 | 88.0692
|  | 2038 | 88.0914
|  | 2040 | 88.1049
|  | 2042 | 88.1417
|  | 2044 | 88.1457
|  | 2046 | 88.1823
|  | 2048 | 88.2199
|  | 2050 | 88.2552
|  | 2052 | 88.265
|  | 2054 | 88.2895
|  | 2056 | 88.3017
|  | 2058 | 88.3094
|  | 2060 | 88.341
|  | 2062 | 88.3594
|  | 2064 | 88.3713
|  | 2066 | 88.3964
|  | 2068 | 88.4122
|  | 2070 | 88.4242
|  | 2072 | 88.4386
|  | 2074 | 88.453
|  | 2076 | 88.4667
|  | 2078 | 88.4639
|  | 2080 | 88.4635
|  | 2082 | 88.4566
|  | 2084 | 88.4662
|  | 2086 | 88.4848
|  | 2088 | 88.4748
|  | 2090 | 88.4657
|  | 2092 | 88.4547
|  | 2094 | 88.4443
|  | 2096 | 88.4332
|  | 2098 | 88.43
|  | 2100 | 88.4386
|  | 2102 | 88.4226
|  | 2104 | 88.3909
|  | 2106 | 88.388
|  | 2108 | 88.3592
|  | 2110 | 88.3436
|  | 2112 | 88.3275
|  | 2114 | 88.3142
|  | 2116 | 88.2989
|  | 2118 | 88.2674
|  | 2120 | 88.2359
|  | 2122 | 88.2212
|  | 2124 | 88.1897
|  | 2126 | 88.1778
|  | 2128 | 88.1643
|  | 2130 | 88.1478
|  | 2132 | 88.1099
|  | 2134 | 88.0769
|  | 2136 | 88.0667
|  | 2138 | 88.065
|  | 2140 | 88.0404
|  | 2142 | 88.0264
|  | 2144 | 87.9975
|  | 2146 | 87.9921
|  | 2148 | 87.9609
|  | 2150 | 87.9554
|  | 2152 | 87.9261
|  | 2154 | 87.9009
|  | 2156 | 87.9081
|  | 2158 | 87.8882
|  | 2160 | 87.8797
|  | 2162 | 87.8953
|  | 2164 | 87.8819
|  | 2166 | 87.8544
|  | 2168 | 87.8428
|  | 2170 | 87.8446
|  | 2172 | 87.8447
|  | 2174 | 87.8322
|  | 2176 | 87.8241
|  | 2178 | 87.8211
|  | 2180 | 87.8096
|  | 2182 | 87.8008
|  | 2184 | 87.7809
|  | 2186 | 87.7732
|  | 2188 | 87.748
|  | 2190 | 87.6981
|  | 2192 | 87.65
|  | 2194 | 87.6038
|  | 2196 | 87.5231
|  | 2198 | 87.4459
|  | 2200 | 87.3526
|  | 2202 | 87.2767
|  | 2204 | 87.2104
|  | 2206 | 87.161
|  | 2208 | 87.1197
|  | 2210 | 87.1121
|  | 2212 | 87.1174
|  | 2214 | 87.1376
|  | 2216 | 87.1698
|  | 2218 | 87.211
|  | 2220 | 87.251
|  | 2222 | 87.3068
|  | 2224 | 87.3649
|  | 2226 | 87.4182
|  | 2228 | 87.4515
|  | 2230 | 87.4716
|  | 2232 | 87.5091
|  | 2234 | 87.5539
|  | 2236 | 87.5849
|  | 2238 | 87.5926
|  | 2240 | 87.6032
|  | 2242 | 87.6166
|  | 2244 | 87.6221
|  | 2246 | 87.6473
|  | 2248 | 87.6628
|  | 2250 | 87.6805
|  | 2252 | 87.7014
|  | 2254 | 87.7261
|  | 2256 | 87.7552
|  | 2258 | 87.775
|  | 2260 | 87.7886
|  | 2262 | 87.8067
|  | 2264 | 87.8415
|  | 2266 | 87.8577
|  | 2268 | 87.8755
|  | 2270 | 87.9044
|  | 2272 | 87.9192
|  | 2274 | 87.913
|  | 2276 | 87.9169
|  | 2278 | 87.9373
|  | 2280 | 87.9577
|  | 2282 | 87.9678
|  | 2284 | 87.9771
|  | 2286 | 87.9968
|  | 2288 | 88.0008
|  | 2290 | 88.0012
|  | 2292 | 87.9976
|  | 2294 | 87.993
|  | 2296 | 87.9881
|  | 2298 | 87.9966
|  | 2300 | 87.9829
|  | 2302 | 87.9832
|  | 2304 | 87.9846
|  | 2306 | 87.9735
|  | 2308 | 87.9667
|  | 2310 | 87.9691
|  | 2312 | 87.9746
|  | 2314 | 87.9693
|  | 2316 | 87.9612
|  | 2318 | 87.9545
|  | 2320 | 87.9394
|  | 2322 | 87.9284
|  | 2324 | 87.9333
|  | 2326 | 87.9379
|  | 2328 | 87.9308
|  | 2330 | 87.9242
|  | 2332 | 87.9183
|  | 2334 | 87.9151
|  | 2336 | 87.9079
|  | 2338 | 87.9175
|  | 2340 | 87.9289
|  | 2342 | 87.9183
|  | 2344 | 87.8991
|  | 2346 | 87.9209
|  | 2348 | 87.9239
|  | 2350 | 87.9395
|  | 2352 | 87.9407
|  | 2354 | 87.9379
|  | 2356 | 87.9455
|  | 2358 | 87.952
|  | 2360 | 87.9452
|  | 2362 | 87.9583
|  | 2364 | 87.9824
|  | 2366 | 87.9866
|  | 2368 | 87.9834
|  | 2370 | 87.9947
|  | 2372 | 87.9987
|  | 2374 | 88.015
|  | 2376 | 88.027
|  | 2378 | 88.0419
|  | 2380 | 88.0702
|  | 2382 | 88.0879
|  | 2384 | 88.0979
|  | 2386 | 88.1073
|  | 2388 | 88.1374
|  | 2390 | 88.1427
|  | 2392 | 88.1486
|  | 2394 | 88.1583
|  | 2396 | 88.1613
|  | 2398 | 88.1801
|  | 2400 | 88.2051
|  | 2402 | 88.2258
|  | 2404 | 88.2312
|  | 2406 | 88.2324
|  | 2408 | 88.2472
|  | 2410 | 88.2605
|  | 2412 | 88.2657
|  | 2414 | 88.2669
|  | 2416 | 88.2839
|  | 2418 | 88.2838
|  | 2420 | 88.2861
|  | 2422 | 88.2996
|  | 2424 | 88.2968
|  | 2426 | 88.2975
|  | 2428 | 88.3093
|  | 2430 | 88.3133
|  | 2432 | 88.315
|  | 2434 | 88.3163
|  | 2436 | 88.3192
|  | 2438 | 88.3185
|  | 2440 | 88.3129
|  | 2442 | 88.3157
|  | 2444 | 88.2966
|  | 2446 | 88.2784
|  | 2448 | 88.2858
|  | 2450 | 88.2836
|  | 2452 | 88.2869
|  | 2454 | 88.2851
|  | 2456 | 88.2653
|  | 2458 | 88.2583
|  | 2460 | 88.2519
|  | 2462 | 88.2294
|  | 2464 | 88.2192
|  | 2466 | 88.2026
|  | 2468 | 88.1814
|  | 2470 | 88.1703
|  | 2472 | 88.1478
|  | 2474 | 88.1269
|  | 2476 | 88.109
|  | 2478 | 88.0978
|  | 2480 | 88.075
|  | 2482 | 88.0448
|  | 2484 | 88.0215
|  | 2486 | 88.0041
|  | 2488 | 87.9916
|  | 2490 | 87.9684
|  | 2492 | 87.9373
|  | 2494 | 87.9097
|  | 2496 | 87.8694
|  | 2498 | 87.8256
|  | 2500 | 87.7997
|  | 2502 | 87.7843
|  | 2504 | 87.7552
|  | 2506 | 87.7183
|  | 2508 | 87.6928
|  | 2510 | 87.6625
|  | 2512 | 87.6257
|  | 2514 | 87.6001
|  | 2516 | 87.5658
|  | 2518 | 87.5343
|  | 2520 | 87.5064
|  | 2522 | 87.4732
|  | 2524 | 87.4431
|  | 2526 | 87.4185
|  | 2528 | 87.3807
|  | 2530 | 87.3367
|  | 2532 | 87.3157
|  | 2534 | 87.2928
|  | 2536 | 87.263
|  | 2538 | 87.2243
|  | 2540 | 87.1848
|  | 2542 | 87.1548
|  | 2544 | 87.1193
|  | 2546 | 87.0895
|  | 2548 | 87.0491
|  | 2550 | 87.0053
|  | 2552 | 86.9729
|  | 2554 | 86.94
|  | 2556 | 86.905
|  | 2558 | 86.8674
|  | 2560 | 86.8356
|  | 2562 | 86.7975
|  | 2564 | 86.7561
|  | 2566 | 86.73
|  | 2568 | 86.7125
|  | 2570 | 86.6898
|  | 2572 | 86.6676
|  | 2574 | 86.6365
|  | 2576 | 86.6145
|  | 2578 | 86.5942
|  | 2580 | 86.5682
|  | 2582 | 86.5511
|  | 2584 | 86.5248
|  | 2586 | 86.5118
|  | 2588 | 86.5103
|  | 2590 | 86.4856
|  | 2592 | 86.4625
|  | 2594 | 86.4632
|  | 2596 | 86.4626
|  | 2598 | 86.4351
|  | 2600 | 86.4202
|  | 2602 | 86.422
|  | 2604 | 86.4124
|  | 2606 | 86.4078
|  | 2608 | 86.4052
|  | 2610 | 86.3936
|  | 2612 | 86.3853
|  | 2614 | 86.3864
|  | 2616 | 86.3723
|  | 2618 | 86.3474
|  | 2620 | 86.3465
|  | 2622 | 86.3438
|  | 2624 | 86.3174
|  | 2626 | 86.3078
|  | 2628 | 86.2892
|  | 2630 | 86.2677
|  | 2632 | 86.2459
|  | 2634 | 86.2303
|  | 2636 | 86.2159
|  | 2638 | 86.1925
|  | 2640 | 86.1557
|  | 2642 | 86.117
|  | 2644 | 86.0729
|  | 2646 | 85.9996
|  | 2648 | 85.9261
|  | 2650 | 85.8379
|  | 2652 | 85.7485
|  | 2654 | 85.6641
|  | 2656 | 85.5752
|  | 2658 | 85.4616
|  | 2660 | 85.3354
|  | 2662 | 85.182
|  | 2664 | 84.9912
|  | 2666 | 84.7415
|  | 2668 | 84.374
|  | 2670 | 83.9349
|  | 2672 | 83.3872
|  | 2674 | 82.6449
|  | 2676 | 81.7165
|  | 2678 | 80.5755
|  | 2680 | 79.3592
|  | 2682 | 78.0824
|  | 2684 | 76.647
|  | 2686 | 75.0731
|  | 2688 | 73.3671
|  | 2690 | 71.5428
|  | 2692 | 69.5384
|  | 2694 | 67.2704
|  | 2696 | 64.7748
|  | 2698 | 62.1469
|  | 2700 | 59.4683
|  | 2702 | 56.7553
|  | 2704 | 54.1991
|  | 2706 | 51.95
|  | 2708 | 50.1487
|  | 2710 | 48.6678
|  | 2712 | 47.3191
|  | 2714 | 46.1878
|  | 2716 | 45.2738
|  | 2718 | 44.6789
|  | 2720 | 44.325
|  | 2722 | 44.2297
|  | 2724 | 44.2129
|  | 2726 | 44.2916
|  | 2728 | 44.445
|  | 2730 | 44.6924
|  | 2732 | 45.0193
|  | 2734 | 45.4439
|  | 2736 | 45.9867
|  | 2738 | 46.6456
|  | 2740 | 47.3459
|  | 2742 | 47.9997
|  | 2744 | 48.6158
|  | 2746 | 49.1932
|  | 2748 | 49.7854
|  | 2750 | 50.367
|  | 2752 | 50.9593
|  | 2754 | 51.5986
|  | 2756 | 52.3033
|  | 2758 | 53.0264
|  | 2760 | 53.8331
|  | 2762 | 54.6627
|  | 2764 | 55.4239
|  | 2766 | 56.1885
|  | 2768 | 56.9121
|  | 2770 | 57.6641
|  | 2772 | 58.352
|  | 2774 | 59.0243
|  | 2776 | 59.6533
|  | 2778 | 60.3203
|  | 2780 | 61.0454
|  | 2782 | 61.7942
|  | 2784 | 62.5773
|  | 2786 | 63.3685
|  | 2788 | 64.1135
|  | 2790 | 64.7967
|  | 2792 | 65.4004
|  | 2794 | 66.0013
|  | 2796 | 66.6232
|  | 2798 | 67.2884
|  | 2800 | 67.9901
|  | 2802 | 68.6991
|  | 2804 | 69.4547
|  | 2806 | 70.2059
|  | 2808 | 70.8962
|  | 2810 | 71.535
|  | 2812 | 72.155
|  | 2814 | 72.767
|  | 2816 | 73.3542
|  | 2818 | 73.9594
|  | 2820 | 74.5395
|  | 2822 | 75.1073
|  | 2824 | 75.6351
|  | 2826 | 76.1235
|  | 2828 | 76.5926
|  | 2830 | 77.0571
|  | 2832 | 77.5071
|  | 2834 | 77.9667
|  | 2836 | 78.4041
|  | 2838 | 78.817
|  | 2840 | 79.2417
|  | 2842 | 79.6029
|  | 2844 | 79.9303
|  | 2846 | 80.2478
|  | 2848 | 80.5629
|  | 2850 | 80.8579
|  | 2852 | 81.1464
|  | 2854 | 81.4284
|  | 2856 | 81.6836
|  | 2858 | 81.9256
|  | 2860 | 82.1422
|  | 2862 | 82.3667
|  | 2864 | 82.5517
|  | 2866 | 82.7311
|  | 2868 | 82.898
|  | 2870 | 83.0522
|  | 2872 | 83.207
|  | 2874 | 83.348
|  | 2876 | 83.4902
|  | 2878 | 83.6218
|  | 2880 | 83.7337
|  | 2882 | 83.8422
|  | 2884 | 83.9347
|  | 2886 | 84.0465
|  | 2888 | 84.1579
|  | 2890 | 84.2386
|  | 2892 | 84.2969
|  | 2894 | 84.3757
|  | 2896 | 84.4488
|  | 2898 | 84.5399
|  | 2900 | 84.6002
|  | 2902 | 84.654
|  | 2904 | 84.7196
|  | 2906 | 84.7807
|  | 2908 | 84.8141
|  | 2910 | 84.8612
|  | 2912 | 84.9218
|  | 2914 | 84.9633
|  | 2916 | 85.0154
|  | 2918 | 85.066
|  | 2920 | 85.0971
|  | 2922 | 85.1215
|  | 2924 | 85.1526
|  | 2926 | 85.1948
|  | 2928 | 85.2315
|  | 2930 | 85.2474
|  | 2932 | 85.2767
|  | 2934 | 85.3124
|  | 2936 | 85.3104
|  | 2938 | 85.3217
|  | 2940 | 85.3487
|  | 2942 | 85.3755
|  | 2944 | 85.3792
|  | 2946 | 85.3904
|  | 2948 | 85.4058
|  | 2950 | 85.389
|  | 2952 | 85.4294
|  | 2954 | 85.4447
|  | 2956 | 85.4617
|  | 2958 | 85.4608
|  | 2960 | 85.4661
|  | 2962 | 85.4639
|  | 2964 | 85.4599
|  | 2966 | 85.4615
|  | 2968 | 85.4576
|  | 2970 | 85.4906
|  | 2972 | 85.4699
|  | 2974 | 85.4654
|  | 2976 | 85.4673
|  | 2978 | 85.4899
|  | 2980 | 85.4698
|  | 2982 | 85.4651
|  | 2984 | 85.4568
|  | 2986 | 85.4707
|  | 2988 | 85.481
|  | 2990 | 85.4703
|  | 2992 | 85.4393
|  | 2994 | 85.4797
|  | 2996 | 85.4527
|  | 2998 | 85.4384
|  | 3000 | 85.4334
|  | 3002 | 85.4041
|  | 3004 | 85.4346
|  | 3006 | 85.4207
|  | 3008 | 85.4106
|  | 3010 | 85.3947
|  | 3012 | 85.3909
|  | 3014 | 85.4149
|  | 3016 | 85.4243
|  | 3018 | 85.4285
|  | 3020 | 85.4152
|  | 3022 | 85.4063
|  | 3024 | 85.3972
|  | 3026 | 85.4089
|  | 3028 | 85.4185
|  | 3030 | 85.402
|  | 3032 | 85.4461
|  | 3034 | 85.4135
|  | 3036 | 85.4144
|  | 3038 | 85.3627
|  | 3040 | 85.3834
|  | 3042 | 85.3355
|  | 3044 | 85.3601
|  | 3046 | 85.3854
|  | 3048 | 85.3772
|  | 3050 | 85.3568
|  | 3052 | 85.3811
|  | 3054 | 85.3524
|  | 3056 | 85.3367
|  | 3058 | 85.3767
|  | 3060 | 85.3679
|  | 3062 | 85.3919
|  | 3064 | 85.3145
|  | 3066 | 85.3499
|  | 3068 | 85.3399
|  | 3070 | 85.3391
|  | 3072 | 85.3526
|  | 3074 | 85.3404
|  | 3076 | 85.307
|  | 3078 | 85.3282
|  | 3080 | 85.3112
|  | 3082 | 85.3341
|  | 3084 | 85.3173
|  | 3086 | 85.2833
|  | 3088 | 85.2731
|  | 3090 | 85.2932
|  | 3092 | 85.3128
|  | 3094 | 85.2825
|  | 3096 | 85.2765
|  | 3098 | 85.3161
|  | 3100 | 85.2533
|  | 3102 | 85.2352
|  | 3104 | 85.1934
|  | 3106 | 85.2386
|  | 3108 | 85.19
|  | 3110 | 85.1856
|  | 3112 | 85.255
|  | 3114 | 85.2252
|  | 3116 | 85.2036
|  | 3118 | 85.2254
|  | 3120 | 85.1876
|  | 3122 | 85.2545
|  | 3124 | 85.1973
|  | 3126 | 85.1908
|  | 3128 | 85.2382
|  | 3130 | 85.2579
|  | 3132 | 85.2435
|  | 3134 | 85.1746
|  | 3136 | 85.178
|  | 3138 | 85.2832
|  | 3140 | 85.1849
|  | 3142 | 85.2851
|  | 3144 | 85.214
|  | 3146 | 85.1237
|  | 3148 | 85.2894
|  | 3150 | 85.1258
|  | 3152 | 85.18
|  | 3154 | 85.2373
|  | 3156 | 85.2999
|  | 3158 | 85.2587
|  | 3160 | 85.2612
|  | 3162 | 85.3001
|  | 3164 | 85.3225
|  | 3166 | 85.3678
|  | 3168 | 85.2877
|  | 3170 | 85.2314
|  | 3172 | 85.3899
|  | 3174 | 85.3003
|  | 3176 | 85.4122
|  | 3178 | 85.4404
|  | 3180 | 85.3976
|  | 3182 | 85.4328
|  | 3184 | 85.3933
|  | 3186 | 85.387
|  | 3188 | 85.5175
|  | 3190 | 85.4123
|  | 3192 | 85.494
|  | 3194 | 85.418
|  | 3196 | 85.4553
|  | 3198 | 85.4789
|  | 3200 | 85.4985
|  | 3202 | 85.4467
|  | 3204 | 85.5383
|  | 3206 | 85.509
|  | 3208 | 85.6612
|  | 3210 | 85.4573
|  | 3212 | 85.5521
|  | 3214 | 85.7234
|  | 3216 | 85.6305
|  | 3218 | 85.6352
|  | 3220 | 85.6827
|  | 3222 | 85.6649
|  | 3224 | 85.649
|  | 3226 | 85.6952
|  | 3228 | 85.8277
|  | 3230 | 85.6401
|  | 3232 | 85.8635
|  | 3234 | 85.6832
|  | 3236 | 85.9913
|  | 3238 | 85.5718
|  | 3240 | 85.6829
|  | 3242 | 85.7267
|  | 3244 | 85.8849
|  | 3246 | 85.83
|  | 3248 | 86.0012
|  | 3250 | 85.9283
|  | 3252 | 85.8794
|  | 3254 | 85.9345
|  | 3256 | 85.94
|  | 3258 | 85.9595
|  | 3260 | 86.0286
|  | 3262 | 86.1075
|  | 3264 | 85.7955
|  | 3266 | 86.0705
|  | 3268 | 85.8666
|  | 3270 | 85.8179
|  | 3272 | 86.0515
|  | 3274 | 86.1269
|  | 3276 | 86.0776
|  | 3278 | 86.0037
|  | 3280 | 85.9916
|  | 3282 | 85.9973
|  | 3284 | 86.2679
|  | 3286 | 86.1666
|  | 3288 | 86.1721
|  | 3290 | 86.3445
|  | 3292 | 86.0917
|  | 3294 | 86.1695
|  | 3296 | 86.0976
|  | 3298 | 86.1777
|  | 3300 | 86.1325

## Borosilicate Glass Transmission
Borosilicate Glass Cuvettes Transmission (1 mm or 2 mm Path Length)
|  | Wavelength (nm) | % Transmission
|  | 184 | 10.4298
|  | 186 | 4.95
|  | 188 | 0.26355
|  | 190 | -0.054574
Product Raw Data |  | 192 | -0.044343
Borosilicate Glass Cuvettes Transmission (1 mm or 2 mm Path Length) |  | 194 | -0.063897
|  | 196 | -0.067435
Item # | CV1G035AE, CV2G07AE | 198 | -0.029996
|  | 200 | -0.025549
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 202 | -0.023653
|  | 204 | -0.016594
|  | 206 | -0.013326
|  | 208 | -0.009552
|  | 210 | -0.007031
|  | 212 | -0.007026
|  | 214 | -0.009956
Additional Information: |  | 216 | -0.009735
Transmission was measured at normal incidence through an empty cuvette. |  | 218 | -0.008993
|  | 220 | -0.006895
|  | 222 | -0.00146
|  | 224 | 0.000833
|  | 226 | 0.003742
|  | 228 | 0.006638
|  | 230 | 0.01522
|  | 232 | 0.028841
|  | 234 | 0.044826
|  | 236 | 0.066254
|  | 238 | 0.098715
|  | 240 | 0.13791
|  | 242 | 0.18598
|  | 244 | 0.24851
|  | 246 | 0.32881
|  | 248 | 0.43574
|  | 250 | 0.5775
|  | 252 | 0.76411
|  | 254 | 1.0077
|  | 256 | 1.3271
|  | 258 | 1.7558
|  | 260 | 2.3226
|  | 262 | 3.0726
|  | 264 | 4.0452
|  | 266 | 5.2881
|  | 268 | 6.8506
|  | 270 | 8.7744
|  | 272 | 11.0876
|  | 274 | 13.8146
|  | 276 | 16.9223
|  | 278 | 20.3796
|  | 280 | 24.1535
|  | 282 | 28.1682
|  | 284 | 32.3047
|  | 286 | 36.4992
|  | 288 | 40.6443
|  | 290 | 44.6672
|  | 292 | 48.5239
|  | 294 | 52.1872
|  | 296 | 55.605
|  | 298 | 58.7633
|  | 300 | 61.69
|  | 302 | 64.3828
|  | 304 | 66.8341
|  | 306 | 69.0444
|  | 308 | 71.0418
|  | 310 | 72.8229
|  | 312 | 74.4246
|  | 314 | 75.8842
|  | 316 | 77.1358
|  | 318 | 78.2103
|  | 320 | 79.127
|  | 322 | 79.9947
|  | 324 | 80.7475
|  | 326 | 81.3491
|  | 328 | 81.8635
|  | 330 | 82.3133
|  | 332 | 82.7554
|  | 334 | 83.0973
|  | 336 | 83.3687
|  | 338 | 83.6117
|  | 340 | 83.84
|  | 342 | 84.0244
|  | 344 | 84.1639
|  | 346 | 84.2962
|  | 348 | 84.4073
|  | 350 | 84.5189
|  | 352 | 84.6105
|  | 354 | 84.6808
|  | 356 | 84.733
|  | 358 | 84.8138
|  | 360 | 84.9075
|  | 362 | 84.967
|  | 364 | 84.9656
|  | 366 | 84.9655
|  | 368 | 85.0043
|  | 370 | 85.0505
|  | 372 | 85.0447
|  | 374 | 85.0053
|  | 376 | 84.9877
|  | 378 | 84.991
|  | 380 | 85.0416
|  | 382 | 85.1042
|  | 384 | 85.1593
|  | 386 | 85.188
|  | 388 | 85.1888
|  | 390 | 85.2146
|  | 392 | 85.258
|  | 394 | 85.2977
|  | 396 | 85.3199
|  | 398 | 85.3139
|  | 400 | 85.302
|  | 402 | 85.2713
|  | 404 | 85.2946
|  | 406 | 85.3539
|  | 408 | 85.3789
|  | 410 | 85.3639
|  | 412 | 85.3256
|  | 414 | 85.294
|  | 416 | 85.311
|  | 418 | 85.3584
|  | 420 | 85.3946
|  | 422 | 85.4206
|  | 424 | 85.4119
|  | 426 | 85.3777
|  | 428 | 85.3509
|  | 430 | 85.3781
|  | 432 | 85.4055
|  | 434 | 85.4268
|  | 436 | 85.4392
|  | 438 | 85.4311
|  | 440 | 85.4507
|  | 442 | 85.4501
|  | 444 | 85.4368
|  | 446 | 85.4433
|  | 448 | 85.4686
|  | 450 | 85.5287
|  | 452 | 85.5784
|  | 454 | 85.5517
|  | 456 | 85.5206
|  | 458 | 85.5237
|  | 460 | 85.5434
|  | 462 | 85.5659
|  | 464 | 85.5903
|  | 466 | 85.608
|  | 468 | 85.628
|  | 470 | 85.6459
|  | 472 | 85.6356
|  | 474 | 85.6283
|  | 476 | 85.6282
|  | 478 | 85.6184
|  | 480 | 85.6232
|  | 482 | 85.655
|  | 484 | 85.6984
|  | 486 | 85.7268
|  | 488 | 85.7308
|  | 490 | 85.7428
|  | 492 | 85.7502
|  | 494 | 85.7492
|  | 496 | 85.7408
|  | 498 | 85.748
|  | 500 | 85.7589
|  | 502 | 85.7571
|  | 504 | 85.7874
|  | 506 | 85.8245
|  | 508 | 85.8425
|  | 510 | 85.8481
|  | 512 | 85.8587
|  | 514 | 85.8702
|  | 516 | 85.8548
|  | 518 | 85.8432
|  | 520 | 85.8522
|  | 522 | 85.8777
|  | 524 | 85.8761
|  | 526 | 85.9125
|  | 528 | 85.9559
|  | 530 | 85.957
|  | 532 | 85.9452
|  | 534 | 85.9543
|  | 536 | 85.9468
|  | 538 | 85.9335
|  | 540 | 85.9328
|  | 542 | 85.9292
|  | 544 | 85.9248
|  | 546 | 85.9555
|  | 548 | 85.9564
|  | 550 | 85.9653
|  | 552 | 85.9966
|  | 554 | 86.0356
|  | 556 | 86.0246
|  | 558 | 86.0319
|  | 560 | 86.0467
|  | 562 | 86.0198
|  | 564 | 85.9902
|  | 566 | 86.0033
|  | 568 | 85.9955
|  | 570 | 85.9956
|  | 572 | 86.0139
|  | 574 | 86.0405
|  | 576 | 86.0514
|  | 578 | 86.075
|  | 580 | 86.1029
|  | 582 | 86.092
|  | 584 | 86.0858
|  | 586 | 86.0721
|  | 588 | 86.0873
|  | 590 | 86.076
|  | 592 | 86.0568
|  | 594 | 86.0394
|  | 596 | 86.0422
|  | 598 | 86.0551
|  | 600 | 86.0556
|  | 602 | 86.0433
|  | 604 | 86.0809
|  | 606 | 86.111
|  | 608 | 86.1041
|  | 610 | 86.1497
|  | 612 | 86.1454
|  | 614 | 86.1448
|  | 616 | 86.1343
|  | 618 | 86.1285
|  | 620 | 86.1295
|  | 622 | 86.1053
|  | 624 | 86.0996
|  | 626 | 86.0829
|  | 628 | 86.0774
|  | 630 | 86.0908
|  | 632 | 86.1094
|  | 634 | 86.1233
|  | 636 | 86.151
|  | 638 | 86.1547
|  | 640 | 86.1745
|  | 642 | 86.1883
|  | 644 | 86.206
|  | 646 | 86.2277
|  | 648 | 86.2262
|  | 650 | 86.177
|  | 652 | 86.1936
|  | 654 | 86.1717
|  | 656 | 86.1475
|  | 658 | 86.1386
|  | 660 | 86.1233
|  | 662 | 86.1342
|  | 664 | 86.1127
|  | 666 | 86.1361
|  | 668 | 86.1798
|  | 670 | 86.1749
|  | 672 | 86.2058
|  | 674 | 86.2055
|  | 676 | 86.2374
|  | 678 | 86.2198
|  | 680 | 86.27
|  | 682 | 86.2706
|  | 684 | 86.2838
|  | 686 | 86.2512
|  | 688 | 86.2643
|  | 690 | 86.2488
|  | 692 | 86.2182
|  | 694 | 86.1695
|  | 696 | 86.1704
|  | 698 | 86.1697
|  | 700 | 86.159
|  | 702 | 86.1717
|  | 704 | 86.2047
|  | 706 | 86.1836
|  | 708 | 86.2003
|  | 710 | 86.2168
|  | 712 | 86.259
|  | 714 | 86.2939
|  | 716 | 86.2747
|  | 718 | 86.2831
|  | 720 | 86.3355
|  | 722 | 86.3276
|  | 724 | 86.3311
|  | 726 | 86.3157
|  | 728 | 86.3299
|  | 730 | 86.3034
|  | 732 | 86.272
|  | 734 | 86.2452
|  | 736 | 86.2411
|  | 738 | 86.2071
|  | 740 | 86.1488
|  | 742 | 86.1937
|  | 744 | 86.2214
|  | 746 | 86.2093
|  | 748 | 86.2286
|  | 750 | 86.232
|  | 752 | 86.261
|  | 754 | 86.276
|  | 756 | 86.2779
|  | 758 | 86.332
|  | 760 | 86.323
|  | 762 | 86.3561
|  | 764 | 86.3735
|  | 766 | 86.3569
|  | 768 | 86.3485
|  | 770 | 86.3768
|  | 772 | 86.3603
|  | 774 | 86.3158
|  | 776 | 86.3354
|  | 778 | 86.3026
|  | 780 | 86.2588
|  | 782 | 86.2594
|  | 784 | 86.2284
|  | 786 | 86.2101
|  | 788 | 86.1955
|  | 790 | 86.2038
|  | 792 | 86.1962
|  | 794 | 86.187
|  | 796 | 86.1965
|  | 798 | 86.1983
|  | 800 | 86.2466
|  | 802 | 86.212
|  | 804 | 86.2716
|  | 806 | 86.2615
|  | 808 | 86.3045
|  | 810 | 86.3496
|  | 812 | 86.3406
|  | 814 | 86.3581
|  | 816 | 86.3553
|  | 818 | 86.3733
|  | 820 | 86.3909
|  | 822 | 86.3599
|  | 824 | 86.3435
|  | 826 | 86.3224
|  | 828 | 86.2938
|  | 830 | 86.2891
|  | 832 | 86.2721
|  | 834 | 86.2448
|  | 836 | 86.2317
|  | 838 | 86.2466
|  | 840 | 86.198
|  | 842 | 86.1897
|  | 844 | 86.1416
|  | 846 | 86.1284
|  | 848 | 86.1763
|  | 850 | 86.1996
|  | 852 | 86.1975
|  | 854 | 86.234
|  | 856 | 86.2073
|  | 858 | 86.2807
|  | 860 | 86.2685
|  | 862 | 86.3942
|  | 864 | 86.4036
|  | 866 | 86.4206
|  | 868 | 86.4345
|  | 870 | 86.4542
|  | 872 | 86.4659
|  | 874 | 86.4605
|  | 876 | 86.4526
|  | 878 | 86.45
|  | 880 | 86.4283
|  | 882 | 86.4217
|  | 884 | 86.4309
|  | 886 | 86.4101
|  | 888 | 86.388
|  | 890 | 86.3826
|  | 892 | 86.3818
|  | 894 | 86.3568
|  | 896 | 86.3321
|  | 898 | 86.3199
|  | 900 | 86.3087
|  | 902 | 86.2941
|  | 904 | 86.2993
|  | 906 | 86.2905
|  | 908 | 86.2841
|  | 910 | 86.2914
|  | 912 | 86.2949
|  | 914 | 86.2929
|  | 916 | 86.3114
|  | 918 | 86.3172
|  | 920 | 86.3183
|  | 922 | 86.333
|  | 924 | 86.3626
|  | 926 | 86.3797
|  | 928 | 86.39
|  | 930 | 86.407
|  | 932 | 86.4128
|  | 934 | 86.4316
|  | 936 | 86.4428
|  | 938 | 86.446
|  | 940 | 86.4483
|  | 942 | 86.4501
|  | 944 | 86.4551
|  | 946 | 86.4619
|  | 948 | 86.4464
|  | 950 | 86.4244
|  | 952 | 86.414
|  | 954 | 86.4055
|  | 956 | 86.3971
|  | 958 | 86.3876
|  | 960 | 86.3647
|  | 962 | 86.3405
|  | 964 | 86.3307
|  | 966 | 86.3246
|  | 968 | 86.3062
|  | 970 | 86.2892
|  | 972 | 86.2804
|  | 974 | 86.2686
|  | 976 | 86.2609
|  | 978 | 86.2572
|  | 980 | 86.2594
|  | 982 | 86.264
|  | 984 | 86.2676
|  | 986 | 86.2685
|  | 988 | 86.2647
|  | 990 | 86.2683
|  | 992 | 86.2851
|  | 994 | 86.3077
|  | 996 | 86.3261
|  | 998 | 86.3464
|  | 1000 | 86.3578
|  | 1002 | 86.3758
|  | 1004 | 86.3947
|  | 1006 | 86.4104
|  | 1008 | 86.4224
|  | 1010 | 86.4299
|  | 1012 | 86.4406
|  | 1014 | 86.4557
|  | 1016 | 86.474
|  | 1018 | 86.4798
|  | 1020 | 86.4865
|  | 1022 | 86.4865
|  | 1024 | 86.4847
|  | 1026 | 86.4863
|  | 1028 | 86.4706
|  | 1030 | 86.463
|  | 1032 | 86.4633
|  | 1034 | 86.4482
|  | 1036 | 86.4286
|  | 1038 | 86.4174
|  | 1040 | 86.4063
|  | 1042 | 86.3881
|  | 1044 | 86.3786
|  | 1046 | 86.3687
|  | 1048 | 86.3459
|  | 1050 | 86.3231
|  | 1052 | 86.3079
|  | 1054 | 86.2942
|  | 1056 | 86.2848
|  | 1058 | 86.2784
|  | 1060 | 86.2688
|  | 1062 | 86.2674
|  | 1064 | 86.2613
|  | 1066 | 86.2587
|  | 1068 | 86.2643
|  | 1070 | 86.2581
|  | 1072 | 86.253
|  | 1074 | 86.2671
|  | 1076 | 86.2795
|  | 1078 | 86.2831
|  | 1080 | 86.2987
|  | 1082 | 86.3227
|  | 1084 | 86.3386
|  | 1086 | 86.3614
|  | 1088 | 86.3773
|  | 1090 | 86.3779
|  | 1092 | 86.4005
|  | 1094 | 86.4279
|  | 1096 | 86.4444
|  | 1098 | 86.4517
|  | 1100 | 86.465
|  | 1102 | 86.4792
|  | 1104 | 86.4925
|  | 1106 | 86.5102
|  | 1108 | 86.526
|  | 1110 | 86.5355
|  | 1112 | 86.5379
|  | 1114 | 86.5514
|  | 1116 | 86.5589
|  | 1118 | 86.5548
|  | 1120 | 86.5563
|  | 1122 | 86.5506
|  | 1124 | 86.542
|  | 1126 | 86.5361
|  | 1128 | 86.5255
|  | 1130 | 86.5083
|  | 1132 | 86.5035
|  | 1134 | 86.5037
|  | 1136 | 86.4867
|  | 1138 | 86.471
|  | 1140 | 86.4595
|  | 1142 | 86.4367
|  | 1144 | 86.4235
|  | 1146 | 86.4239
|  | 1148 | 86.4197
|  | 1150 | 86.3969
|  | 1152 | 86.3908
|  | 1154 | 86.3842
|  | 1156 | 86.3761
|  | 1158 | 86.3683
|  | 1160 | 86.3603
|  | 1162 | 86.3581
|  | 1164 | 86.3577
|  | 1166 | 86.3497
|  | 1168 | 86.3471
|  | 1170 | 86.3531
|  | 1172 | 86.3495
|  | 1174 | 86.3502
|  | 1176 | 86.3729
|  | 1178 | 86.3812
|  | 1180 | 86.3971
|  | 1182 | 86.4039
|  | 1184 | 86.405
|  | 1186 | 86.4171
|  | 1188 | 86.4317
|  | 1190 | 86.4534
|  | 1192 | 86.4776
|  | 1194 | 86.4915
|  | 1196 | 86.5076
|  | 1198 | 86.5239
|  | 1200 | 86.5408
|  | 1202 | 86.5517
|  | 1204 | 86.5529
|  | 1206 | 86.5768
|  | 1208 | 86.597
|  | 1210 | 86.614
|  | 1212 | 86.6351
|  | 1214 | 86.6427
|  | 1216 | 86.6505
|  | 1218 | 86.6535
|  | 1220 | 86.668
|  | 1222 | 86.6792
|  | 1224 | 86.689
|  | 1226 | 86.697
|  | 1228 | 86.7032
|  | 1230 | 86.7038
|  | 1232 | 86.7023
|  | 1234 | 86.695
|  | 1236 | 86.6933
|  | 1238 | 86.6824
|  | 1240 | 86.6692
|  | 1242 | 86.6625
|  | 1244 | 86.6625
|  | 1246 | 86.675
|  | 1248 | 86.6683
|  | 1250 | 86.6495
|  | 1252 | 86.6287
|  | 1254 | 86.6217
|  | 1256 | 86.6242
|  | 1258 | 86.6112
|  | 1260 | 86.6048
|  | 1262 | 86.6046
|  | 1264 | 86.591
|  | 1266 | 86.5766
|  | 1268 | 86.5618
|  | 1270 | 86.5544
|  | 1272 | 86.5486
|  | 1274 | 86.551
|  | 1276 | 86.5444
|  | 1278 | 86.534
|  | 1280 | 86.5307
|  | 1282 | 86.5227
|  | 1284 | 86.5132
|  | 1286 | 86.5026
|  | 1288 | 86.5003
|  | 1290 | 86.5143
|  | 1292 | 86.5111
|  | 1294 | 86.5109
|  | 1296 | 86.5191
|  | 1298 | 86.5296
|  | 1300 | 86.5309
|  | 1302 | 86.53
|  | 1304 | 86.538
|  | 1306 | 86.546
|  | 1308 | 86.5555
|  | 1310 | 86.5594
|  | 1312 | 86.5584
|  | 1314 | 86.5704
|  | 1316 | 86.5987
|  | 1318 | 86.6114
|  | 1320 | 86.6266
|  | 1322 | 86.6407
|  | 1324 | 86.6582
|  | 1326 | 86.6847
|  | 1328 | 86.703
|  | 1330 | 86.704
|  | 1332 | 86.7151
|  | 1334 | 86.7293
|  | 1336 | 86.747
|  | 1338 | 86.771
|  | 1340 | 86.7788
|  | 1342 | 86.7773
|  | 1344 | 86.7918
|  | 1346 | 86.8128
|  | 1348 | 86.8319
|  | 1350 | 86.8389
|  | 1352 | 86.8488
|  | 1354 | 86.8664
|  | 1356 | 86.8614
|  | 1358 | 86.8687
|  | 1360 | 86.8685
|  | 1362 | 86.8752
|  | 1364 | 86.8765
|  | 1366 | 86.8634
|  | 1368 | 86.8473
|  | 1370 | 86.8414
|  | 1372 | 86.826
|  | 1374 | 86.7945
|  | 1376 | 86.7468
|  | 1378 | 86.688
|  | 1380 | 86.62
|  | 1382 | 86.5488
|  | 1384 | 86.4656
|  | 1386 | 86.3739
|  | 1388 | 86.2738
|  | 1390 | 86.1812
|  | 1392 | 86.0937
|  | 1394 | 86.0105
|  | 1396 | 85.9407
|  | 1398 | 85.8891
|  | 1400 | 85.8641
|  | 1402 | 85.8545
|  | 1404 | 85.8564
|  | 1406 | 85.8603
|  | 1408 | 85.8734
|  | 1410 | 85.9079
|  | 1412 | 85.932
|  | 1414 | 85.9769
|  | 1416 | 86.0152
|  | 1418 | 86.0495
|  | 1420 | 86.081
|  | 1422 | 86.1187
|  | 1424 | 86.153
|  | 1426 | 86.1766
|  | 1428 | 86.2129
|  | 1430 | 86.2522
|  | 1432 | 86.2666
|  | 1434 | 86.2887
|  | 1436 | 86.3107
|  | 1438 | 86.3362
|  | 1440 | 86.3452
|  | 1442 | 86.366
|  | 1444 | 86.3936
|  | 1446 | 86.4091
|  | 1448 | 86.4374
|  | 1450 | 86.4503
|  | 1452 | 86.4656
|  | 1454 | 86.4703
|  | 1456 | 86.5016
|  | 1458 | 86.5177
|  | 1460 | 86.532
|  | 1462 | 86.5656
|  | 1464 | 86.5809
|  | 1466 | 86.5945
|  | 1468 | 86.616
|  | 1470 | 86.6333
|  | 1472 | 86.6499
|  | 1474 | 86.6729
|  | 1476 | 86.6757
|  | 1478 | 86.7023
|  | 1480 | 86.7288
|  | 1482 | 86.7393
|  | 1484 | 86.7541
|  | 1486 | 86.7717
|  | 1488 | 86.7821
|  | 1490 | 86.8115
|  | 1492 | 86.8292
|  | 1494 | 86.8521
|  | 1496 | 86.8709
|  | 1498 | 86.8882
|  | 1500 | 86.9069
|  | 1502 | 86.9275
|  | 1504 | 86.9393
|  | 1506 | 86.9576
|  | 1508 | 86.9742
|  | 1510 | 86.9877
|  | 1512 | 87.0057
|  | 1514 | 87.0108
|  | 1516 | 87.0226
|  | 1518 | 87.0211
|  | 1520 | 87.0387
|  | 1522 | 87.0453
|  | 1524 | 87.057
|  | 1526 | 87.0717
|  | 1528 | 87.0831
|  | 1530 | 87.0958
|  | 1532 | 87.091
|  | 1534 | 87.0913
|  | 1536 | 87.0904
|  | 1538 | 87.1023
|  | 1540 | 87.1093
|  | 1542 | 87.1141
|  | 1544 | 87.1142
|  | 1546 | 87.1085
|  | 1548 | 87.115
|  | 1550 | 87.1039
|  | 1552 | 87.1058
|  | 1554 | 87.0994
|  | 1556 | 87.09
|  | 1558 | 87.0843
|  | 1560 | 87.0853
|  | 1562 | 87.0901
|  | 1564 | 87.0685
|  | 1566 | 87.0665
|  | 1568 | 87.0624
|  | 1570 | 87.0664
|  | 1572 | 87.0441
|  | 1574 | 87.0458
|  | 1576 | 87.0356
|  | 1578 | 87.0265
|  | 1580 | 87.0084
|  | 1582 | 87.0063
|  | 1584 | 86.9907
|  | 1586 | 86.9819
|  | 1588 | 86.9825
|  | 1590 | 86.9714
|  | 1592 | 86.9545
|  | 1594 | 86.9412
|  | 1596 | 86.943
|  | 1598 | 86.9153
|  | 1600 | 86.9136
|  | 1602 | 86.9044
|  | 1604 | 86.889
|  | 1606 | 86.8933
|  | 1608 | 86.8815
|  | 1610 | 86.884
|  | 1612 | 86.8544
|  | 1614 | 86.858
|  | 1616 | 86.8596
|  | 1618 | 86.8537
|  | 1620 | 86.8507
|  | 1622 | 86.8389
|  | 1624 | 86.8448
|  | 1626 | 86.8257
|  | 1628 | 86.8211
|  | 1630 | 86.8208
|  | 1632 | 86.8356
|  | 1634 | 86.8265
|  | 1636 | 86.8337
|  | 1638 | 86.8271
|  | 1640 | 86.8304
|  | 1642 | 86.8242
|  | 1644 | 86.8367
|  | 1646 | 86.8436
|  | 1648 | 86.8411
|  | 1650 | 86.8456
|  | 1652 | 86.8476
|  | 1654 | 86.8654
|  | 1656 | 86.8722
|  | 1658 | 86.8821
|  | 1660 | 86.886
|  | 1662 | 86.8976
|  | 1664 | 86.9002
|  | 1666 | 86.907
|  | 1668 | 86.9093
|  | 1670 | 86.9367
|  | 1672 | 86.9417
|  | 1674 | 86.9421
|  | 1676 | 86.9588
|  | 1678 | 86.9772
|  | 1680 | 86.9851
|  | 1682 | 86.9996
|  | 1684 | 87.0268
|  | 1686 | 87.0233
|  | 1688 | 87.0395
|  | 1690 | 87.0631
|  | 1692 | 87.059
|  | 1694 | 87.0651
|  | 1696 | 87.091
|  | 1698 | 87.1084
|  | 1700 | 87.1334
|  | 1702 | 87.1359
|  | 1704 | 87.1452
|  | 1706 | 87.159
|  | 1708 | 87.1709
|  | 1710 | 87.1958
|  | 1712 | 87.1985
|  | 1714 | 87.1904
|  | 1716 | 87.2242
|  | 1718 | 87.2218
|  | 1720 | 87.2327
|  | 1722 | 87.235
|  | 1724 | 87.2542
|  | 1726 | 87.2484
|  | 1728 | 87.2625
|  | 1730 | 87.2755
|  | 1732 | 87.297
|  | 1734 | 87.2947
|  | 1736 | 87.2916
|  | 1738 | 87.3055
|  | 1740 | 87.3091
|  | 1742 | 87.3297
|  | 1744 | 87.3277
|  | 1746 | 87.3229
|  | 1748 | 87.3225
|  | 1750 | 87.3281
|  | 1752 | 87.3339
|  | 1754 | 87.3538
|  | 1756 | 87.3484
|  | 1758 | 87.3382
|  | 1760 | 87.354
|  | 1762 | 87.3449
|  | 1764 | 87.3338
|  | 1766 | 87.3465
|  | 1768 | 87.3399
|  | 1770 | 87.3275
|  | 1772 | 87.3384
|  | 1774 | 87.3347
|  | 1776 | 87.3248
|  | 1778 | 87.3212
|  | 1780 | 87.32
|  | 1782 | 87.3234
|  | 1784 | 87.3136
|  | 1786 | 87.2914
|  | 1788 | 87.2892
|  | 1790 | 87.2784
|  | 1792 | 87.2704
|  | 1794 | 87.2761
|  | 1796 | 87.2623
|  | 1798 | 87.2388
|  | 1800 | 87.2408
|  | 1802 | 87.3456
|  | 1804 | 87.33
|  | 1806 | 87.3066
|  | 1808 | 87.3328
|  | 1810 | 87.3021
|  | 1812 | 87.289
|  | 1814 | 87.2931
|  | 1816 | 87.3044
|  | 1818 | 87.2731
|  | 1820 | 87.2419
|  | 1822 | 87.2327
|  | 1824 | 87.2643
|  | 1826 | 87.2629
|  | 1828 | 87.2433
|  | 1830 | 87.2165
|  | 1832 | 87.2183
|  | 1834 | 87.249
|  | 1836 | 87.2374
|  | 1838 | 87.2019
|  | 1840 | 87.1492
|  | 1842 | 87.1727
|  | 1844 | 87.17
|  | 1846 | 87.1622
|  | 1848 | 87.1197
|  | 1850 | 87.1281
|  | 1852 | 87.1491
|  | 1854 | 87.1378
|  | 1856 | 87.1083
|  | 1858 | 87.071
|  | 1860 | 87.0512
|  | 1862 | 87.0661
|  | 1864 | 87.1321
|  | 1866 | 87.1635
|  | 1868 | 87.1231
|  | 1870 | 87.111
|  | 1872 | 87.0573
|  | 1874 | 87.0241
|  | 1876 | 87.0331
|  | 1878 | 87.0483
|  | 1880 | 87.0736
|  | 1882 | 87.0843
|  | 1884 | 87.0774
|  | 1886 | 87.076
|  | 1888 | 87.0684
|  | 1890 | 87.0633
|  | 1892 | 87.0624
|  | 1894 | 87.0821
|  | 1896 | 87.1058
|  | 1898 | 87.0988
|  | 1900 | 87.09
|  | 1902 | 87.0811
|  | 1904 | 87.0732
|  | 1906 | 87.0594
|  | 1908 | 87.0777
|  | 1910 | 87.084
|  | 1912 | 87.1047
|  | 1914 | 87.1045
|  | 1916 | 87.1261
|  | 1918 | 87.1157
|  | 1920 | 87.1372
|  | 1922 | 87.1215
|  | 1924 | 87.117
|  | 1926 | 87.1357
|  | 1928 | 87.1346
|  | 1930 | 87.1464
|  | 1932 | 87.1474
|  | 1934 | 87.1741
|  | 1936 | 87.1967
|  | 1938 | 87.1867
|  | 1940 | 87.1763
|  | 1942 | 87.1749
|  | 1944 | 87.1759
|  | 1946 | 87.1734
|  | 1948 | 87.1689
|  | 1950 | 87.1866
|  | 1952 | 87.1765
|  | 1954 | 87.1832
|  | 1956 | 87.1859
|  | 1958 | 87.1777
|  | 1960 | 87.1747
|  | 1962 | 87.1703
|  | 1964 | 87.1548
|  | 1966 | 87.1424
|  | 1968 | 87.1368
|  | 1970 | 87.1427
|  | 1972 | 87.1524
|  | 1974 | 87.1294
|  | 1976 | 87.1219
|  | 1978 | 87.1207
|  | 1980 | 87.1093
|  | 1982 | 87.1069
|  | 1984 | 87.0977
|  | 1986 | 87.114
|  | 1988 | 87.085
|  | 1990 | 87.1064
|  | 1992 | 87.1088
|  | 1994 | 87.1133
|  | 1996 | 87.1231
|  | 1998 | 87.1202
|  | 2000 | 87.1208
|  | 2002 | 87.1287
|  | 2004 | 87.1449
|  | 2006 | 87.1371
|  | 2008 | 87.1616
|  | 2010 | 87.1628
|  | 2012 | 87.1569
|  | 2014 | 87.1518
|  | 2016 | 87.1558
|  | 2018 | 87.1831
|  | 2020 | 87.1863
|  | 2022 | 87.1983
|  | 2024 | 87.2287
|  | 2026 | 87.2243
|  | 2028 | 87.226
|  | 2030 | 87.2087
|  | 2032 | 87.2215
|  | 2034 | 87.2323
|  | 2036 | 87.2419
|  | 2038 | 87.2333
|  | 2040 | 87.2114
|  | 2042 | 87.2325
|  | 2044 | 87.2417
|  | 2046 | 87.241
|  | 2048 | 87.2288
|  | 2050 | 87.2273
|  | 2052 | 87.2272
|  | 2054 | 87.2364
|  | 2056 | 87.2267
|  | 2058 | 87.205
|  | 2060 | 87.1885
|  | 2062 | 87.1799
|  | 2064 | 87.1625
|  | 2066 | 87.1687
|  | 2068 | 87.1556
|  | 2070 | 87.1446
|  | 2072 | 87.1284
|  | 2074 | 87.1173
|  | 2076 | 87.1118
|  | 2078 | 87.1008
|  | 2080 | 87.0817
|  | 2082 | 87.0661
|  | 2084 | 87.0397
|  | 2086 | 87.0428
|  | 2088 | 87.0094
|  | 2090 | 86.9829
|  | 2092 | 86.9399
|  | 2094 | 86.9131
|  | 2096 | 86.8886
|  | 2098 | 86.8595
|  | 2100 | 86.8472
|  | 2102 | 86.8089
|  | 2104 | 86.7747
|  | 2106 | 86.7424
|  | 2108 | 86.7011
|  | 2110 | 86.6535
|  | 2112 | 86.5998
|  | 2114 | 86.5407
|  | 2116 | 86.5009
|  | 2118 | 86.4327
|  | 2120 | 86.3561
|  | 2122 | 86.2943
|  | 2124 | 86.2123
|  | 2126 | 86.1327
|  | 2128 | 86.0661
|  | 2130 | 85.9789
|  | 2132 | 85.8933
|  | 2134 | 85.8012
|  | 2136 | 85.7244
|  | 2138 | 85.6625
|  | 2140 | 85.5962
|  | 2142 | 85.5378
|  | 2144 | 85.4893
|  | 2146 | 85.4345
|  | 2148 | 85.3908
|  | 2150 | 85.3836
|  | 2152 | 85.3559
|  | 2154 | 85.3212
|  | 2156 | 85.307
|  | 2158 | 85.2968
|  | 2160 | 85.2716
|  | 2162 | 85.2873
|  | 2164 | 85.2639
|  | 2166 | 85.2207
|  | 2168 | 85.2039
|  | 2170 | 85.1752
|  | 2172 | 85.1444
|  | 2174 | 85.1151
|  | 2176 | 85.0746
|  | 2178 | 85.0451
|  | 2180 | 84.9967
|  | 2182 | 84.9343
|  | 2184 | 84.8737
|  | 2186 | 84.8464
|  | 2188 | 84.809
|  | 2190 | 84.7422
|  | 2192 | 84.6643
|  | 2194 | 84.5961
|  | 2196 | 84.526
|  | 2198 | 84.4411
|  | 2200 | 84.3515
|  | 2202 | 84.2487
|  | 2204 | 84.1492
|  | 2206 | 84.0563
|  | 2208 | 83.9962
|  | 2210 | 83.9613
|  | 2212 | 83.9213
|  | 2214 | 83.9111
|  | 2216 | 83.9174
|  | 2218 | 83.9387
|  | 2220 | 83.9784
|  | 2222 | 84.021
|  | 2224 | 84.0781
|  | 2226 | 84.1281
|  | 2228 | 84.1622
|  | 2230 | 84.2089
|  | 2232 | 84.2543
|  | 2234 | 84.3052
|  | 2236 | 84.3442
|  | 2238 | 84.3714
|  | 2240 | 84.4152
|  | 2242 | 84.4466
|  | 2244 | 84.4732
|  | 2246 | 84.5112
|  | 2248 | 84.5295
|  | 2250 | 84.5647
|  | 2252 | 84.5894
|  | 2254 | 84.6084
|  | 2256 | 84.6555
|  | 2258 | 84.6774
|  | 2260 | 84.7105
|  | 2262 | 84.7493
|  | 2264 | 84.7755
|  | 2266 | 84.783
|  | 2268 | 84.806
|  | 2270 | 84.8382
|  | 2272 | 84.871
|  | 2274 | 84.8879
|  | 2276 | 84.9129
|  | 2278 | 84.9307
|  | 2280 | 84.9579
|  | 2282 | 84.9716
|  | 2284 | 84.9857
|  | 2286 | 85.0093
|  | 2288 | 85.0268
|  | 2290 | 85.0339
|  | 2292 | 85.0338
|  | 2294 | 85.0445
|  | 2296 | 85.0333
|  | 2298 | 85.0266
|  | 2300 | 85.0257
|  | 2302 | 85.025
|  | 2304 | 85.0387
|  | 2306 | 85.0356
|  | 2308 | 85.0328
|  | 2310 | 85.0356
|  | 2312 | 85.0268
|  | 2314 | 85.0171
|  | 2316 | 85.0111
|  | 2318 | 84.9957
|  | 2320 | 84.9679
|  | 2322 | 84.9449
|  | 2324 | 84.9324
|  | 2326 | 84.9231
|  | 2328 | 84.8986
|  | 2330 | 84.8664
|  | 2332 | 84.8337
|  | 2334 | 84.79
|  | 2336 | 84.7449
|  | 2338 | 84.73
|  | 2340 | 84.6976
|  | 2342 | 84.657
|  | 2344 | 84.613
|  | 2346 | 84.5727
|  | 2348 | 84.5197
|  | 2350 | 84.4739
|  | 2352 | 84.4075
|  | 2354 | 84.3448
|  | 2356 | 84.2859
|  | 2358 | 84.2228
|  | 2360 | 84.1553
|  | 2362 | 84.085
|  | 2364 | 84.0075
|  | 2366 | 83.9152
|  | 2368 | 83.8226
|  | 2370 | 83.7372
|  | 2372 | 83.6284
|  | 2374 | 83.521
|  | 2376 | 83.4115
|  | 2378 | 83.3005
|  | 2380 | 83.1844
|  | 2382 | 83.0711
|  | 2384 | 82.9598
|  | 2386 | 82.8427
|  | 2388 | 82.7469
|  | 2390 | 82.6358
|  | 2392 | 82.5445
|  | 2394 | 82.4636
|  | 2396 | 82.3797
|  | 2398 | 82.3159
|  | 2400 | 82.2599
|  | 2402 | 82.2082
|  | 2404 | 82.1502
|  | 2406 | 82.0996
|  | 2408 | 82.0588
|  | 2410 | 82.0318
|  | 2412 | 82.0131
|  | 2414 | 81.9776
|  | 2416 | 81.9608
|  | 2418 | 81.9424
|  | 2420 | 81.9223
|  | 2422 | 81.9066
|  | 2424 | 81.8847
|  | 2426 | 81.8699
|  | 2428 | 81.8609
|  | 2430 | 81.8494
|  | 2432 | 81.8324
|  | 2434 | 81.8068
|  | 2436 | 81.7803
|  | 2438 | 81.7618
|  | 2440 | 81.7506
|  | 2442 | 81.7287
|  | 2444 | 81.6933
|  | 2446 | 81.6609
|  | 2448 | 81.6323
|  | 2450 | 81.592
|  | 2452 | 81.5708
|  | 2454 | 81.5461
|  | 2456 | 81.5107
|  | 2458 | 81.4687
|  | 2460 | 81.4137
|  | 2462 | 81.3769
|  | 2464 | 81.3515
|  | 2466 | 81.3047
|  | 2468 | 81.2447
|  | 2470 | 81.2049
|  | 2472 | 81.1759
|  | 2474 | 81.1256
|  | 2476 | 81.064
|  | 2478 | 81.0131
|  | 2480 | 80.9566
|  | 2482 | 80.8868
|  | 2484 | 80.8315
|  | 2486 | 80.7907
|  | 2488 | 80.7391
|  | 2490 | 80.6774
|  | 2492 | 80.6308
|  | 2494 | 80.5747
|  | 2496 | 80.4974
|  | 2498 | 80.4261
|  | 2500 | 80.3616
|  | 2502 | 80.3029
|  | 2504 | 80.2438
|  | 2506 | 80.1794
|  | 2508 | 80.1128
|  | 2510 | 80.0442
|  | 2512 | 79.969
|  | 2514 | 79.8959
|  | 2516 | 79.8254
|  | 2518 | 79.7621
|  | 2520 | 79.6955
|  | 2522 | 79.6231
|  | 2524 | 79.5555
|  | 2526 | 79.4946
|  | 2528 | 79.4403
|  | 2530 | 79.3876
|  | 2532 | 79.3322
|  | 2534 | 79.2685
|  | 2536 | 79.2183
|  | 2538 | 79.1635
|  | 2540 | 79.0814
|  | 2542 | 79.0116
|  | 2544 | 78.9627
|  | 2546 | 78.9099
|  | 2548 | 78.8581
|  | 2550 | 78.8166
|  | 2552 | 78.7691
|  | 2554 | 78.7173
|  | 2556 | 78.6593
|  | 2558 | 78.5975
|  | 2560 | 78.5362
|  | 2562 | 78.4766
|  | 2564 | 78.4357
|  | 2566 | 78.3925
|  | 2568 | 78.3544
|  | 2570 | 78.329
|  | 2572 | 78.2915
|  | 2574 | 78.2466
|  | 2576 | 78.2178
|  | 2578 | 78.2017
|  | 2580 | 78.1911
|  | 2582 | 78.1665
|  | 2584 | 78.1389
|  | 2586 | 78.1426
|  | 2588 | 78.1429
|  | 2590 | 78.122
|  | 2592 | 78.107
|  | 2594 | 78.0958
|  | 2596 | 78.107
|  | 2598 | 78.1024
|  | 2600 | 78.0799
|  | 2602 | 78.0831
|  | 2604 | 78.0798
|  | 2606 | 78.0705
|  | 2608 | 78.0624
|  | 2610 | 78.051
|  | 2612 | 78.0503
|  | 2614 | 78.0454
|  | 2616 | 78.0147
|  | 2618 | 77.9779
|  | 2620 | 77.9676
|  | 2622 | 77.9587
|  | 2624 | 77.9311
|  | 2626 | 77.9198
|  | 2628 | 77.8916
|  | 2630 | 77.8494
|  | 2632 | 77.8172
|  | 2634 | 77.7842
|  | 2636 | 77.7504
|  | 2638 | 77.7171
|  | 2640 | 77.6623
|  | 2642 | 77.5879
|  | 2644 | 77.5081
|  | 2646 | 77.405
|  | 2648 | 77.295
|  | 2650 | 77.1858
|  | 2652 | 77.0589
|  | 2654 | 76.9185
|  | 2656 | 76.7784
|  | 2658 | 76.6227
|  | 2660 | 76.4555
|  | 2662 | 76.2539
|  | 2664 | 76.0099
|  | 2666 | 75.7303
|  | 2668 | 75.3745
|  | 2670 | 74.9515
|  | 2672 | 74.4779
|  | 2674 | 73.9255
|  | 2676 | 73.301
|  | 2678 | 72.594
|  | 2680 | 71.8777
|  | 2682 | 71.1386
|  | 2684 | 70.2927
|  | 2686 | 69.3671
|  | 2688 | 68.3329
|  | 2690 | 67.1358
|  | 2692 | 65.7082
|  | 2694 | 64.0141
|  | 2696 | 62.0287
|  | 2698 | 59.8027
|  | 2700 | 57.3356
|  | 2702 | 54.5883
|  | 2704 | 51.6954
|  | 2706 | 48.8267
|  | 2708 | 45.9823
|  | 2710 | 43.1933
|  | 2712 | 40.2952
|  | 2714 | 37.211
|  | 2716 | 34.0766
|  | 2718 | 30.8676
|  | 2720 | 27.6338
|  | 2722 | 24.7426
|  | 2724 | 22.3978
|  | 2726 | 20.4128
|  | 2728 | 18.8483
|  | 2730 | 17.6278
|  | 2732 | 16.5229
|  | 2734 | 15.5046
|  | 2736 | 14.5029
|  | 2738 | 13.5493
|  | 2740 | 12.5586
|  | 2742 | 11.7534
|  | 2744 | 11.0779
|  | 2746 | 10.5938
|  | 2748 | 10.2436
|  | 2750 | 9.9076
|  | 2752 | 9.6614
|  | 2754 | 9.4714
|  | 2756 | 9.2809
|  | 2758 | 9.1276
|  | 2760 | 9.0203
|  | 2762 | 8.9014
|  | 2764 | 8.8543
|  | 2766 | 8.8685
|  | 2768 | 8.8473
|  | 2770 | 8.8513
|  | 2772 | 8.91
|  | 2774 | 8.9818
|  | 2776 | 9.0243
|  | 2778 | 9.1378
|  | 2780 | 9.2551
|  | 2782 | 9.3721
|  | 2784 | 9.5076
|  | 2786 | 9.677
|  | 2788 | 9.8148
|  | 2790 | 9.9652
|  | 2792 | 10.0926
|  | 2794 | 10.2231
|  | 2796 | 10.3882
|  | 2798 | 10.5613
|  | 2800 | 10.7421
|  | 2802 | 10.9277
|  | 2804 | 11.1546
|  | 2806 | 11.3771
|  | 2808 | 11.5733
|  | 2810 | 11.782
|  | 2812 | 11.9884
|  | 2814 | 12.1904
|  | 2816 | 12.4048
|  | 2818 | 12.6228
|  | 2820 | 12.8353
|  | 2822 | 13.0477
|  | 2824 | 13.2621
|  | 2826 | 13.4706
|  | 2828 | 13.6751
|  | 2830 | 13.8798
|  | 2832 | 14.0924
|  | 2834 | 14.32
|  | 2836 | 14.5553
|  | 2838 | 14.7927
|  | 2840 | 15.0159
|  | 2842 | 15.2391
|  | 2844 | 15.4395
|  | 2846 | 15.6548
|  | 2848 | 15.8593
|  | 2850 | 16.0629
|  | 2852 | 16.2913
|  | 2854 | 16.5182
|  | 2856 | 16.7478
|  | 2858 | 16.9554
|  | 2860 | 17.1717
|  | 2862 | 17.3846
|  | 2864 | 17.5875
|  | 2866 | 17.7941
|  | 2868 | 17.9921
|  | 2870 | 18.1938
|  | 2872 | 18.4029
|  | 2874 | 18.6194
|  | 2876 | 18.8286
|  | 2878 | 19.0318
|  | 2880 | 19.2341
|  | 2882 | 19.4386
|  | 2884 | 19.6333
|  | 2886 | 19.8353
|  | 2888 | 20.0362
|  | 2890 | 20.2314
|  | 2892 | 20.4316
|  | 2894 | 20.6124
|  | 2896 | 20.8142
|  | 2898 | 21.0169
|  | 2900 | 21.2116
|  | 2902 | 21.4036
|  | 2904 | 21.6192
|  | 2906 | 21.823
|  | 2908 | 22.0264
|  | 2910 | 22.2098
|  | 2912 | 22.409
|  | 2914 | 22.5892
|  | 2916 | 22.7694
|  | 2918 | 22.961
|  | 2920 | 23.1545
|  | 2922 | 23.3468
|  | 2924 | 23.5411
|  | 2926 | 23.7342
|  | 2928 | 23.9184
|  | 2930 | 24.102
|  | 2932 | 24.2896
|  | 2934 | 24.47
|  | 2936 | 24.6441
|  | 2938 | 24.8253
|  | 2940 | 25.0087
|  | 2942 | 25.183
|  | 2944 | 25.3545
|  | 2946 | 25.5309
|  | 2948 | 25.7122
|  | 2950 | 25.8832
|  | 2952 | 26.0537
|  | 2954 | 26.2329
|  | 2956 | 26.4119
|  | 2958 | 26.5797
|  | 2960 | 26.7541
|  | 2962 | 26.9129
|  | 2964 | 27.0799
|  | 2966 | 27.2447
|  | 2968 | 27.4015
|  | 2970 | 27.5762
|  | 2972 | 27.7393
|  | 2974 | 27.8972
|  | 2976 | 28.0749
|  | 2978 | 28.2523
|  | 2980 | 28.3936
|  | 2982 | 28.5562
|  | 2984 | 28.7082
|  | 2986 | 28.8692
|  | 2988 | 29.0229
|  | 2990 | 29.1717
|  | 2992 | 29.3282
|  | 2994 | 29.4914
|  | 2996 | 29.64
|  | 2998 | 29.7751
|  | 3000 | 29.9432
|  | 3002 | 30.1018
|  | 3004 | 30.2319
|  | 3006 | 30.3767
|  | 3008 | 30.554
|  | 3010 | 30.6921
|  | 3012 | 30.828
|  | 3014 | 30.9819
|  | 3016 | 31.1461
|  | 3018 | 31.2811
|  | 3020 | 31.4278
|  | 3022 | 31.5601
|  | 3024 | 31.7226
|  | 3026 | 31.8607
|  | 3028 | 31.9857
|  | 3030 | 32.1255
|  | 3032 | 32.265
|  | 3034 | 32.4116
|  | 3036 | 32.5415
|  | 3038 | 32.6876
|  | 3040 | 32.8435
|  | 3042 | 32.9745
|  | 3044 | 33.108
|  | 3046 | 33.2624
|  | 3048 | 33.3676
|  | 3050 | 33.5115
|  | 3052 | 33.6693
|  | 3054 | 33.8031
|  | 3056 | 33.9177
|  | 3058 | 34.0665
|  | 3060 | 34.1672
|  | 3062 | 34.3414
|  | 3064 | 34.4646
|  | 3066 | 34.6074
|  | 3068 | 34.7131
|  | 3070 | 34.8702
|  | 3072 | 34.9839
|  | 3074 | 35.1304
|  | 3076 | 35.2157
|  | 3078 | 35.3666
|  | 3080 | 35.5159
|  | 3082 | 35.6173
|  | 3084 | 35.7705
|  | 3086 | 35.8638
|  | 3088 | 35.9446
|  | 3090 | 36.1293
|  | 3092 | 36.2823
|  | 3094 | 36.3469
|  | 3096 | 36.5181
|  | 3098 | 36.6302
|  | 3100 | 36.7501
|  | 3102 | 36.8892
|  | 3104 | 36.959
|  | 3106 | 37.1015
|  | 3108 | 37.2192
|  | 3110 | 37.4058
|  | 3112 | 37.4868
|  | 3114 | 37.6592
|  | 3116 | 37.7593
|  | 3118 | 37.8806
|  | 3120 | 37.9795
|  | 3122 | 38.091
|  | 3124 | 38.1982
|  | 3126 | 38.3948
|  | 3128 | 38.4398
|  | 3130 | 38.5945
|  | 3132 | 38.6891
|  | 3134 | 38.8291
|  | 3136 | 38.9237
|  | 3138 | 39.0869
|  | 3140 | 39.1716
|  | 3142 | 39.2392
|  | 3144 | 39.4498
|  | 3146 | 39.5129
|  | 3148 | 39.6881
|  | 3150 | 39.7772
|  | 3152 | 39.8386
|  | 3154 | 39.9785
|  | 3156 | 40.1252
|  | 3158 | 40.1829
|  | 3160 | 40.2896
|  | 3162 | 40.4525
|  | 3164 | 40.4964
|  | 3166 | 40.6599
|  | 3168 | 40.7732
|  | 3170 | 40.9028
|  | 3172 | 40.9346
|  | 3174 | 41.0478
|  | 3176 | 41.2009
|  | 3178 | 41.2226
|  | 3180 | 41.4126
|  | 3182 | 41.4454
|  | 3184 | 41.5228
|  | 3186 | 41.6514
|  | 3188 | 41.6905
|  | 3190 | 41.8738
|  | 3192 | 41.8865
|  | 3194 | 41.8874
|  | 3196 | 42.0548
|  | 3198 | 42.0962
|  | 3200 | 42.2601
|  | 3202 | 42.2802
|  | 3204 | 42.3975
|  | 3206 | 42.5061
|  | 3208 | 42.4613
|  | 3210 | 42.5006
|  | 3212 | 42.5486
|  | 3214 | 42.8611
|  | 3216 | 42.8065
|  | 3218 | 42.746
|  | 3220 | 42.7336
|  | 3222 | 42.9117
|  | 3224 | 42.8971
|  | 3226 | 42.9334
|  | 3228 | 43.0492
|  | 3230 | 42.9196
|  | 3232 | 43.0633
|  | 3234 | 43.0334
|  | 3236 | 43.1149
|  | 3238 | 43.0728
|  | 3240 | 43.0081
|  | 3242 | 42.9119
|  | 3244 | 42.9271
|  | 3246 | 42.8854
|  | 3248 | 42.8998
|  | 3250 | 42.9889
|  | 3252 | 42.7691
|  | 3254 | 42.7845
|  | 3256 | 42.7997
|  | 3258 | 42.6846
|  | 3260 | 42.8191
|  | 3262 | 42.5537
|  | 3264 | 42.4241
|  | 3266 | 42.4851
|  | 3268 | 42.3214
|  | 3270 | 42.3944
|  | 3272 | 41.9895
|  | 3274 | 42.2057
|  | 3276 | 41.8091
|  | 3278 | 41.7163
|  | 3280 | 41.5504
|  | 3282 | 41.5677
|  | 3284 | 41.2874
|  | 3286 | 41.1794
|  | 3288 | 41.0088
|  | 3290 | 40.6805
|  | 3292 | 40.7846
|  | 3294 | 40.7239
|  | 3296 | 40.0332
|  | 3298 | 40.2953
|  | 3300 | 39.8707