## T155596
SN: | T155596
Item #: | GB11A1
Item Description: | 1x2 488 nm / 532 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1 - Blue
Test Wavelength (nm): | 488
Insertion Loss (dB): | -0.05
Isolation (dB): | -21.48
Port Name: | Channel 2 - Green
Test Wavelength (nm): | 532
Insertion Loss (dB): | -0.1
Isolation (dB): | -20.43
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Blue | Insertion Loss (dB) - Channel 2 - Green
473 | -6.699 | -1.035
473.148 | -6.703 | -1.033
473.297 | -6.775 | -0.996
473.445 | -6.848 | -0.961
473.593 | -6.942 | -0.941
473.741 | -7.035 | -0.924
473.89 | -7.132 | -0.928
474.038 | -7.229 | -0.929
474.186 | -7.311 | -0.893
474.335 | -7.395 | -0.858
474.483 | -7.501 | -0.853
474.631 | -7.609 | -0.847
474.78 | -7.722 | -0.814
474.928 | -7.83 | -0.782
475.076 | -7.904 | -0.768
475.224 | -7.982 | -0.758
475.373 | -8.101 | -0.762
475.521 | -8.222 | -0.764
475.669 | -8.346 | -0.742
475.818 | -8.467 | -0.717
475.966 | -8.575 | -0.692
476.114 | -8.679 | -0.666
476.263 | -8.762 | -0.644
476.411 | -8.848 | -0.624
476.559 | -8.952 | -0.613
476.707 | -9.064 | -0.599
476.856 | -9.211 | -0.57
477.004 | -9.356 | -0.542
477.152 | -9.471 | -0.536
477.301 | -9.586 | -0.53
477.449 | -9.718 | -0.516
477.597 | -9.851 | -0.499
477.745 | -9.978 | -0.473
477.894 | -10.107 | -0.449
478.042 | -10.252 | -0.438
478.19 | -10.398 | -0.429
478.339 | -10.54 | -0.42
478.487 | -10.68 | -0.411
478.635 | -10.812 | -0.402
478.784 | -10.945 | -0.389
478.932 | -11.091 | -0.365
479.08 | -11.244 | -0.344
479.228 | -11.416 | -0.345
479.377 | -11.586 | -0.347
479.525 | -11.734 | -0.336
479.673 | -11.883 | -0.322
479.822 | -12.055 | -0.306
479.97 | -12.231 | -0.29
480.118 | -12.405 | -0.276
480.267 | -12.583 | -0.265
480.415 | -12.771 | -0.262
480.563 | -12.959 | -0.261
480.711 | -13.14 | -0.255
480.86 | -13.324 | -0.247
481.008 | -13.524 | -0.231
481.156 | -13.724 | -0.215
481.305 | -13.916 | -0.207
481.453 | -14.112 | -0.204
481.601 | -14.322 | -0.208
481.75 | -14.534 | -0.207
481.898 | -14.738 | -0.188
482.046 | -14.944 | -0.171
482.194 | -15.162 | -0.175
482.343 | -15.381 | -0.18
482.491 | -15.596 | -0.169
482.639 | -15.817 | -0.153
482.788 | -16.055 | -0.135
482.936 | -16.295 | -0.119
483.084 | -16.529 | -0.111
483.232 | -16.773 | -0.104
483.381 | -17.048 | -0.097
483.529 | -17.326 | -0.089
483.677 | -17.591 | -0.085
483.826 | -17.846 | -0.082
483.974 | -18.085 | -0.083
484.122 | -18.337 | -0.085
484.271 | -18.629 | -0.087
484.419 | -18.923 | -0.087
484.567 | -19.193 | -0.079
484.715 | -19.454 | -0.068
484.864 | -19.714 | -0.056
485.012 | -19.977 | -0.048
485.16 | -20.247 | -0.049
485.309 | -20.505 | -0.052
485.457 | -20.737 | -0.052
485.605 | -20.974 | -0.05
485.754 | -21.24 | -0.048
485.902 | -21.496 | -0.047
486.05 | -21.7 | -0.047
486.198 | -21.87 | -0.047
486.347 | -22.004 | -0.044
486.495 | -22.113 | -0.042
486.643 | -22.193 | -0.043
486.792 | -22.244 | -0.048
486.94 | -22.251 | -0.06
487.088 | -22.231 | -0.071
487.236 | -22.186 | -0.074
487.385 | -22.113 | -0.072
487.533 | -21.996 | -0.065
487.681 | -21.853 | -0.059
487.83 | -21.686 | -0.055
487.978 | -21.503 | -0.053
488.126 | -21.302 | -0.051
488.275 | -21.084 | -0.052
488.423 | -20.846 | -0.057
488.571 | -20.598 | -0.062
488.719 | -20.343 | -0.063
488.868 | -20.075 | -0.06
489.016 | -19.787 | -0.054
489.164 | -19.494 | -0.048
489.313 | -19.207 | -0.048
489.461 | -18.929 | -0.051
489.609 | -18.663 | -0.058
489.758 | -18.397 | -0.068
489.906 | -18.125 | -0.077
490.054 | -17.85 | -0.087
490.202 | -17.577 | -0.095
490.351 | -17.305 | -0.104
490.499 | -17.035 | -0.114
490.647 | -16.771 | -0.121
490.796 | -16.52 | -0.122
490.944 | -16.278 | -0.122
491.092 | -16.043 | -0.123
491.24 | -15.808 | -0.128
491.389 | -15.572 | -0.136
491.537 | -15.336 | -0.147
491.685 | -15.103 | -0.161
491.834 | -14.878 | -0.174
491.982 | -14.663 | -0.183
492.13 | -14.456 | -0.193
492.279 | -14.256 | -0.203
492.427 | -14.058 | -0.211
492.575 | -13.859 | -0.213
492.723 | -13.66 | -0.215
492.872 | -13.465 | -0.222
493.02 | -13.275 | -0.232
493.168 | -13.092 | -0.247
493.317 | -12.913 | -0.261
493.465 | -12.734 | -0.272
493.613 | -12.558 | -0.282
493.762 | -12.391 | -0.295
493.91 | -12.229 | -0.307
494.058 | -12.071 | -0.315
494.206 | -11.916 | -0.319
494.355 | -11.764 | -0.323
494.503 | -11.612 | -0.331
494.651 | -11.462 | -0.347
494.8 | -11.315 | -0.364
494.948 | -11.174 | -0.377
495.096 | -11.033 | -0.386
495.244 | -10.893 | -0.394
495.393 | -10.754 | -0.404
495.541 | -10.62 | -0.419
495.689 | -10.489 | -0.436
495.838 | -10.36 | -0.453
495.986 | -10.233 | -0.471
496.134 | -10.109 | -0.492
496.283 | -9.985 | -0.511
496.431 | -9.858 | -0.524
496.579 | -9.733 | -0.534
496.727 | -9.612 | -0.543
496.876 | -9.499 | -0.551
497.024 | -9.391 | -0.559
497.172 | -9.283 | -0.571
497.321 | -9.169 | -0.588
497.469 | -9.053 | -0.61
497.617 | -8.94 | -0.633
497.766 | -8.829 | -0.653
497.914 | -8.719 | -0.669
498.062 | -8.614 | -0.686
498.21 | -8.517 | -0.71
498.359 | -8.419 | -0.737
498.507 | -8.312 | -0.762
498.655 | -8.199 | -0.775
498.804 | -8.085 | -0.776
498.952 | -7.975 | -0.781
499.1 | -7.875 | -0.801
499.249 | -7.784 | -0.831
499.397 | -7.697 | -0.86
499.545 | -7.606 | -0.887
499.693 | -7.505 | -0.911
499.842 | -7.4 | -0.933
499.99 | -7.297 | -0.951
500.138 | -7.207 | -0.969
500.287 | -7.13 | -0.989
500.435 | -7.05 | -1.012
500.583 | -6.96 | -1.035
500.731 | -6.862 | -1.052
500.88 | -6.768 | -1.064
501.028 | -6.679 | -1.085
501.176 | -6.597 | -1.123
501.325 | -6.52 | -1.161
501.473 | -6.445 | -1.188
501.621 | -6.369 | -1.21
501.77 | -6.291 | -1.237
501.918 | -6.211 | -1.268
502.066 | -6.13 | -1.3
502.214 | -6.052 | -1.327
502.363 | -5.978 | -1.347
502.511 | -5.907 | -1.364
502.659 | -5.837 | -1.384
502.808 | -5.759 | -1.409
502.956 | -5.674 | -1.437
503.104 | -5.592 | -1.465
503.253 | -5.519 | -1.491
503.401 | -5.453 | -1.519
503.549 | -5.391 | -1.548
503.697 | -5.328 | -1.579
503.846 | -5.263 | -1.61
503.994 | -5.195 | -1.637
504.142 | -5.128 | -1.662
504.291 | -5.063 | -1.687
504.439 | -5.002 | -1.715
504.587 | -4.941 | -1.748
504.735 | -4.878 | -1.786
504.884 | -4.816 | -1.824
505.032 | -4.756 | -1.858
505.18 | -4.695 | -1.89
505.329 | -4.63 | -1.923
505.477 | -4.565 | -1.955
505.625 | -4.503 | -1.985
505.774 | -4.446 | -2.012
505.922 | -4.391 | -2.038
506.07 | -4.333 | -2.066
506.218 | -4.269 | -2.101
506.367 | -4.207 | -2.14
506.515 | -4.151 | -2.179
506.663 | -4.099 | -2.215
506.812 | -4.047 | -2.248
506.96 | -3.993 | -2.281
507.108 | -3.937 | -2.316
507.257 | -3.882 | -2.354
507.405 | -3.828 | -2.391
507.553 | -3.774 | -2.428
507.701 | -3.721 | -2.468
507.85 | -3.672 | -2.509
507.998 | -3.628 | -2.551
508.146 | -3.583 | -2.592
508.295 | -3.535 | -2.63
508.443 | -3.483 | -2.669
508.591 | -3.433 | -2.71
508.739 | -3.386 | -2.752
508.888 | -3.342 | -2.794
509.036 | -3.298 | -2.838
509.184 | -3.252 | -2.884
509.333 | -3.205 | -2.93
509.481 | -3.159 | -2.974
509.629 | -3.115 | -3.017
509.778 | -3.074 | -3.058
509.926 | -3.033 | -3.099
510.074 | -2.99 | -3.138
510.222 | -2.947 | -3.178
510.371 | -2.904 | -3.218
510.519 | -2.859 | -3.259
510.667 | -2.813 | -3.303
510.816 | -2.765 | -3.35
510.964 | -2.718 | -3.4
511.112 | -2.675 | -3.45
511.261 | -2.639 | -3.497
511.409 | -2.605 | -3.543
511.557 | -2.57 | -3.589
511.705 | -2.532 | -3.637
511.854 | -2.493 | -3.689
512.002 | -2.453 | -3.743
512.15 | -2.415 | -3.797
512.299 | -2.378 | -3.851
512.447 | -2.344 | -3.901
512.595 | -2.311 | -3.95
512.743 | -2.276 | -3.996
512.892 | -2.238 | -4.043
513.04 | -2.198 | -4.091
513.188 | -2.159 | -4.14
513.337 | -2.124 | -4.191
513.485 | -2.091 | -4.243
513.633 | -2.059 | -4.298
513.782 | -2.026 | -4.355
513.93 | -1.991 | -4.414
514.078 | -1.956 | -4.474
514.226 | -1.922 | -4.534
514.375 | -1.889 | -4.594
514.523 | -1.857 | -4.654
514.671 | -1.827 | -4.714
514.82 | -1.8 | -4.775
514.968 | -1.772 | -4.836
515.116 | -1.744 | -4.896
515.265 | -1.713 | -4.955
515.413 | -1.68 | -5.014
515.561 | -1.648 | -5.077
515.709 | -1.616 | -5.144
515.858 | -1.586 | -5.212
516.006 | -1.556 | -5.278
516.154 | -1.526 | -5.343
516.303 | -1.497 | -5.41
516.451 | -1.469 | -5.479
516.599 | -1.443 | -5.549
516.747 | -1.417 | -5.619
516.896 | -1.394 | -5.687
517.044 | -1.371 | -5.757
517.192 | -1.348 | -5.831
517.341 | -1.324 | -5.907
517.489 | -1.3 | -5.981
517.637 | -1.275 | -6.054
517.786 | -1.251 | -6.124
517.934 | -1.228 | -6.193
518.082 | -1.207 | -6.265
518.23 | -1.187 | -6.342
518.379 | -1.166 | -6.424
518.527 | -1.143 | -6.506
518.675 | -1.117 | -6.585
518.824 | -1.093 | -6.665
518.972 | -1.069 | -6.747
519.12 | -1.046 | -6.827
519.269 | -1.021 | -6.904
519.417 | -0.998 | -6.985
519.565 | -0.978 | -7.072
519.713 | -0.958 | -7.162
519.862 | -0.936 | -7.25
520.01 | -0.916 | -7.339
520.158 | -0.896 | -7.43
520.307 | -0.874 | -7.522
520.455 | -0.85 | -7.617
520.603 | -0.826 | -7.712
520.752 | -0.805 | -7.809
520.9 | -0.784 | -7.908
521.048 | -0.762 | -8.006
521.196 | -0.743 | -8.104
521.345 | -0.728 | -8.201
521.493 | -0.717 | -8.299
521.641 | -0.707 | -8.398
521.79 | -0.698 | -8.498
521.938 | -0.685 | -8.601
522.086 | -0.667 | -8.71
522.234 | -0.645 | -8.824
522.383 | -0.626 | -8.939
522.531 | -0.614 | -9.051
522.679 | -0.603 | -9.163
522.828 | -0.588 | -9.278
522.976 | -0.569 | -9.394
523.124 | -0.549 | -9.509
523.273 | -0.531 | -9.631
523.421 | -0.516 | -9.762
523.569 | -0.502 | -9.895
523.717 | -0.488 | -10.025
523.866 | -0.472 | -10.156
524.014 | -0.458 | -10.288
524.162 | -0.447 | -10.418
524.311 | -0.439 | -10.545
524.459 | -0.43 | -10.674
524.607 | -0.419 | -10.809
524.755 | -0.407 | -10.95
524.904 | -0.396 | -11.091
525.052 | -0.382 | -11.229
525.2 | -0.367 | -11.362
525.349 | -0.352 | -11.495
525.497 | -0.34 | -11.632
525.645 | -0.331 | -11.779
525.794 | -0.324 | -11.938
525.942 | -0.318 | -12.1
526.09 | -0.31 | -12.256
526.238 | -0.302 | -12.408
526.387 | -0.296 | -12.559
526.535 | -0.289 | -12.716
526.683 | -0.278 | -12.885
526.832 | -0.267 | -13.064
526.98 | -0.255 | -13.249
527.128 | -0.244 | -13.428
527.277 | -0.233 | -13.598
527.425 | -0.224 | -13.77
527.573 | -0.217 | -13.952
527.721 | -0.209 | -14.143
527.87 | -0.2 | -14.34
528.018 | -0.193 | -14.538
528.166 | -0.189 | -14.736
528.315 | -0.186 | -14.936
528.463 | -0.181 | -15.14
528.611 | -0.178 | -15.35
528.76 | -0.176 | -15.566
528.908 | -0.172 | -15.783
529.056 | -0.164 | -16.001
529.204 | -0.155 | -16.22
529.353 | -0.146 | -16.44
529.501 | -0.139 | -16.664
529.649 | -0.135 | -16.895
529.798 | -0.132 | -17.132
529.946 | -0.128 | -17.377
530.094 | -0.124 | -17.626
530.242 | -0.118 | -17.878
530.391 | -0.115 | -18.127
530.539 | -0.115 | -18.371
530.687 | -0.116 | -18.606
530.836 | -0.115 | -18.832
530.984 | -0.113 | -19.054
531.132 | -0.11 | -19.275
531.281 | -0.107 | -19.497
531.429 | -0.104 | -19.718
531.577 | -0.101 | -19.928
531.725 | -0.1 | -20.121
531.874 | -0.102 | -20.296
532.022 | -0.105 | -20.447
532.17 | -0.109 | -20.575
532.319 | -0.112 | -20.676
532.467 | -0.112 | -20.759
532.615 | -0.107 | -20.822
532.764 | -0.101 | -20.856
532.912 | -0.094 | -20.853
533.06 | -0.091 | -20.819
533.208 | -0.093 | -20.756
533.357 | -0.095 | -20.672
533.505 | -0.096 | -20.568
533.653 | -0.097 | -20.444
533.802 | -0.099 | -20.295
533.95 | -0.101 | -20.127
534.098 | -0.103 | -19.937
534.247 | -0.106 | -19.731
534.395 | -0.109 | -19.511
534.543 | -0.112 | -19.283
534.691 | -0.115 | -19.05
534.84 | -0.119 | -18.813
534.988 | -0.122 | -18.571
535.136 | -0.124 | -18.329
535.285 | -0.125 | -18.089
535.433 | -0.126 | -17.846
535.581 | -0.127 | -17.598
535.729 | -0.128 | -17.353
535.878 | -0.128 | -17.113
536.026 | -0.129 | -16.877
536.174 | -0.133 | -16.644
536.323 | -0.137 | -16.413
536.471 | -0.143 | -16.184
536.619 | -0.147 | -15.955
536.768 | -0.151 | -15.727
536.916 | -0.155 | -15.499
537.064 | -0.162 | -15.273
537.212 | -0.169 | -15.054
537.361 | -0.176 | -14.843
537.509 | -0.183 | -14.638
537.657 | -0.191 | -14.437
537.806 | -0.202 | -14.239
537.954 | -0.216 | -14.044
538.102 | -0.231 | -13.852
538.25 | -0.245 | -13.663
538.399 | -0.257 | -13.477
538.547 | -0.265 | -13.292
538.695 | -0.273 | -13.111
538.844 | -0.28 | -12.936
538.992 | -0.286 | -12.766
539.14 | -0.294 | -12.601
539.289 | -0.301 | -12.439
539.437 | -0.309 | -12.277
539.585 | -0.318 | -12.117
539.733 | -0.328 | -11.96
539.882 | -0.339 | -11.805
540.03 | -0.352 | -11.655
540.178 | -0.365 | -11.506
540.327 | -0.375 | -11.36
540.475 | -0.385 | -11.215
540.623 | -0.393 | -11.071
540.772 | -0.405 | -10.93
540.92 | -0.422 | -10.792
541.068 | -0.439 | -10.657
541.216 | -0.452 | -10.525
541.365 | -0.465 | -10.392
541.513 | -0.477 | -10.257
541.661 | -0.489 | -10.124
541.81 | -0.501 | -9.992
541.958 | -0.514 | -9.863
542.106 | -0.527 | -9.736
542.255 | -0.54 | -9.614
542.403 | -0.553 | -9.497
542.551 | -0.567 | -9.381
542.699 | -0.582 | -9.264
542.848 | -0.597 | -9.148
542.996 | -0.613 | -9.033
543.144 | -0.626 | -8.922
543.293 | -0.635 | -8.813
543.441 | -0.647 | -8.707
543.589 | -0.663 | -8.604
543.737 | -0.681 | -8.501
543.886 | -0.697 | -8.397
544.034 | -0.716 | -8.295
544.182 | -0.739 | -8.195
544.331 | -0.761 | -8.095
544.479 | -0.782 | -7.995
544.627 | -0.801 | -7.895
544.776 | -0.816 | -7.796
544.924 | -0.831 | -7.7
545.072 | -0.848 | -7.61
545.22 | -0.867 | -7.521
545.369 | -0.889 | -7.432
545.517 | -0.91 | -7.342
545.665 | -0.926 | -7.249
545.814 | -0.946 | -7.158
545.962 | -0.971 | -7.07
546.11 | -0.995 | -6.984
546.259 | -1.015 | -6.9
546.407 | -1.036 | -6.819
546.555 | -1.056 | -6.742
546.703 | -1.075 | -6.664
546.852 | -1.093 | -6.585
547 | -1.118 | -6.504