## T150953
SN: | T150953
Item #: | NR73F1
Item Description: | 1x2 633 nm / 785 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 630HP
Port Name: | Channel 1 - Red
Test Wavelength (nm): | 633
Insertion Loss (dB): | -0.02
Isolation (dB): | -28.56
Port Name: | Channel 2 - White
Test Wavelength (nm): | 785
Insertion Loss (dB): | -0.08
Isolation (dB): | -22.13
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Red | Insertion Loss (dB) - Channel 2 - White
618 | -16.797 | -0.124
618.365 | -16.798 | -0.124
618.729 | -16.988 | -0.118
619.094 | -17.217 | -0.111
619.459 | -17.461 | -0.105
619.824 | -17.701 | -0.1
620.188 | -17.938 | -0.096
620.553 | -18.194 | -0.095
620.918 | -18.453 | -0.093
621.283 | -18.718 | -0.088
621.647 | -18.993 | -0.085
622.012 | -19.272 | -0.083
622.377 | -19.539 | -0.078
622.741 | -19.82 | -0.075
623.106 | -20.117 | -0.074
623.471 | -20.434 | -0.069
623.836 | -20.759 | -0.064
624.2 | -21.096 | -0.063
624.565 | -21.448 | -0.061
624.93 | -21.812 | -0.059
625.295 | -22.198 | -0.054
625.659 | -22.584 | -0.051
626.024 | -22.968 | -0.049
626.389 | -23.34 | -0.045
626.753 | -23.708 | -0.041
627.118 | -24.084 | -0.039
627.483 | -24.48 | -0.038
627.848 | -24.905 | -0.04
628.212 | -25.382 | -0.042
628.577 | -25.869 | -0.042
628.942 | -26.345 | -0.038
629.307 | -26.802 | -0.033
629.671 | -27.238 | -0.027
630.036 | -27.605 | -0.024
630.401 | -27.927 | -0.021
630.766 | -28.192 | -0.019
631.13 | -28.45 | -0.02
631.495 | -28.684 | -0.021
631.86 | -28.805 | -0.022
632.224 | -28.825 | -0.022
632.589 | -28.742 | -0.022
632.954 | -28.584 | -0.022
633.319 | -28.379 | -0.022
633.683 | -28.102 | -0.024
634.048 | -27.756 | -0.026
634.413 | -27.353 | -0.029
634.778 | -26.887 | -0.033
635.142 | -26.416 | -0.036
635.507 | -25.959 | -0.037
635.872 | -25.526 | -0.04
636.236 | -25.11 | -0.044
636.601 | -24.712 | -0.048
636.966 | -24.314 | -0.051
637.331 | -23.91 | -0.054
637.695 | -23.503 | -0.057
638.06 | -23.102 | -0.06
638.425 | -22.719 | -0.063
638.79 | -22.367 | -0.068
639.154 | -22.038 | -0.074
639.519 | -21.72 | -0.077
639.884 | -21.414 | -0.08
640.248 | -21.12 | -0.081
640.613 | -20.817 | -0.083
640.978 | -20.509 | -0.085
641.343 | -20.21 | -0.086
641.707 | -19.905 | -0.089
642.072 | -19.593 | -0.095
642.437 | -19.29 | -0.101
642.802 | -19.001 | -0.106
643.166 | -18.731 | -0.111
643.531 | -18.468 | -0.116
643.896 | -18.211 | -0.121
644.26 | -17.967 | -0.125
644.625 | -17.726 | -0.127
644.99 | -17.485 | -0.129
645.355 | -17.247 | -0.133
645.719 | -17.018 | -0.138
646.084 | -16.806 | -0.142
646.449 | -16.604 | -0.145
646.814 | -16.408 | -0.149
647.178 | -16.21 | -0.152
647.543 | -16.007 | -0.155
647.908 | -15.802 | -0.161
648.273 | -15.608 | -0.166
648.637 | -15.422 | -0.171
649.002 | -15.236 | -0.174
649.367 | -15.049 | -0.179
649.731 | -14.865 | -0.187
650.096 | -14.689 | -0.194
650.461 | -14.518 | -0.199
650.826 | -14.349 | -0.204
651.19 | -14.186 | -0.21
651.555 | -14.035 | -0.215
651.92 | -13.893 | -0.22
652.285 | -13.758 | -0.223
652.649 | -13.627 | -0.228
653.014 | -13.499 | -0.234
653.379 | -13.37 | -0.241
653.743 | -13.236 | -0.25
654.108 | -13.099 | -0.26
654.473 | -12.957 | -0.27
654.838 | -12.813 | -0.276
655.202 | -12.671 | -0.281
655.567 | -12.538 | -0.292
655.932 | -12.41 | -0.302
656.297 | -12.282 | -0.31
656.661 | -12.158 | -0.316
657.026 | -12.037 | -0.323
657.391 | -11.921 | -0.332
657.755 | -11.811 | -0.34
658.12 | -11.705 | -0.346
658.485 | -11.603 | -0.354
658.85 | -11.503 | -0.363
659.214 | -11.401 | -0.373
659.579 | -11.299 | -0.384
659.944 | -11.193 | -0.394
660.309 | -11.083 | -0.401
660.673 | -10.97 | -0.408
661.038 | -10.858 | -0.42
661.403 | -10.746 | -0.432
661.768 | -10.636 | -0.446
662.132 | -10.527 | -0.459
662.497 | -10.42 | -0.47
662.862 | -10.316 | -0.48
663.226 | -10.22 | -0.488
663.591 | -10.129 | -0.497
663.956 | -10.041 | -0.506
664.321 | -9.954 | -0.515
664.685 | -9.868 | -0.524
665.05 | -9.784 | -0.534
665.415 | -9.699 | -0.546
665.78 | -9.613 | -0.557
666.144 | -9.525 | -0.569
666.509 | -9.435 | -0.58
666.874 | -9.344 | -0.592
667.238 | -9.255 | -0.605
667.603 | -9.167 | -0.617
667.968 | -9.079 | -0.627
668.333 | -8.991 | -0.639
668.697 | -8.904 | -0.654
669.062 | -8.819 | -0.668
669.427 | -8.739 | -0.681
669.792 | -8.661 | -0.693
670.156 | -8.585 | -0.705
670.521 | -8.51 | -0.717
670.886 | -8.434 | -0.729
671.25 | -8.359 | -0.742
671.615 | -8.284 | -0.755
671.98 | -8.209 | -0.768
672.345 | -8.135 | -0.782
672.709 | -8.061 | -0.797
673.074 | -7.987 | -0.813
673.439 | -7.913 | -0.829
673.804 | -7.84 | -0.844
674.168 | -7.767 | -0.859
674.533 | -7.695 | -0.873
674.898 | -7.625 | -0.887
675.263 | -7.556 | -0.901
675.627 | -7.49 | -0.915
675.992 | -7.426 | -0.93
676.357 | -7.363 | -0.945
676.721 | -7.3 | -0.96
677.086 | -7.236 | -0.976
677.451 | -7.172 | -0.992
677.816 | -7.108 | -1.008
678.18 | -7.046 | -1.024
678.545 | -6.983 | -1.039
678.91 | -6.919 | -1.054
679.275 | -6.853 | -1.07
679.639 | -6.788 | -1.088
680.004 | -6.723 | -1.108
680.369 | -6.659 | -1.129
680.733 | -6.596 | -1.149
681.098 | -6.535 | -1.168
681.463 | -6.475 | -1.184
681.828 | -6.418 | -1.2
682.192 | -6.36 | -1.217
682.557 | -6.304 | -1.234
682.922 | -6.248 | -1.251
683.287 | -6.196 | -1.268
683.651 | -6.145 | -1.285
684.016 | -6.094 | -1.303
684.381 | -6.041 | -1.322
684.745 | -5.986 | -1.34
685.11 | -5.931 | -1.357
685.475 | -5.878 | -1.375
685.84 | -5.825 | -1.394
686.204 | -5.772 | -1.413
686.569 | -5.718 | -1.432
686.934 | -5.664 | -1.452
687.299 | -5.611 | -1.473
687.663 | -5.558 | -1.495
688.028 | -5.506 | -1.516
688.393 | -5.454 | -1.537
688.758 | -5.403 | -1.557
689.122 | -5.352 | -1.576
689.487 | -5.302 | -1.596
689.852 | -5.253 | -1.616
690.216 | -5.204 | -1.637
690.581 | -5.155 | -1.657
690.946 | -5.109 | -1.678
691.311 | -5.067 | -1.698
691.675 | -5.023 | -1.718
692.04 | -4.978 | -1.738
692.405 | -4.932 | -1.76
692.77 | -4.885 | -1.782
693.134 | -4.839 | -1.803
693.499 | -4.795 | -1.825
693.864 | -4.752 | -1.848
694.228 | -4.711 | -1.87
694.593 | -4.669 | -1.893
694.958 | -4.627 | -1.915
695.323 | -4.584 | -1.938
695.687 | -4.539 | -1.96
696.052 | -4.496 | -1.982
696.417 | -4.455 | -2.006
696.782 | -4.416 | -2.03
697.146 | -4.375 | -2.053
697.511 | -4.333 | -2.076
697.876 | -4.292 | -2.098
698.24 | -4.251 | -2.12
698.605 | -4.212 | -2.148
698.97 | -4.172 | -2.179
699.335 | -4.13 | -2.208
699.699 | -4.085 | -2.233
700.064 | -4.042 | -2.254
700.429 | -4.002 | -2.275
700.794 | -3.964 | -2.298
701.158 | -3.926 | -2.325
701.523 | -3.887 | -2.355
701.888 | -3.849 | -2.385
702.253 | -3.811 | -2.412
702.617 | -3.775 | -2.439
702.982 | -3.74 | -2.464
703.347 | -3.706 | -2.49
703.711 | -3.673 | -2.517
704.076 | -3.642 | -2.546
704.441 | -3.615 | -2.575
704.806 | -3.588 | -2.604
705.17 | -3.562 | -2.636
705.535 | -3.537 | -2.67
705.9 | -3.511 | -2.7
706.265 | -3.486 | -2.726
706.629 | -3.46 | -2.752
706.994 | -3.431 | -2.777
707.359 | -3.399 | -2.8
707.723 | -3.365 | -2.821
708.088 | -3.329 | -2.842
708.453 | -3.29 | -2.866
708.818 | -3.248 | -2.898
709.182 | -3.207 | -2.936
709.547 | -3.17 | -2.974
709.912 | -3.135 | -3.009
710.277 | -3.1 | -3.041
710.641 | -3.063 | -3.074
711.006 | -3.024 | -3.111
711.371 | -2.986 | -3.152
711.735 | -2.951 | -3.192
712.1 | -2.916 | -3.231
712.465 | -2.882 | -3.269
712.83 | -2.848 | -3.306
713.194 | -2.814 | -3.342
713.559 | -2.78 | -3.377
713.924 | -2.744 | -3.412
714.289 | -2.71 | -3.45
714.653 | -2.677 | -3.487
715.018 | -2.646 | -3.521
715.383 | -2.617 | -3.552
715.747 | -2.588 | -3.581
716.112 | -2.56 | -3.609
716.477 | -2.531 | -3.635
716.842 | -2.502 | -3.661
717.206 | -2.474 | -3.684
717.571 | -2.448 | -3.706
717.936 | -2.423 | -3.73
718.301 | -2.399 | -3.755
718.665 | -2.377 | -3.782
719.03 | -2.357 | -3.812
719.395 | -2.338 | -3.845
719.76 | -2.318 | -3.882
720.124 | -2.297 | -3.921
720.489 | -2.274 | -3.96
720.854 | -2.249 | -3.997
721.218 | -2.225 | -4.032
721.583 | -2.2 | -4.067
721.948 | -2.175 | -4.103
722.313 | -2.15 | -4.14
722.677 | -2.125 | -4.176
723.042 | -2.101 | -4.213
723.407 | -2.077 | -4.252
723.772 | -2.053 | -4.293
724.136 | -2.028 | -4.336
724.501 | -2.001 | -4.378
724.866 | -1.975 | -4.42
725.23 | -1.951 | -4.461
725.595 | -1.927 | -4.505
725.96 | -1.902 | -4.549
726.325 | -1.878 | -4.593
726.689 | -1.854 | -4.637
727.054 | -1.83 | -4.68
727.419 | -1.807 | -4.723
727.784 | -1.785 | -4.765
728.148 | -1.762 | -4.809
728.513 | -1.741 | -4.852
728.878 | -1.72 | -4.896
729.242 | -1.7 | -4.94
729.607 | -1.679 | -4.984
729.972 | -1.659 | -5.028
730.337 | -1.637 | -5.072
730.701 | -1.617 | -5.116
731.066 | -1.597 | -5.161
731.431 | -1.577 | -5.207
731.796 | -1.557 | -5.253
732.16 | -1.535 | -5.3
732.525 | -1.515 | -5.348
732.89 | -1.496 | -5.397
733.255 | -1.477 | -5.446
733.619 | -1.456 | -5.497
733.984 | -1.435 | -5.547
734.349 | -1.413 | -5.597
734.713 | -1.393 | -5.646
735.078 | -1.373 | -5.697
735.443 | -1.354 | -5.749
735.808 | -1.335 | -5.802
736.172 | -1.316 | -5.855
736.537 | -1.297 | -5.909
736.902 | -1.279 | -5.963
737.267 | -1.26 | -6.018
737.631 | -1.241 | -6.073
737.996 | -1.223 | -6.127
738.361 | -1.204 | -6.18
738.725 | -1.187 | -6.232
739.09 | -1.171 | -6.285
739.455 | -1.155 | -6.34
739.82 | -1.138 | -6.395
740.184 | -1.121 | -6.45
740.549 | -1.105 | -6.505
740.914 | -1.089 | -6.558
741.279 | -1.074 | -6.612
741.643 | -1.06 | -6.667
742.008 | -1.044 | -6.72
742.373 | -1.029 | -6.773
742.737 | -1.015 | -6.826
743.102 | -1.002 | -6.881
743.467 | -0.988 | -6.938
743.832 | -0.973 | -6.996
744.196 | -0.958 | -7.055
744.561 | -0.942 | -7.114
744.926 | -0.927 | -7.175
745.291 | -0.912 | -7.237
745.655 | -0.899 | -7.299
746.02 | -0.885 | -7.361
746.385 | -0.871 | -7.422
746.75 | -0.858 | -7.486
747.114 | -0.844 | -7.55
747.479 | -0.829 | -7.615
747.844 | -0.814 | -7.682
748.208 | -0.8 | -7.75
748.573 | -0.786 | -7.817
748.938 | -0.774 | -7.887
749.303 | -0.761 | -7.96
749.667 | -0.746 | -8.034
750.032 | -0.731 | -8.106
750.397 | -0.72 | -8.181
750.762 | -0.708 | -8.254
751.126 | -0.695 | -8.325
751.491 | -0.681 | -8.4
751.856 | -0.669 | -8.476
752.22 | -0.657 | -8.552
752.585 | -0.646 | -8.629
752.95 | -0.634 | -8.708
753.315 | -0.62 | -8.787
753.679 | -0.607 | -8.864
754.044 | -0.597 | -8.94
754.409 | -0.588 | -9.018
754.774 | -0.577 | -9.098
755.138 | -0.563 | -9.178
755.503 | -0.551 | -9.259
755.868 | -0.542 | -9.341
756.232 | -0.532 | -9.42
756.597 | -0.522 | -9.5
756.962 | -0.511 | -9.584
757.327 | -0.499 | -9.668
757.691 | -0.488 | -9.752
758.056 | -0.478 | -9.84
758.421 | -0.469 | -9.927
758.786 | -0.459 | -10.013
759.15 | -0.449 | -10.101
759.515 | -0.44 | -10.192
759.88 | -0.431 | -10.281
760.245 | -0.422 | -10.372
760.609 | -0.413 | -10.466
760.974 | -0.404 | -10.56
761.339 | -0.394 | -10.654
761.703 | -0.385 | -10.752
762.068 | -0.376 | -10.85
762.433 | -0.368 | -10.949
762.798 | -0.359 | -11.046
763.162 | -0.351 | -11.145
763.527 | -0.345 | -11.248
763.892 | -0.337 | -11.353
764.257 | -0.328 | -11.459
764.621 | -0.32 | -11.568
764.986 | -0.313 | -11.678
765.351 | -0.306 | -11.788
765.715 | -0.299 | -11.902
766.08 | -0.292 | -12.017
766.445 | -0.283 | -12.134
766.81 | -0.275 | -12.252
767.174 | -0.269 | -12.373
767.539 | -0.263 | -12.495
767.904 | -0.256 | -12.619
768.269 | -0.249 | -12.746
768.633 | -0.244 | -12.875
768.998 | -0.239 | -13.004
769.363 | -0.233 | -13.138
769.727 | -0.226 | -13.275
770.092 | -0.218 | -13.413
770.457 | -0.21 | -13.553
770.822 | -0.205 | -13.695
771.186 | -0.201 | -13.841
771.551 | -0.197 | -13.99
771.916 | -0.192 | -14.141
772.281 | -0.187 | -14.293
772.645 | -0.181 | -14.448
773.01 | -0.175 | -14.605
773.375 | -0.17 | -14.767
773.74 | -0.165 | -14.931
774.104 | -0.159 | -15.097
774.469 | -0.154 | -15.266
774.834 | -0.15 | -15.439
775.198 | -0.147 | -15.616
775.563 | -0.144 | -15.796
775.928 | -0.14 | -15.978
776.293 | -0.136 | -16.161
776.657 | -0.134 | -16.347
777.022 | -0.132 | -16.54
777.387 | -0.128 | -16.737
777.752 | -0.124 | -16.94
778.116 | -0.119 | -17.151
778.481 | -0.115 | -17.367
778.846 | -0.111 | -17.586
779.21 | -0.107 | -17.804
779.575 | -0.103 | -18.021
779.94 | -0.101 | -18.246
780.305 | -0.1 | -18.478
780.669 | -0.1 | -18.716
781.034 | -0.098 | -18.965
781.399 | -0.095 | -19.222
781.764 | -0.093 | -19.482
782.128 | -0.091 | -19.746
782.493 | -0.089 | -20.016
782.858 | -0.087 | -20.298
783.222 | -0.084 | -20.589
783.587 | -0.079 | -20.886
783.952 | -0.076 | -21.19
784.317 | -0.077 | -21.506
784.681 | -0.078 | -21.834
785.046 | -0.077 | -22.172
785.411 | -0.075 | -22.526
785.776 | -0.072 | -22.885
786.14 | -0.068 | -23.247
786.505 | -0.065 | -23.624
786.87 | -0.063 | -24.011
787.234 | -0.063 | -24.412
787.599 | -0.062 | -24.812
787.964 | -0.061 | -25.212
788.329 | -0.064 | -25.627
788.693 | -0.064 | -26.051
789.058 | -0.059 | -26.482
789.423 | -0.06 | -26.887
789.788 | -0.062 | -27.273
790.152 | -0.06 | -27.625
790.517 | -0.059 | -27.94
790.882 | -0.06 | -28.217
791.247 | -0.057 | -28.434
791.611 | -0.056 | -28.605
791.976 | -0.06 | -28.688
792.341 | -0.057 | -28.694
792.705 | -0.05 | -28.648
793.07 | -0.054 | -28.532
793.435 | -0.057 | -28.369
793.8 | -0.056 | -28.141
794.164 | -0.056 | -27.855
794.529 | -0.056 | -27.542
794.894 | -0.052 | -27.195
795.259 | -0.053 | -26.824
795.623 | -0.058 | -26.43
795.988 | -0.06 | -26.014
796.353 | -0.059 | -25.593
796.717 | -0.056 | -25.165
797.082 | -0.061 | -24.744
797.447 | -0.07 | -24.328
797.812 | -0.068 | -23.943
798.176 | -0.07 | -23.558
798.541 | -0.077 | -23.173
798.906 | -0.078 | -22.811
799.271 | -0.078 | -22.46
799.635 | -0.086 | -22.131
800 | -0.088 | -21.801