## T058215
SN: | T058215
Item #: | NR74F1
Item Description: | 1x2 640 nm / 785 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 630HP
Port Name: | Channel 1 - Red
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.01
Isolation (dB): | -35.18
Port Name: | Channel 2 - White
Test Wavelength (nm): | 785
Insertion Loss (dB): | -0.06
Isolation (dB): | -26.67
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Red | Insertion Loss (dB) - Channel 2 - White
625 | -17.2 | -0.086
625.351 | -17.223 | -0.074
625.701 | -17.274 | -0.063
626.052 | -17.479 | -0.07
626.403 | -17.937 | -0.072
626.753 | -18.714 | -0.068
627.104 | -18.992 | -0.064
627.455 | -19.094 | -0.06
627.806 | -19.55 | -0.05
628.156 | -19.817 | -0.045
628.507 | -19.716 | -0.046
628.858 | -19.991 | -0.042
629.208 | -20.515 | -0.034
629.559 | -21.221 | -0.035
629.91 | -21.684 | -0.033
630.26 | -21.406 | -0.022
630.611 | -21.63 | -0.019
630.962 | -22.329 | -0.024
631.313 | -22.798 | -0.027
631.663 | -23.153 | -0.027
632.014 | -23.315 | -0.019
632.365 | -23.61 | -0.013
632.715 | -24.165 | -0.013
633.066 | -25.534 | -0.01
633.417 | -27.699 | -0.007
633.768 | -33.173 | -0.012
634.118 | -34.755 | -0.016
634.469 | -29.146 | -0.013
634.82 | -27.009 | -0.011
635.17 | -29.29 | -0.009
635.521 | -44.406 | -0.007
635.872 | -52.977 | -0.006
636.222 | -39.709 | -0.008
636.573 | -34.782 | -0.01
636.924 | -40.678 | -0.01
637.275 | -50.225 | -0.009
637.625 | -57.761 | -0.008
637.976 | -54.563 | -0.008
638.327 | -47.529 | -0.008
638.677 | -38.609 | -0.007
639.028 | -36.112 | -0.009
639.379 | -36.888 | -0.012
639.729 | -36.394 | -0.011
640.08 | -34.365 | -0.012
640.431 | -30.582 | -0.017
640.782 | -28.955 | -0.019
641.132 | -29.075 | -0.017
641.483 | -29.083 | -0.011
641.834 | -28.54 | -0.006
642.184 | -27.047 | -0.011
642.535 | -25.889 | -0.018
642.886 | -25.203 | -0.024
643.236 | -24.445 | -0.025
643.587 | -23.774 | -0.024
643.938 | -23.536 | -0.025
644.289 | -23.28 | -0.029
644.639 | -22.872 | -0.036
644.99 | -22.398 | -0.037
645.341 | -22.027 | -0.036
645.691 | -22.098 | -0.037
646.042 | -21.918 | -0.04
646.393 | -21.2 | -0.046
646.743 | -20.577 | -0.052
647.094 | -20.111 | -0.058
647.445 | -19.632 | -0.064
647.796 | -19.228 | -0.069
648.146 | -19.005 | -0.068
648.497 | -18.777 | -0.067
648.848 | -18.511 | -0.068
649.198 | -18.286 | -0.076
649.549 | -18.095 | -0.085
649.9 | -17.903 | -0.09
650.25 | -17.616 | -0.093
650.601 | -17.242 | -0.095
650.952 | -16.977 | -0.098
651.303 | -16.797 | -0.102
651.653 | -16.627 | -0.106
652.004 | -16.436 | -0.108
652.355 | -16.219 | -0.109
652.705 | -16.012 | -0.113
653.056 | -15.815 | -0.121
653.407 | -15.614 | -0.129
653.758 | -15.429 | -0.138
654.108 | -15.271 | -0.147
654.459 | -15.085 | -0.152
654.81 | -14.863 | -0.154
655.16 | -14.646 | -0.158
655.511 | -14.453 | -0.164
655.862 | -14.296 | -0.173
656.212 | -14.151 | -0.18
656.563 | -14.008 | -0.184
656.914 | -13.871 | -0.19
657.265 | -13.734 | -0.197
657.615 | -13.59 | -0.202
657.966 | -13.44 | -0.207
658.317 | -13.287 | -0.213
658.667 | -13.135 | -0.219
659.018 | -12.983 | -0.225
659.369 | -12.832 | -0.233
659.719 | -12.691 | -0.242
660.07 | -12.566 | -0.252
660.421 | -12.448 | -0.262
660.772 | -12.326 | -0.27
661.122 | -12.197 | -0.278
661.473 | -12.064 | -0.287
661.824 | -11.934 | -0.295
662.174 | -11.814 | -0.303
662.525 | -11.704 | -0.311
662.876 | -11.589 | -0.318
663.226 | -11.47 | -0.326
663.577 | -11.352 | -0.335
663.928 | -11.237 | -0.343
664.279 | -11.123 | -0.351
664.629 | -11.003 | -0.362
664.98 | -10.887 | -0.373
665.331 | -10.793 | -0.38
665.681 | -10.702 | -0.388
666.032 | -10.599 | -0.398
666.383 | -10.49 | -0.409
666.733 | -10.386 | -0.42
667.084 | -10.29 | -0.43
667.435 | -10.196 | -0.44
667.786 | -10.096 | -0.452
668.136 | -9.994 | -0.463
668.487 | -9.895 | -0.475
668.838 | -9.798 | -0.486
669.188 | -9.702 | -0.497
669.539 | -9.614 | -0.506
669.89 | -9.527 | -0.516
670.24 | -9.439 | -0.527
670.591 | -9.346 | -0.539
670.942 | -9.253 | -0.552
671.293 | -9.168 | -0.564
671.643 | -9.088 | -0.575
671.994 | -9.007 | -0.587
672.345 | -8.924 | -0.6
672.695 | -8.84 | -0.613
673.046 | -8.756 | -0.625
673.397 | -8.671 | -0.637
673.747 | -8.59 | -0.649
674.098 | -8.511 | -0.661
674.449 | -8.434 | -0.674
674.8 | -8.358 | -0.686
675.15 | -8.282 | -0.698
675.501 | -8.206 | -0.712
675.852 | -8.13 | -0.726
676.202 | -8.054 | -0.74
676.553 | -7.981 | -0.754
676.904 | -7.91 | -0.766
677.255 | -7.843 | -0.777
677.605 | -7.774 | -0.79
677.956 | -7.702 | -0.806
678.307 | -7.63 | -0.823
678.657 | -7.558 | -0.839
679.008 | -7.487 | -0.853
679.359 | -7.419 | -0.866
679.709 | -7.354 | -0.88
680.06 | -7.289 | -0.894
680.411 | -7.223 | -0.907
680.762 | -7.156 | -0.922
681.112 | -7.089 | -0.938
681.463 | -7.024 | -0.954
681.814 | -6.96 | -0.971
682.164 | -6.895 | -0.988
682.515 | -6.831 | -1.004
682.866 | -6.769 | -1.019
683.216 | -6.71 | -1.036
683.567 | -6.651 | -1.055
683.918 | -6.591 | -1.073
684.269 | -6.532 | -1.091
684.619 | -6.473 | -1.108
684.97 | -6.413 | -1.124
685.321 | -6.353 | -1.14
685.671 | -6.298 | -1.156
686.022 | -6.243 | -1.172
686.373 | -6.186 | -1.19
686.723 | -6.128 | -1.209
687.074 | -6.072 | -1.227
687.425 | -6.017 | -1.245
687.776 | -5.963 | -1.263
688.126 | -5.909 | -1.281
688.477 | -5.857 | -1.298
688.828 | -5.805 | -1.315
689.178 | -5.751 | -1.334
689.529 | -5.696 | -1.355
689.88 | -5.644 | -1.376
690.23 | -5.595 | -1.396
690.581 | -5.547 | -1.415
690.932 | -5.496 | -1.436
691.283 | -5.442 | -1.457
691.633 | -5.389 | -1.48
691.984 | -5.338 | -1.501
692.335 | -5.289 | -1.522
692.685 | -5.243 | -1.543
693.036 | -5.197 | -1.563
693.387 | -5.15 | -1.581
693.737 | -5.102 | -1.6
694.088 | -5.055 | -1.62
694.439 | -5.008 | -1.642
694.79 | -4.963 | -1.665
695.14 | -4.919 | -1.688
695.491 | -4.874 | -1.709
695.842 | -4.828 | -1.731
696.192 | -4.78 | -1.754
696.543 | -4.734 | -1.776
696.894 | -4.689 | -1.796
697.245 | -4.645 | -1.817
697.595 | -4.603 | -1.84
697.946 | -4.564 | -1.865
698.297 | -4.525 | -1.888
698.647 | -4.484 | -1.911
698.998 | -4.439 | -1.934
699.349 | -4.394 | -1.957
699.699 | -4.352 | -1.981
700.05 | -4.312 | -2.005
700.401 | -4.273 | -2.03
700.752 | -4.233 | -2.055
701.102 | -4.194 | -2.081
701.453 | -4.155 | -2.105
701.804 | -4.116 | -2.129
702.154 | -4.076 | -2.153
702.505 | -4.038 | -2.179
702.856 | -4 | -2.205
703.206 | -3.962 | -2.231
703.557 | -3.923 | -2.257
703.908 | -3.885 | -2.283
704.259 | -3.847 | -2.31
704.609 | -3.808 | -2.337
704.96 | -3.77 | -2.365
705.311 | -3.734 | -2.393
705.661 | -3.698 | -2.422
706.012 | -3.662 | -2.451
706.363 | -3.625 | -2.481
706.713 | -3.589 | -2.508
707.064 | -3.554 | -2.533
707.415 | -3.521 | -2.56
707.766 | -3.489 | -2.589
708.116 | -3.455 | -2.618
708.467 | -3.419 | -2.647
708.818 | -3.385 | -2.675
709.168 | -3.351 | -2.705
709.519 | -3.318 | -2.736
709.87 | -3.284 | -2.765
710.22 | -3.251 | -2.794
710.571 | -3.218 | -2.823
710.922 | -3.186 | -2.853
711.273 | -3.155 | -2.885
711.623 | -3.124 | -2.916
711.974 | -3.093 | -2.947
712.325 | -3.063 | -2.978
712.675 | -3.034 | -3.009
713.026 | -3.004 | -3.042
713.377 | -2.972 | -3.074
713.727 | -2.941 | -3.105
714.078 | -2.91 | -3.137
714.429 | -2.88 | -3.17
714.78 | -2.852 | -3.203
715.13 | -2.825 | -3.235
715.481 | -2.796 | -3.267
715.832 | -2.765 | -3.3
716.182 | -2.733 | -3.334
716.533 | -2.702 | -3.368
716.884 | -2.674 | -3.401
717.234 | -2.647 | -3.437
717.585 | -2.621 | -3.473
717.936 | -2.595 | -3.51
718.287 | -2.568 | -3.546
718.637 | -2.54 | -3.581
718.988 | -2.511 | -3.616
719.339 | -2.482 | -3.651
719.689 | -2.454 | -3.686
720.04 | -2.427 | -3.722
720.391 | -2.402 | -3.759
720.741 | -2.377 | -3.798
721.092 | -2.352 | -3.837
721.443 | -2.327 | -3.875
721.794 | -2.301 | -3.912
722.144 | -2.275 | -3.948
722.495 | -2.25 | -3.984
722.846 | -2.227 | -4.022
723.196 | -2.204 | -4.061
723.547 | -2.179 | -4.103
723.898 | -2.154 | -4.145
724.248 | -2.13 | -4.186
724.599 | -2.106 | -4.226
724.95 | -2.081 | -4.266
725.301 | -2.057 | -4.306
725.651 | -2.033 | -4.348
726.002 | -2.009 | -4.39
726.353 | -1.985 | -4.432
726.703 | -1.96 | -4.475
727.054 | -1.938 | -4.517
727.405 | -1.917 | -4.559
727.755 | -1.897 | -4.6
728.106 | -1.874 | -4.641
728.457 | -1.851 | -4.683
728.808 | -1.827 | -4.728
729.158 | -1.803 | -4.774
729.509 | -1.781 | -4.821
729.86 | -1.76 | -4.867
730.21 | -1.74 | -4.912
730.561 | -1.718 | -4.957
730.912 | -1.696 | -5.003
731.263 | -1.675 | -5.05
731.613 | -1.656 | -5.097
731.964 | -1.637 | -5.144
732.315 | -1.617 | -5.19
732.665 | -1.596 | -5.237
733.016 | -1.576 | -5.285
733.367 | -1.555 | -5.335
733.717 | -1.534 | -5.385
734.068 | -1.514 | -5.434
734.419 | -1.495 | -5.483
734.77 | -1.477 | -5.531
735.12 | -1.461 | -5.582
735.471 | -1.443 | -5.633
735.822 | -1.423 | -5.684
736.172 | -1.401 | -5.735
736.523 | -1.381 | -5.787
736.874 | -1.363 | -5.838
737.224 | -1.345 | -5.89
737.575 | -1.327 | -5.943
737.926 | -1.308 | -5.997
738.277 | -1.289 | -6.053
738.627 | -1.271 | -6.11
738.978 | -1.254 | -6.165
739.329 | -1.237 | -6.218
739.679 | -1.221 | -6.271
740.03 | -1.205 | -6.326
740.381 | -1.19 | -6.384
740.731 | -1.174 | -6.444
741.082 | -1.156 | -6.503
741.433 | -1.137 | -6.563
741.784 | -1.12 | -6.622
742.134 | -1.104 | -6.68
742.485 | -1.089 | -6.738
742.836 | -1.073 | -6.799
743.186 | -1.058 | -6.862
743.537 | -1.043 | -6.926
743.888 | -1.028 | -6.989
744.238 | -1.013 | -7.052
744.589 | -0.997 | -7.112
744.94 | -0.982 | -7.172
745.291 | -0.969 | -7.235
745.641 | -0.955 | -7.301
745.992 | -0.938 | -7.367
746.343 | -0.922 | -7.434
746.693 | -0.909 | -7.503
747.044 | -0.895 | -7.573
747.395 | -0.88 | -7.641
747.745 | -0.864 | -7.706
748.096 | -0.85 | -7.771
748.447 | -0.839 | -7.84
748.798 | -0.827 | -7.913
749.148 | -0.814 | -7.987
749.499 | -0.8 | -8.058
749.85 | -0.785 | -8.127
750.2 | -0.771 | -8.198
750.551 | -0.758 | -8.272
750.902 | -0.746 | -8.349
751.253 | -0.732 | -8.427
751.603 | -0.719 | -8.507
751.954 | -0.705 | -8.587
752.305 | -0.691 | -8.666
752.655 | -0.677 | -8.744
753.006 | -0.666 | -8.825
753.357 | -0.657 | -8.907
753.707 | -0.647 | -8.987
754.058 | -0.637 | -9.07
754.409 | -0.626 | -9.155
754.76 | -0.616 | -9.24
755.11 | -0.604 | -9.326
755.461 | -0.59 | -9.413
755.812 | -0.578 | -9.501
756.162 | -0.569 | -9.588
756.513 | -0.56 | -9.676
756.864 | -0.549 | -9.767
757.214 | -0.536 | -9.858
757.565 | -0.523 | -9.95
757.916 | -0.512 | -10.041
758.267 | -0.503 | -10.136
758.617 | -0.495 | -10.232
758.968 | -0.484 | -10.327
759.319 | -0.474 | -10.423
759.669 | -0.466 | -10.525
760.02 | -0.456 | -10.629
760.371 | -0.445 | -10.734
760.721 | -0.434 | -10.837
761.072 | -0.424 | -10.94
761.423 | -0.415 | -11.046
761.774 | -0.406 | -11.156
762.124 | -0.398 | -11.267
762.475 | -0.39 | -11.377
762.826 | -0.382 | -11.487
763.176 | -0.373 | -11.603
763.527 | -0.365 | -11.72
763.878 | -0.357 | -11.836
764.228 | -0.35 | -11.954
764.579 | -0.342 | -12.074
764.93 | -0.333 | -12.197
765.281 | -0.325 | -12.32
765.631 | -0.32 | -12.444
765.982 | -0.314 | -12.571
766.333 | -0.306 | -12.703
766.683 | -0.297 | -12.838
767.034 | -0.29 | -12.974
767.385 | -0.287 | -13.109
767.735 | -0.284 | -13.247
768.086 | -0.278 | -13.388
768.437 | -0.269 | -13.532
768.788 | -0.26 | -13.679
769.138 | -0.253 | -13.829
769.489 | -0.247 | -13.98
769.84 | -0.242 | -14.132
770.19 | -0.235 | -14.287
770.541 | -0.226 | -14.446
770.892 | -0.219 | -14.609
771.242 | -0.214 | -14.774
771.593 | -0.209 | -14.94
771.944 | -0.204 | -15.107
772.295 | -0.199 | -15.279
772.645 | -0.194 | -15.46
772.996 | -0.189 | -15.647
773.347 | -0.183 | -15.838
773.697 | -0.176 | -16.026
774.048 | -0.169 | -16.215
774.399 | -0.165 | -16.42
774.75 | -0.162 | -16.633
775.1 | -0.154 | -16.838
775.451 | -0.149 | -17.047
775.802 | -0.148 | -17.27
776.152 | -0.146 | -17.503
776.503 | -0.142 | -17.737
776.854 | -0.137 | -17.966
777.204 | -0.131 | -18.201
777.555 | -0.126 | -18.456
777.906 | -0.122 | -18.714
778.257 | -0.12 | -18.974
778.607 | -0.118 | -19.252
778.958 | -0.115 | -19.541
779.309 | -0.111 | -19.839
779.659 | -0.105 | -20.141
780.01 | -0.099 | -20.447
780.361 | -0.098 | -20.772
780.711 | -0.098 | -21.112
781.062 | -0.095 | -21.466
781.413 | -0.091 | -21.835
781.764 | -0.087 | -22.223
782.114 | -0.08 | -22.606
782.465 | -0.072 | -22.991
782.816 | -0.069 | -23.427
783.166 | -0.07 | -23.882
783.517 | -0.072 | -24.35
783.868 | -0.072 | -24.863
784.218 | -0.07 | -25.42
784.569 | -0.067 | -25.965
784.92 | -0.065 | -26.53
785.271 | -0.065 | -27.217
785.621 | -0.064 | -27.926
785.972 | -0.061 | -28.65
786.323 | -0.058 | -29.463
786.673 | -0.055 | -30.35
787.024 | -0.055 | -31.359
787.375 | -0.054 | -32.362
787.725 | -0.049 | -33.324
788.076 | -0.046 | -34.418
788.427 | -0.046 | -35.716
788.778 | -0.047 | -37.638
789.128 | -0.048 | -38.982
789.479 | -0.046 | -38.026
789.83 | -0.045 | -37.636
790.18 | -0.044 | -37.998
790.531 | -0.043 | -36.477
790.882 | -0.043 | -34.336
791.232 | -0.041 | -33.252
791.583 | -0.042 | -32.28
791.934 | -0.044 | -31.302
792.285 | -0.045 | -30.356
792.635 | -0.044 | -29.438
792.986 | -0.042 | -28.621
793.337 | -0.04 | -27.86
793.687 | -0.042 | -27.206
794.038 | -0.041 | -26.566
794.389 | -0.037 | -25.938
794.74 | -0.041 | -25.417
795.09 | -0.046 | -24.916
795.441 | -0.052 | -24.402
795.792 | -0.053 | -23.922
796.142 | -0.051 | -23.483
796.493 | -0.049 | -23.051
796.844 | -0.049 | -22.622
797.194 | -0.049 | -22.205
797.545 | -0.051 | -21.808
797.896 | -0.056 | -21.448
798.247 | -0.06 | -21.106
798.597 | -0.062 | -20.774
798.948 | -0.059 | -20.482
799.299 | -0.058 | -20.188
799.649 | -0.065 | -19.882
800 | -0.07 | -19.589