## T150894
SN: | T150894
Item #: | PN1064R5A2
Item Description: | 2x2 50:50 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 98-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -3.52
Coupling Ratio (%): | 49.7
PER (dB): | 22
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -3.46
Coupling Ratio (%): | 50.3
PER (dB): | 25