## T149812
SN: | T149812
Item #: | TN1550R1F2
Item Description: | 2x2 99:1 Narrowband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.12
Coupling Ratio (%): | 99.1
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -20.45
Coupling Ratio (%): | 0.9