## T149658
SN: | T149658
Item #: | TW1430R5A2
Item Description: | 2x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1430
Insertion Loss (dB): | -3.31
Coupling Ratio (%): | 48.22
Uniformity (dB): | 0.29
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1430
Insertion Loss (dB): | -3
Coupling Ratio (%): | 51.78
Uniformity (dB): | 0.32
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
1320 | -3.195 | 48.642 | -2.959 | 51.358
1320.441 | -3.196 | 48.639 | -2.96 | 51.361
1320.882 | -3.208 | 48.606 | -2.966 | 51.394
1321.323 | -3.215 | 48.62 | -2.975 | 51.38
1321.764 | -3.206 | 48.744 | -2.988 | 51.256
1322.204 | -3.204 | 48.831 | -3.001 | 51.169
1322.645 | -3.207 | 48.88 | -3.012 | 51.12
1323.086 | -3.203 | 48.843 | -3.002 | 51.157
1323.527 | -3.197 | 48.768 | -2.983 | 51.232
1323.968 | -3.202 | 48.59 | -2.957 | 51.41
1324.409 | -3.208 | 48.45 | -2.939 | 51.55
1324.85 | -3.212 | 48.622 | -2.972 | 51.378
1325.291 | -3.216 | 48.718 | -2.993 | 51.282
1325.731 | -3.22 | 48.657 | -2.986 | 51.343
1326.172 | -3.223 | 48.648 | -2.988 | 51.352
1326.613 | -3.225 | 48.685 | -2.997 | 51.315
1327.054 | -3.222 | 48.619 | -2.982 | 51.381
1327.495 | -3.218 | 48.52 | -2.961 | 51.48
1327.936 | -3.221 | 48.537 | -2.966 | 51.463
1328.377 | -3.225 | 48.539 | -2.972 | 51.461
1328.818 | -3.237 | 48.436 | -2.965 | 51.564
1329.259 | -3.243 | 48.374 | -2.961 | 51.626
1329.699 | -3.242 | 48.385 | -2.961 | 51.615
1330.14 | -3.242 | 48.424 | -2.968 | 51.576
1330.581 | -3.244 | 48.479 | -2.979 | 51.521
1331.022 | -3.25 | 48.456 | -2.981 | 51.544
1331.463 | -3.256 | 48.412 | -2.981 | 51.588
1331.904 | -3.257 | 48.433 | -2.985 | 51.567
1332.345 | -3.258 | 48.418 | -2.983 | 51.582
1332.786 | -3.264 | 48.273 | -2.964 | 51.727
1333.226 | -3.263 | 48.187 | -2.948 | 51.813
1333.667 | -3.253 | 48.192 | -2.938 | 51.808
1334.108 | -3.25 | 48.138 | -2.927 | 51.862
1334.549 | -3.254 | 48.047 | -2.914 | 51.953
1334.99 | -3.258 | 48.046 | -2.918 | 51.954
1335.431 | -3.262 | 48.07 | -2.926 | 51.93
1335.872 | -3.255 | 48.068 | -2.92 | 51.932
1336.313 | -3.252 | 48.068 | -2.916 | 51.932
1336.754 | -3.259 | 48.077 | -2.925 | 51.923
1337.194 | -3.264 | 48.09 | -2.932 | 51.91
1337.635 | -3.267 | 48.108 | -2.938 | 51.892
1338.076 | -3.27 | 48.145 | -2.948 | 51.855
1338.517 | -3.275 | 48.187 | -2.96 | 51.813
1338.958 | -3.275 | 48.185 | -2.96 | 51.815
1339.399 | -3.274 | 48.186 | -2.959 | 51.814
1339.84 | -3.266 | 48.28 | -2.967 | 51.72
1340.281 | -3.257 | 48.373 | -2.974 | 51.627
1340.721 | -3.244 | 48.44 | -2.973 | 51.56
1341.162 | -3.241 | 48.443 | -2.971 | 51.557
1341.603 | -3.25 | 48.382 | -2.969 | 51.618
1342.044 | -3.259 | 48.334 | -2.969 | 51.666
1342.485 | -3.266 | 48.302 | -2.971 | 51.698
1342.926 | -3.267 | 48.316 | -2.974 | 51.684
1343.367 | -3.265 | 48.338 | -2.976 | 51.662
1343.808 | -3.262 | 48.35 | -2.976 | 51.65
1344.249 | -3.26 | 48.357 | -2.975 | 51.643
1344.689 | -3.26 | 48.359 | -2.975 | 51.641
1345.13 | -3.258 | 48.38 | -2.977 | 51.62
1345.571 | -3.256 | 48.415 | -2.981 | 51.585
1346.012 | -3.261 | 48.414 | -2.986 | 51.586
1346.453 | -3.269 | 48.398 | -2.991 | 51.602
1346.894 | -3.27 | 48.399 | -2.991 | 51.601
1347.335 | -3.268 | 48.41 | -2.992 | 51.59
1347.776 | -3.263 | 48.444 | -2.993 | 51.556
1348.216 | -3.262 | 48.462 | -2.995 | 51.538
1348.657 | -3.268 | 48.448 | -2.998 | 51.552
1349.098 | -3.27 | 48.436 | -2.999 | 51.564
1349.539 | -3.27 | 48.436 | -2.998 | 51.564
1349.98 | -3.265 | 48.483 | -3.001 | 51.517
1350.421 | -3.26 | 48.547 | -3.007 | 51.453
1350.862 | -3.26 | 48.585 | -3.014 | 51.415
1351.303 | -3.26 | 48.611 | -3.019 | 51.389
1351.744 | -3.259 | 48.621 | -3.019 | 51.379
1352.184 | -3.259 | 48.615 | -3.019 | 51.385
1352.625 | -3.263 | 48.583 | -3.017 | 51.417
1353.066 | -3.269 | 48.509 | -3.01 | 51.491
1353.507 | -3.275 | 48.414 | -2.999 | 51.586
1353.948 | -3.273 | 48.377 | -2.991 | 51.623
1354.389 | -3.267 | 48.376 | -2.985 | 51.624
1354.83 | -3.261 | 48.425 | -2.988 | 51.575
1355.271 | -3.257 | 48.466 | -2.991 | 51.534
1355.711 | -3.26 | 48.462 | -2.993 | 51.538
1356.152 | -3.264 | 48.443 | -2.994 | 51.557
1356.593 | -3.269 | 48.415 | -2.993 | 51.585
1357.034 | -3.27 | 48.385 | -2.989 | 51.615
1357.475 | -3.27 | 48.357 | -2.984 | 51.643
1357.916 | -3.274 | 48.337 | -2.985 | 51.663
1358.357 | -3.279 | 48.32 | -2.987 | 51.68
1358.798 | -3.284 | 48.304 | -2.989 | 51.696
1359.239 | -3.287 | 48.283 | -2.988 | 51.717
1359.679 | -3.285 | 48.26 | -2.983 | 51.74
1360.12 | -3.283 | 48.256 | -2.98 | 51.744
1360.561 | -3.28 | 48.277 | -2.981 | 51.723
1361.002 | -3.278 | 48.306 | -2.984 | 51.694
1361.443 | -3.277 | 48.328 | -2.987 | 51.672
1361.884 | -3.281 | 48.314 | -2.988 | 51.686
1362.325 | -3.288 | 48.275 | -2.989 | 51.725
1362.766 | -3.298 | 48.201 | -2.985 | 51.799
1363.206 | -3.305 | 48.142 | -2.982 | 51.858
1363.647 | -3.307 | 48.123 | -2.981 | 51.877
1364.088 | -3.308 | 48.117 | -2.981 | 51.883
1364.529 | -3.311 | 48.113 | -2.983 | 51.887
1364.97 | -3.318 | 48.093 | -2.986 | 51.907
1365.411 | -3.327 | 48.07 | -2.991 | 51.93
1365.852 | -3.333 | 48.073 | -2.998 | 51.927
1366.293 | -3.337 | 48.092 | -3.006 | 51.908
1366.734 | -3.339 | 48.127 | -3.013 | 51.873
1367.174 | -3.34 | 48.133 | -3.016 | 51.867
1367.615 | -3.343 | 48.092 | -3.012 | 51.908
1368.056 | -3.348 | 48.07 | -3.013 | 51.93
1368.497 | -3.355 | 48.07 | -3.019 | 51.93
1368.938 | -3.366 | 48.041 | -3.026 | 51.959
1369.379 | -3.381 | 47.994 | -3.033 | 52.006
1369.82 | -3.402 | 47.956 | -3.047 | 52.044
1370.26 | -3.422 | 47.933 | -3.062 | 52.067
1370.701 | -3.434 | 47.936 | -3.075 | 52.064
1371.142 | -3.448 | 47.925 | -3.088 | 52.075
1371.583 | -3.468 | 47.903 | -3.104 | 52.097
1372.024 | -3.487 | 47.95 | -3.13 | 52.05
1372.465 | -3.503 | 48.044 | -3.163 | 51.956
1372.906 | -3.524 | 48.081 | -3.191 | 51.919
1373.347 | -3.547 | 48.088 | -3.215 | 51.912
1373.788 | -3.568 | 48.12 | -3.242 | 51.88
1374.229 | -3.592 | 48.139 | -3.269 | 51.861
1374.669 | -3.622 | 48.109 | -3.293 | 51.891
1375.11 | -3.652 | 48.065 | -3.315 | 51.935
1375.551 | -3.68 | 48.035 | -3.338 | 51.965
1375.992 | -3.706 | 48.057 | -3.368 | 51.943
1376.433 | -3.733 | 48.105 | -3.404 | 51.895
1376.874 | -3.77 | 48.096 | -3.439 | 51.904
1377.315 | -3.807 | 48.066 | -3.47 | 51.934
1377.755 | -3.831 | 48.07 | -3.495 | 51.93
1378.196 | -3.85 | 48.065 | -3.514 | 51.935
1378.637 | -3.869 | 48.025 | -3.526 | 51.975
1379.078 | -3.896 | 48.007 | -3.549 | 51.993
1379.519 | -3.929 | 48.035 | -3.587 | 51.965
1379.96 | -3.95 | 48.101 | -3.62 | 51.899
1380.401 | -3.965 | 48.139 | -3.641 | 51.861
1380.842 | -3.989 | 48.032 | -3.647 | 51.968
1381.283 | -4.011 | 47.938 | -3.653 | 52.062
1381.723 | -4.014 | 48.055 | -3.676 | 51.945
1382.164 | -4.015 | 48.126 | -3.689 | 51.874
1382.605 | -4.023 | 48.018 | -3.679 | 51.982
1383.046 | -4.029 | 47.957 | -3.674 | 52.043
1383.487 | -4.031 | 48.005 | -3.684 | 51.995
1383.928 | -4.034 | 48.046 | -3.695 | 51.954
1384.369 | -4.038 | 48.053 | -3.699 | 51.947
1384.81 | -4.036 | 48.037 | -3.695 | 51.963
1385.25 | -4.033 | 48.011 | -3.687 | 51.989
1385.691 | -4.031 | 47.988 | -3.681 | 52.012
1386.132 | -4.023 | 48.01 | -3.677 | 51.99
1386.573 | -4.006 | 48.074 | -3.671 | 51.926
1387.014 | -3.995 | 48.056 | -3.657 | 51.944
1387.455 | -3.991 | 47.974 | -3.639 | 52.026
1387.896 | -3.98 | 47.987 | -3.63 | 52.013
1388.337 | -3.968 | 48.04 | -3.627 | 51.96
1388.778 | -3.965 | 47.987 | -3.616 | 52.013
1389.218 | -3.963 | 47.896 | -3.597 | 52.104
1389.659 | -3.948 | 47.847 | -3.574 | 52.153
1390.1 | -3.931 | 47.849 | -3.557 | 52.151
1390.541 | -3.916 | 47.888 | -3.549 | 52.112
1390.982 | -3.904 | 47.901 | -3.539 | 52.099
1391.423 | -3.893 | 47.878 | -3.524 | 52.122
1391.864 | -3.881 | 47.86 | -3.509 | 52.14
1392.305 | -3.869 | 47.842 | -3.493 | 52.158
1392.745 | -3.859 | 47.803 | -3.477 | 52.197
1393.186 | -3.847 | 47.792 | -3.463 | 52.208
1393.627 | -3.828 | 47.84 | -3.453 | 52.16
1394.068 | -3.814 | 47.858 | -3.442 | 52.142
1394.509 | -3.809 | 47.806 | -3.428 | 52.194
1394.95 | -3.804 | 47.744 | -3.412 | 52.256
1395.391 | -3.795 | 47.711 | -3.397 | 52.289
1395.832 | -3.781 | 47.729 | -3.386 | 52.271
1396.273 | -3.764 | 47.78 | -3.379 | 52.22
1396.713 | -3.749 | 47.84 | -3.374 | 52.16
1397.154 | -3.734 | 47.897 | -3.368 | 52.103
1397.595 | -3.718 | 47.932 | -3.358 | 52.068
1398.036 | -3.707 | 47.919 | -3.345 | 52.081
1398.477 | -3.702 | 47.87 | -3.331 | 52.13
1398.918 | -3.692 | 47.859 | -3.32 | 52.141
1399.359 | -3.678 | 47.874 | -3.308 | 52.126
1399.8 | -3.667 | 47.852 | -3.294 | 52.148
1400.24 | -3.659 | 47.807 | -3.278 | 52.193
1400.681 | -3.65 | 47.783 | -3.265 | 52.217
1401.122 | -3.639 | 47.822 | -3.26 | 52.178
1401.563 | -3.624 | 47.928 | -3.264 | 52.072
1402.004 | -3.61 | 47.995 | -3.262 | 52.005
1402.445 | -3.6 | 47.982 | -3.25 | 52.018
1402.886 | -3.596 | 47.947 | -3.239 | 52.053
1403.327 | -3.595 | 47.919 | -3.233 | 52.081
1403.768 | -3.592 | 47.904 | -3.227 | 52.096
1404.208 | -3.582 | 47.924 | -3.221 | 52.076
1404.649 | -3.563 | 47.996 | -3.214 | 52.004
1405.09 | -3.544 | 48.058 | -3.207 | 51.942
1405.531 | -3.534 | 48.074 | -3.199 | 51.926
1405.972 | -3.528 | 48.081 | -3.194 | 51.919
1406.413 | -3.524 | 48.091 | -3.192 | 51.909
1406.854 | -3.519 | 48.084 | -3.186 | 51.916
1407.295 | -3.511 | 48.083 | -3.178 | 51.917
1407.735 | -3.5 | 48.124 | -3.174 | 51.876
1408.176 | -3.493 | 48.184 | -3.177 | 51.816
1408.617 | -3.495 | 48.225 | -3.187 | 51.775
1409.058 | -3.497 | 48.229 | -3.189 | 51.771
1409.499 | -3.49 | 48.208 | -3.179 | 51.792
1409.94 | -3.479 | 48.216 | -3.169 | 51.784
1410.381 | -3.466 | 48.277 | -3.167 | 51.723
1410.822 | -3.455 | 48.375 | -3.172 | 51.625
1411.263 | -3.445 | 48.46 | -3.177 | 51.54
1411.703 | -3.435 | 48.482 | -3.171 | 51.518
1412.144 | -3.427 | 48.465 | -3.16 | 51.535
1412.585 | -3.421 | 48.445 | -3.151 | 51.555
1413.026 | -3.418 | 48.451 | -3.149 | 51.549
1413.467 | -3.416 | 48.481 | -3.152 | 51.519
1413.908 | -3.415 | 48.489 | -3.153 | 51.511
1414.349 | -3.413 | 48.457 | -3.145 | 51.543
1414.79 | -3.409 | 48.407 | -3.132 | 51.593
1415.23 | -3.4 | 48.383 | -3.119 | 51.617
1415.671 | -3.388 | 48.429 | -3.115 | 51.571
1416.112 | -3.375 | 48.496 | -3.113 | 51.504
1416.553 | -3.366 | 48.527 | -3.11 | 51.473
1416.994 | -3.365 | 48.502 | -3.105 | 51.498
1417.435 | -3.371 | 48.444 | -3.1 | 51.556
1417.876 | -3.374 | 48.424 | -3.1 | 51.576
1418.317 | -3.37 | 48.456 | -3.101 | 51.544
1418.758 | -3.359 | 48.504 | -3.099 | 51.496
1419.198 | -3.351 | 48.512 | -3.092 | 51.488
1419.639 | -3.352 | 48.441 | -3.081 | 51.559
1420.08 | -3.357 | 48.359 | -3.072 | 51.641
1420.521 | -3.362 | 48.326 | -3.071 | 51.674
1420.962 | -3.362 | 48.325 | -3.071 | 51.675
1421.403 | -3.356 | 48.332 | -3.067 | 51.668
1421.844 | -3.348 | 48.333 | -3.059 | 51.667
1422.285 | -3.34 | 48.34 | -3.052 | 51.66
1422.725 | -3.333 | 48.379 | -3.051 | 51.621
1423.166 | -3.329 | 48.422 | -3.054 | 51.578
1423.607 | -3.327 | 48.43 | -3.054 | 51.57
1424.048 | -3.325 | 48.411 | -3.049 | 51.589
1424.489 | -3.323 | 48.383 | -3.042 | 51.617
1424.93 | -3.32 | 48.359 | -3.035 | 51.641
1425.371 | -3.318 | 48.343 | -3.03 | 51.657
1425.812 | -3.317 | 48.317 | -3.025 | 51.683
1426.253 | -3.317 | 48.284 | -3.019 | 51.716
1426.693 | -3.319 | 48.263 | -3.017 | 51.737
1427.134 | -3.32 | 48.253 | -3.017 | 51.747
1427.575 | -3.321 | 48.253 | -3.017 | 51.747
1428.016 | -3.319 | 48.264 | -3.018 | 51.736
1428.457 | -3.315 | 48.283 | -3.016 | 51.717
1428.898 | -3.31 | 48.299 | -3.014 | 51.701
1429.339 | -3.307 | 48.295 | -3.011 | 51.705
1429.78 | -3.307 | 48.253 | -3.003 | 51.747
1430.22 | -3.306 | 48.201 | -2.994 | 51.799
1430.661 | -3.304 | 48.182 | -2.988 | 51.818
1431.102 | -3.3 | 48.195 | -2.987 | 51.805
1431.543 | -3.299 | 48.226 | -2.991 | 51.774
1431.984 | -3.299 | 48.253 | -2.995 | 51.747
1432.425 | -3.298 | 48.257 | -2.995 | 51.743
1432.866 | -3.3 | 48.241 | -2.994 | 51.759
1433.307 | -3.303 | 48.203 | -2.99 | 51.797
1433.747 | -3.307 | 48.138 | -2.984 | 51.862
1434.188 | -3.31 | 48.083 | -2.977 | 51.917
1434.629 | -3.308 | 48.082 | -2.975 | 51.918
1435.07 | -3.306 | 48.103 | -2.977 | 51.897
1435.511 | -3.309 | 48.116 | -2.981 | 51.884
1435.952 | -3.308 | 48.136 | -2.984 | 51.864
1436.393 | -3.299 | 48.184 | -2.984 | 51.816
1436.834 | -3.288 | 48.273 | -2.988 | 51.727
1437.275 | -3.28 | 48.364 | -2.996 | 51.636
1437.715 | -3.277 | 48.392 | -2.998 | 51.608
1438.156 | -3.278 | 48.366 | -2.994 | 51.634
1438.597 | -3.279 | 48.323 | -2.988 | 51.677
1439.038 | -3.279 | 48.284 | -2.981 | 51.716
1439.479 | -3.278 | 48.267 | -2.977 | 51.733
1439.92 | -3.277 | 48.292 | -2.98 | 51.708
1440.361 | -3.276 | 48.349 | -2.989 | 51.651
1440.802 | -3.271 | 48.392 | -2.992 | 51.608
1441.242 | -3.265 | 48.402 | -2.987 | 51.598
1441.683 | -3.264 | 48.388 | -2.984 | 51.612
1442.124 | -3.267 | 48.38 | -2.985 | 51.62
1442.565 | -3.268 | 48.408 | -2.992 | 51.592
1443.006 | -3.267 | 48.459 | -2.999 | 51.541
1443.447 | -3.263 | 48.515 | -3.005 | 51.485
1443.888 | -3.262 | 48.558 | -3.012 | 51.442
1444.329 | -3.264 | 48.587 | -3.018 | 51.413
1444.77 | -3.26 | 48.618 | -3.02 | 51.382
1445.21 | -3.256 | 48.627 | -3.017 | 51.373
1445.651 | -3.261 | 48.569 | -3.012 | 51.431
1446.092 | -3.269 | 48.495 | -3.008 | 51.505
1446.533 | -3.269 | 48.481 | -3.005 | 51.519
1446.974 | -3.258 | 48.558 | -3.007 | 51.442
1447.415 | -3.243 | 48.692 | -3.016 | 51.308
1447.856 | -3.241 | 48.746 | -3.023 | 51.254
1448.297 | -3.25 | 48.699 | -3.024 | 51.301
1448.737 | -3.253 | 48.68 | -3.023 | 51.32
1449.178 | -3.248 | 48.702 | -3.023 | 51.298
1449.619 | -3.247 | 48.703 | -3.022 | 51.297
1450.06 | -3.249 | 48.718 | -3.026 | 51.282
1450.501 | -3.248 | 48.789 | -3.038 | 51.211
1450.942 | -3.246 | 48.834 | -3.043 | 51.166
1451.383 | -3.242 | 48.808 | -3.035 | 51.192
1451.824 | -3.231 | 48.785 | -3.02 | 51.215
1452.265 | -3.218 | 48.805 | -3.01 | 51.195
1452.705 | -3.212 | 48.862 | -3.014 | 51.138
1453.146 | -3.214 | 48.915 | -3.025 | 51.085
1453.587 | -3.217 | 48.921 | -3.029 | 51.079
1454.028 | -3.223 | 48.902 | -3.033 | 51.098
1454.469 | -3.234 | 48.893 | -3.042 | 51.107
1454.91 | -3.237 | 48.914 | -3.049 | 51.086
1455.351 | -3.228 | 48.951 | -3.046 | 51.049
1455.792 | -3.224 | 48.938 | -3.039 | 51.062
1456.232 | -3.227 | 48.884 | -3.033 | 51.116
1456.673 | -3.23 | 48.866 | -3.033 | 51.134
1457.114 | -3.232 | 48.868 | -3.035 | 51.132
1457.555 | -3.236 | 48.839 | -3.034 | 51.161
1457.996 | -3.239 | 48.805 | -3.031 | 51.195
1458.437 | -3.237 | 48.798 | -3.028 | 51.202
1458.878 | -3.234 | 48.806 | -3.026 | 51.194
1459.319 | -3.231 | 48.82 | -3.026 | 51.18
1459.76 | -3.229 | 48.846 | -3.028 | 51.154
1460.2 | -3.226 | 48.873 | -3.03 | 51.127
1460.641 | -3.225 | 48.874 | -3.029 | 51.126
1461.082 | -3.224 | 48.852 | -3.025 | 51.148
1461.523 | -3.225 | 48.821 | -3.02 | 51.179
1461.964 | -3.225 | 48.828 | -3.021 | 51.172
1462.405 | -3.223 | 48.904 | -3.033 | 51.096
1462.846 | -3.22 | 48.991 | -3.045 | 51.009
1463.287 | -3.215 | 49.057 | -3.051 | 50.943
1463.727 | -3.209 | 49.11 | -3.054 | 50.89
1464.168 | -3.204 | 49.135 | -3.054 | 50.865
1464.609 | -3.207 | 49.094 | -3.049 | 50.906
1465.05 | -3.213 | 49.028 | -3.045 | 50.972
1465.491 | -3.219 | 48.983 | -3.043 | 51.017
1465.932 | -3.222 | 48.932 | -3.036 | 51.068
1466.373 | -3.22 | 48.872 | -3.024 | 51.128
1466.814 | -3.216 | 48.877 | -3.021 | 51.123
1467.255 | -3.213 | 48.965 | -3.033 | 51.035
1467.695 | -3.209 | 49.066 | -3.047 | 50.934
1468.136 | -3.207 | 49.126 | -3.055 | 50.874
1468.577 | -3.209 | 49.102 | -3.053 | 50.898
1469.018 | -3.212 | 49.064 | -3.049 | 50.936
1469.459 | -3.212 | 49.091 | -3.054 | 50.909
1469.9 | -3.21 | 49.139 | -3.06 | 50.861
1470.341 | -3.205 | 49.168 | -3.061 | 50.832
1470.782 | -3.203 | 49.166 | -3.059 | 50.834
1471.222 | -3.206 | 49.139 | -3.056 | 50.861
1471.663 | -3.208 | 49.124 | -3.056 | 50.876
1472.104 | -3.208 | 49.137 | -3.059 | 50.863
1472.545 | -3.206 | 49.196 | -3.066 | 50.804
1472.986 | -3.202 | 49.265 | -3.074 | 50.735
1473.427 | -3.2 | 49.307 | -3.08 | 50.693
1473.868 | -3.197 | 49.326 | -3.08 | 50.674
1474.309 | -3.192 | 49.328 | -3.076 | 50.672
1474.75 | -3.19 | 49.329 | -3.073 | 50.671
1475.19 | -3.19 | 49.336 | -3.075 | 50.664
1475.631 | -3.195 | 49.343 | -3.08 | 50.657
1476.072 | -3.2 | 49.351 | -3.087 | 50.649
1476.513 | -3.202 | 49.368 | -3.092 | 50.632
1476.954 | -3.202 | 49.376 | -3.094 | 50.624
1477.395 | -3.204 | 49.359 | -3.093 | 50.641
1477.836 | -3.204 | 49.34 | -3.089 | 50.66
1478.277 | -3.202 | 49.331 | -3.085 | 50.669
1478.717 | -3.199 | 49.323 | -3.082 | 50.677
1479.158 | -3.198 | 49.326 | -3.081 | 50.674
1479.599 | -3.195 | 49.371 | -3.085 | 50.629
1480.04 | -3.19 | 49.436 | -3.092 | 50.564
1480.481 | -3.183 | 49.492 | -3.094 | 50.508
1480.922 | -3.178 | 49.532 | -3.096 | 50.468
1481.363 | -3.178 | 49.551 | -3.1 | 50.449
1481.804 | -3.18 | 49.564 | -3.104 | 50.436
1482.245 | -3.179 | 49.577 | -3.106 | 50.423
1482.685 | -3.178 | 49.586 | -3.106 | 50.414
1483.126 | -3.178 | 49.592 | -3.107 | 50.408
1483.567 | -3.177 | 49.599 | -3.108 | 50.401
1484.008 | -3.176 | 49.614 | -3.109 | 50.386
1484.449 | -3.169 | 49.649 | -3.108 | 50.351
1484.89 | -3.163 | 49.685 | -3.108 | 50.315
1485.331 | -3.165 | 49.705 | -3.113 | 50.295
1485.771 | -3.167 | 49.704 | -3.116 | 50.296
1486.212 | -3.168 | 49.686 | -3.113 | 50.314
1486.653 | -3.167 | 49.685 | -3.112 | 50.315
1487.094 | -3.166 | 49.697 | -3.114 | 50.303
1487.535 | -3.173 | 49.701 | -3.121 | 50.299
1487.976 | -3.181 | 49.7 | -3.128 | 50.3
1488.417 | -3.179 | 49.701 | -3.127 | 50.299
1488.858 | -3.175 | 49.721 | -3.127 | 50.279
1489.299 | -3.169 | 49.78 | -3.131 | 50.22
1489.74 | -3.164 | 49.853 | -3.138 | 50.147
1490.18 | -3.159 | 49.928 | -3.146 | 50.072
1490.621 | -3.15 | 49.982 | -3.147 | 50.018
1491.062 | -3.14 | 50.01 | -3.142 | 49.99
1491.503 | -3.136 | 49.994 | -3.135 | 50.006
1491.944 | -3.133 | 49.968 | -3.128 | 50.032
1492.385 | -3.133 | 49.96 | -3.126 | 50.04
1492.826 | -3.135 | 49.928 | -3.123 | 50.072
1493.266 | -3.142 | 49.848 | -3.115 | 50.152
1493.707 | -3.145 | 49.793 | -3.11 | 50.207
1494.148 | -3.144 | 49.786 | -3.107 | 50.214
1494.589 | -3.142 | 49.816 | -3.11 | 50.184
1495.03 | -3.141 | 49.853 | -3.115 | 50.147
1495.471 | -3.144 | 49.839 | -3.116 | 50.161
1495.912 | -3.146 | 49.823 | -3.115 | 50.177
1496.353 | -3.143 | 49.857 | -3.118 | 50.143
1496.794 | -3.14 | 49.878 | -3.119 | 50.122
1497.234 | -3.14 | 49.86 | -3.116 | 50.14
1497.675 | -3.137 | 49.861 | -3.113 | 50.139
1498.116 | -3.131 | 49.877 | -3.109 | 50.123
1498.557 | -3.125 | 49.843 | -3.097 | 50.157
1498.998 | -3.12 | 49.79 | -3.083 | 50.21
1499.439 | -3.117 | 49.79 | -3.08 | 50.21
1499.88 | -3.115 | 49.817 | -3.083 | 50.183
1500.321 | -3.115 | 49.872 | -3.092 | 50.128
1500.761 | -3.113 | 49.917 | -3.099 | 50.083
1501.202 | -3.109 | 49.937 | -3.098 | 50.063
1501.643 | -3.103 | 49.953 | -3.095 | 50.047
1502.084 | -3.097 | 49.961 | -3.09 | 50.039
1502.525 | -3.096 | 49.923 | -3.083 | 50.077
1502.966 | -3.098 | 49.867 | -3.075 | 50.133
1503.407 | -3.102 | 49.848 | -3.075 | 50.152
1503.848 | -3.104 | 49.844 | -3.077 | 50.156
1504.289 | -3.102 | 49.866 | -3.079 | 50.134
1504.729 | -3.097 | 49.926 | -3.084 | 50.074
1505.17 | -3.09 | 50.029 | -3.095 | 49.971
1505.611 | -3.085 | 50.089 | -3.1 | 49.911
1506.052 | -3.082 | 50.113 | -3.102 | 49.887
1506.493 | -3.074 | 50.169 | -3.103 | 49.831
1506.934 | -3.064 | 50.232 | -3.104 | 49.768
1507.375 | -3.062 | 50.244 | -3.105 | 49.756
1507.816 | -3.06 | 50.25 | -3.103 | 49.75
1508.256 | -3.054 | 50.27 | -3.101 | 49.73
1508.697 | -3.051 | 50.329 | -3.108 | 49.671
1509.138 | -3.05 | 50.428 | -3.124 | 49.572
1509.579 | -3.05 | 50.466 | -3.131 | 49.534
1510.02 | -3.05 | 50.453 | -3.128 | 49.547
1510.461 | -3.047 | 50.411 | -3.118 | 49.589
1510.902 | -3.044 | 50.382 | -3.11 | 49.618
1511.343 | -3.04 | 50.474 | -3.123 | 49.526
1511.784 | -3.037 | 50.583 | -3.138 | 49.417
1512.224 | -3.032 | 50.688 | -3.152 | 49.312
1512.665 | -3.029 | 50.761 | -3.161 | 49.239
1513.106 | -3.027 | 50.793 | -3.165 | 49.207
1513.547 | -3.018 | 50.808 | -3.159 | 49.192
1513.988 | -3.008 | 50.817 | -3.15 | 49.183
1514.429 | -3.013 | 50.843 | -3.159 | 49.157
1514.87 | -3.019 | 50.881 | -3.172 | 49.119
1515.311 | -3.011 | 50.951 | -3.177 | 49.049
1515.751 | -3.008 | 51.009 | -3.183 | 48.991
1516.192 | -3.016 | 51.035 | -3.196 | 48.965
1516.633 | -3.013 | 51.107 | -3.205 | 48.893
1517.074 | -2.996 | 51.218 | -3.208 | 48.782
1517.515 | -2.99 | 51.202 | -3.198 | 48.798
1517.956 | -2.99 | 51.132 | -3.187 | 48.868
1518.397 | -3.001 | 51.209 | -3.211 | 48.791
1518.838 | -3.009 | 51.31 | -3.237 | 48.69
1519.279 | -2.997 | 51.361 | -3.233 | 48.639
1519.719 | -2.99 | 51.399 | -3.233 | 48.601
1520.16 | -2.997 | 51.42 | -3.244 | 48.58
1520.601 | -2.998 | 51.424 | -3.245 | 48.576
1521.042 | -2.99 | 51.42 | -3.237 | 48.58
1521.483 | -2.979 | 51.503 | -3.24 | 48.497
1521.924 | -2.968 | 51.611 | -3.248 | 48.389
1522.365 | -2.977 | 51.559 | -3.248 | 48.441
1522.806 | -2.984 | 51.52 | -3.248 | 48.48
1523.246 | -2.969 | 51.647 | -3.255 | 48.353
1523.687 | -2.963 | 51.709 | -3.26 | 48.291
1524.128 | -2.975 | 51.639 | -3.259 | 48.361
1524.569 | -2.977 | 51.652 | -3.264 | 48.348
1525.01 | -2.972 | 51.732 | -3.273 | 48.268
1525.451 | -2.976 | 51.659 | -3.264 | 48.341
1525.892 | -2.982 | 51.541 | -3.25 | 48.459
1526.333 | -2.975 | 51.64 | -3.26 | 48.36
1526.774 | -2.967 | 51.728 | -3.267 | 48.272
1527.214 | -2.966 | 51.691 | -3.26 | 48.309
1527.655 | -2.964 | 51.656 | -3.251 | 48.344
1528.096 | -2.96 | 51.642 | -3.246 | 48.358
1528.537 | -2.958 | 51.742 | -3.261 | 48.258
1528.978 | -2.957 | 51.918 | -3.29 | 48.082
1529.419 | -2.955 | 51.947 | -3.294 | 48.053
1529.86 | -2.955 | 51.926 | -3.289 | 48.074
1530.301 | -2.956 | 51.814 | -3.271 | 48.186
1530.741 | -2.958 | 51.73 | -3.259 | 48.27
1531.182 | -2.964 | 51.753 | -3.269 | 48.247
1531.623 | -2.967 | 51.791 | -3.279 | 48.209
1532.064 | -2.966 | 51.841 | -3.286 | 48.159
1532.505 | -2.965 | 51.826 | -3.283 | 48.174
1532.946 | -2.965 | 51.774 | -3.273 | 48.226
1533.387 | -2.965 | 51.8 | -3.278 | 48.2
1533.828 | -2.965 | 51.843 | -3.285 | 48.157
1534.269 | -2.963 | 51.858 | -3.286 | 48.142
1534.709 | -2.96 | 51.878 | -3.287 | 48.122
1535.15 | -2.959 | 51.919 | -3.293 | 48.081
1535.591 | -2.96 | 51.926 | -3.295 | 48.074
1536.032 | -2.965 | 51.893 | -3.294 | 48.107
1536.473 | -2.968 | 51.85 | -3.289 | 48.15
1536.914 | -2.97 | 51.803 | -3.283 | 48.197
1537.355 | -2.97 | 51.819 | -3.286 | 48.181
1537.796 | -2.97 | 51.84 | -3.29 | 48.16
1538.236 | -2.967 | 51.815 | -3.282 | 48.185
1538.677 | -2.962 | 51.807 | -3.276 | 48.193
1539.118 | -2.952 | 51.846 | -3.273 | 48.154
1539.559 | -2.946 | 51.884 | -3.273 | 48.116
1540 | -2.944 | 51.92 | -3.278 | 48.08