## T153956
SN: | T153956
Item #: | TW1430R5F1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1430
Insertion Loss (dB): | -3.16
Coupling Ratio (%): | 50.06
Uniformity (dB): | 0.19
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1430
Insertion Loss (dB): | -3.17
Coupling Ratio (%): | 49.94
Uniformity (dB): | 0.51
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
1320 | -3.1 | 49.623 | -3.034 | 50.377
1320.441 | -3.1 | 49.616 | -3.033 | 50.384
1320.882 | -3.103 | 49.536 | -3.022 | 50.464
1321.323 | -3.101 | 49.511 | -3.016 | 50.489
1321.764 | -3.09 | 49.616 | -3.023 | 50.384
1322.204 | -3.096 | 49.572 | -3.022 | 50.428
1322.645 | -3.12 | 49.383 | -3.013 | 50.617
1323.086 | -3.124 | 49.375 | -3.015 | 50.625
1323.527 | -3.119 | 49.441 | -3.022 | 50.559
1323.968 | -3.124 | 49.384 | -3.017 | 50.616
1324.409 | -3.128 | 49.341 | -3.013 | 50.659
1324.85 | -3.121 | 49.473 | -3.03 | 50.527
1325.291 | -3.118 | 49.544 | -3.038 | 50.456
1325.731 | -3.12 | 49.49 | -3.032 | 50.51
1326.172 | -3.122 | 49.472 | -3.03 | 50.528
1326.613 | -3.122 | 49.488 | -3.033 | 50.512
1327.054 | -3.125 | 49.537 | -3.044 | 50.463
1327.495 | -3.128 | 49.593 | -3.057 | 50.407
1327.936 | -3.132 | 49.515 | -3.047 | 50.485
1328.377 | -3.134 | 49.441 | -3.037 | 50.559
1328.818 | -3.129 | 49.439 | -3.031 | 50.561
1329.259 | -3.125 | 49.416 | -3.024 | 50.584
1329.699 | -3.124 | 49.355 | -3.012 | 50.645
1330.14 | -3.122 | 49.335 | -3.007 | 50.665
1330.581 | -3.12 | 49.346 | -3.007 | 50.654
1331.022 | -3.134 | 49.33 | -3.018 | 50.67
1331.463 | -3.153 | 49.305 | -3.032 | 50.695
1331.904 | -3.16 | 49.292 | -3.037 | 50.708
1332.345 | -3.162 | 49.298 | -3.04 | 50.702
1332.786 | -3.151 | 49.361 | -3.04 | 50.639
1333.226 | -3.145 | 49.399 | -3.04 | 50.601
1333.667 | -3.146 | 49.401 | -3.042 | 50.599
1334.108 | -3.145 | 49.436 | -3.047 | 50.564
1334.549 | -3.143 | 49.491 | -3.055 | 50.509
1334.99 | -3.144 | 49.488 | -3.055 | 50.512
1335.431 | -3.145 | 49.47 | -3.053 | 50.53
1335.872 | -3.136 | 49.482 | -3.046 | 50.518
1336.313 | -3.132 | 49.498 | -3.044 | 50.502
1336.754 | -3.141 | 49.518 | -3.057 | 50.482
1337.194 | -3.147 | 49.529 | -3.065 | 50.471
1337.635 | -3.147 | 49.533 | -3.066 | 50.467
1338.076 | -3.145 | 49.554 | -3.068 | 50.446
1338.517 | -3.142 | 49.584 | -3.07 | 50.416
1338.958 | -3.147 | 49.573 | -3.073 | 50.427
1339.399 | -3.152 | 49.557 | -3.075 | 50.443
1339.84 | -3.147 | 49.568 | -3.072 | 50.432
1340.281 | -3.144 | 49.573 | -3.069 | 50.427
1340.721 | -3.143 | 49.558 | -3.066 | 50.442
1341.162 | -3.144 | 49.548 | -3.066 | 50.452
1341.603 | -3.147 | 49.543 | -3.068 | 50.457
1342.044 | -3.145 | 49.53 | -3.064 | 50.47
1342.485 | -3.141 | 49.519 | -3.058 | 50.481
1342.926 | -3.142 | 49.558 | -3.065 | 50.442
1343.367 | -3.144 | 49.606 | -3.075 | 50.394
1343.808 | -3.142 | 49.645 | -3.08 | 50.355
1344.249 | -3.143 | 49.646 | -3.082 | 50.354
1344.689 | -3.152 | 49.586 | -3.08 | 50.414
1345.13 | -3.16 | 49.575 | -3.087 | 50.425
1345.571 | -3.167 | 49.614 | -3.1 | 50.386
1346.012 | -3.165 | 49.607 | -3.097 | 50.393
1346.453 | -3.159 | 49.576 | -3.086 | 50.424
1346.894 | -3.152 | 49.572 | -3.077 | 50.428
1347.335 | -3.146 | 49.576 | -3.073 | 50.424
1347.776 | -3.148 | 49.591 | -3.077 | 50.409
1348.216 | -3.15 | 49.592 | -3.079 | 50.408
1348.657 | -3.151 | 49.569 | -3.076 | 50.431
1349.098 | -3.153 | 49.548 | -3.075 | 50.452
1349.539 | -3.156 | 49.541 | -3.076 | 50.459
1349.98 | -3.157 | 49.588 | -3.085 | 50.412
1350.421 | -3.157 | 49.653 | -3.097 | 50.347
1350.862 | -3.156 | 49.679 | -3.1 | 50.321
1351.303 | -3.156 | 49.672 | -3.099 | 50.328
1351.744 | -3.158 | 49.602 | -3.089 | 50.398
1352.184 | -3.16 | 49.554 | -3.082 | 50.446
1352.625 | -3.16 | 49.555 | -3.083 | 50.445
1353.066 | -3.158 | 49.565 | -3.083 | 50.435
1353.507 | -3.156 | 49.57 | -3.081 | 50.43
1353.948 | -3.155 | 49.543 | -3.075 | 50.457
1354.389 | -3.155 | 49.502 | -3.068 | 50.498
1354.83 | -3.159 | 49.465 | -3.066 | 50.535
1355.271 | -3.163 | 49.45 | -3.067 | 50.55
1355.711 | -3.162 | 49.485 | -3.072 | 50.515
1356.152 | -3.159 | 49.54 | -3.079 | 50.46
1356.593 | -3.156 | 49.603 | -3.087 | 50.397
1357.034 | -3.156 | 49.636 | -3.093 | 50.364
1357.475 | -3.16 | 49.642 | -3.097 | 50.358
1357.916 | -3.161 | 49.628 | -3.096 | 50.372
1358.357 | -3.162 | 49.6 | -3.092 | 50.4
1358.798 | -3.165 | 49.544 | -3.086 | 50.456
1359.239 | -3.168 | 49.512 | -3.084 | 50.488
1359.679 | -3.173 | 49.542 | -3.094 | 50.458
1360.12 | -3.177 | 49.578 | -3.104 | 50.422
1360.561 | -3.18 | 49.598 | -3.11 | 50.402
1361.002 | -3.182 | 49.569 | -3.107 | 50.431
1361.443 | -3.183 | 49.511 | -3.098 | 50.489
1361.884 | -3.188 | 49.459 | -3.094 | 50.541
1362.325 | -3.194 | 49.418 | -3.093 | 50.582
1362.766 | -3.2 | 49.411 | -3.098 | 50.589
1363.206 | -3.204 | 49.429 | -3.105 | 50.571
1363.647 | -3.205 | 49.481 | -3.115 | 50.519
1364.088 | -3.205 | 49.542 | -3.126 | 50.458
1364.529 | -3.206 | 49.602 | -3.137 | 50.398
1364.97 | -3.21 | 49.65 | -3.15 | 50.35
1365.411 | -3.217 | 49.681 | -3.162 | 50.319
1365.852 | -3.224 | 49.674 | -3.168 | 50.326
1366.293 | -3.231 | 49.649 | -3.17 | 50.351
1366.734 | -3.238 | 49.617 | -3.171 | 50.383
1367.174 | -3.243 | 49.62 | -3.177 | 50.38
1367.615 | -3.245 | 49.669 | -3.187 | 50.331
1368.056 | -3.248 | 49.663 | -3.19 | 50.337
1368.497 | -3.254 | 49.593 | -3.183 | 50.407
1368.938 | -3.266 | 49.512 | -3.181 | 50.488
1369.379 | -3.28 | 49.455 | -3.186 | 50.545
1369.82 | -3.295 | 49.489 | -3.206 | 50.511
1370.26 | -3.308 | 49.543 | -3.229 | 50.457
1370.701 | -3.32 | 49.573 | -3.246 | 50.427
1371.142 | -3.334 | 49.587 | -3.262 | 50.413
1371.583 | -3.35 | 49.59 | -3.279 | 50.41
1372.024 | -3.368 | 49.589 | -3.297 | 50.411
1372.465 | -3.391 | 49.567 | -3.315 | 50.433
1372.906 | -3.424 | 49.473 | -3.333 | 50.527
1373.347 | -3.459 | 49.387 | -3.353 | 50.613
1373.788 | -3.48 | 49.458 | -3.386 | 50.542
1374.229 | -3.498 | 49.539 | -3.418 | 50.461
1374.669 | -3.521 | 49.536 | -3.44 | 50.464
1375.11 | -3.549 | 49.53 | -3.468 | 50.47
1375.551 | -3.583 | 49.553 | -3.505 | 50.447
1375.992 | -3.614 | 49.59 | -3.543 | 50.41
1376.433 | -3.644 | 49.616 | -3.577 | 50.384
1376.874 | -3.676 | 49.584 | -3.604 | 50.416
1377.315 | -3.708 | 49.542 | -3.629 | 50.458
1377.755 | -3.734 | 49.554 | -3.656 | 50.446
1378.196 | -3.76 | 49.553 | -3.682 | 50.447
1378.637 | -3.79 | 49.504 | -3.704 | 50.496
1379.078 | -3.813 | 49.485 | -3.724 | 50.515
1379.519 | -3.829 | 49.518 | -3.745 | 50.482
1379.96 | -3.846 | 49.553 | -3.768 | 50.447
1380.401 | -3.866 | 49.559 | -3.789 | 50.441
1380.842 | -3.888 | 49.503 | -3.802 | 50.497
1381.283 | -3.905 | 49.456 | -3.81 | 50.544
1381.723 | -3.907 | 49.509 | -3.822 | 50.491
1382.164 | -3.908 | 49.565 | -3.833 | 50.435
1382.605 | -3.916 | 49.574 | -3.842 | 50.426
1383.046 | -3.924 | 49.587 | -3.853 | 50.413
1383.487 | -3.93 | 49.626 | -3.866 | 50.374
1383.928 | -3.932 | 49.685 | -3.878 | 50.315
1384.369 | -3.928 | 49.739 | -3.882 | 50.261
1384.81 | -3.913 | 49.744 | -3.869 | 50.256
1385.25 | -3.903 | 49.662 | -3.844 | 50.338
1385.691 | -3.912 | 49.457 | -3.817 | 50.543
1386.132 | -3.918 | 49.359 | -3.807 | 50.641
1386.573 | -3.911 | 49.477 | -3.82 | 50.523
1387.014 | -3.899 | 49.581 | -3.826 | 50.419
1387.455 | -3.886 | 49.602 | -3.817 | 50.398
1387.896 | -3.872 | 49.622 | -3.807 | 50.378
1388.337 | -3.857 | 49.666 | -3.799 | 50.334
1388.778 | -3.837 | 49.73 | -3.79 | 50.27
1389.218 | -3.818 | 49.767 | -3.778 | 50.233
1389.659 | -3.805 | 49.732 | -3.759 | 50.268
1390.1 | -3.795 | 49.68 | -3.739 | 50.32
1390.541 | -3.785 | 49.663 | -3.727 | 50.337
1390.982 | -3.772 | 49.726 | -3.724 | 50.274
1391.423 | -3.758 | 49.835 | -3.729 | 50.165
1391.864 | -3.748 | 49.885 | -3.728 | 50.115
1392.305 | -3.739 | 49.864 | -3.715 | 50.136
1392.745 | -3.723 | 49.783 | -3.685 | 50.217
1393.186 | -3.706 | 49.703 | -3.654 | 50.297
1393.627 | -3.694 | 49.669 | -3.636 | 50.331
1394.068 | -3.681 | 49.652 | -3.621 | 50.348
1394.509 | -3.667 | 49.627 | -3.602 | 50.373
1394.95 | -3.652 | 49.581 | -3.579 | 50.419
1395.391 | -3.636 | 49.529 | -3.554 | 50.471
1395.832 | -3.619 | 49.511 | -3.534 | 50.489
1396.273 | -3.604 | 49.524 | -3.521 | 50.476
1396.713 | -3.592 | 49.557 | -3.515 | 50.443
1397.154 | -3.58 | 49.612 | -3.512 | 50.388
1397.595 | -3.565 | 49.69 | -3.511 | 50.31
1398.036 | -3.549 | 49.767 | -3.509 | 50.233
1398.477 | -3.538 | 49.812 | -3.505 | 50.188
1398.918 | -3.536 | 49.792 | -3.5 | 50.208
1399.359 | -3.537 | 49.721 | -3.489 | 50.279
1399.8 | -3.532 | 49.645 | -3.471 | 50.355
1400.24 | -3.522 | 49.594 | -3.451 | 50.406
1400.681 | -3.509 | 49.592 | -3.438 | 50.408
1401.122 | -3.499 | 49.607 | -3.431 | 50.393
1401.563 | -3.492 | 49.605 | -3.423 | 50.395
1402.004 | -3.485 | 49.566 | -3.41 | 50.434
1402.445 | -3.477 | 49.518 | -3.393 | 50.482
1402.886 | -3.467 | 49.542 | -3.388 | 50.458
1403.327 | -3.456 | 49.623 | -3.39 | 50.377
1403.768 | -3.444 | 49.694 | -3.39 | 50.306
1404.208 | -3.432 | 49.742 | -3.387 | 50.258
1404.649 | -3.421 | 49.77 | -3.381 | 50.23
1405.09 | -3.412 | 49.79 | -3.375 | 50.21
1405.531 | -3.404 | 49.8 | -3.37 | 50.2
1405.972 | -3.398 | 49.784 | -3.361 | 50.216
1406.413 | -3.393 | 49.749 | -3.349 | 50.251
1406.854 | -3.386 | 49.734 | -3.34 | 50.266
1407.295 | -3.382 | 49.729 | -3.335 | 50.271
1407.735 | -3.381 | 49.706 | -3.33 | 50.294
1408.176 | -3.38 | 49.673 | -3.323 | 50.327
1408.617 | -3.374 | 49.652 | -3.313 | 50.348
1409.058 | -3.364 | 49.668 | -3.306 | 50.332
1409.499 | -3.352 | 49.723 | -3.303 | 50.277
1409.94 | -3.34 | 49.777 | -3.302 | 50.223
1410.381 | -3.333 | 49.79 | -3.297 | 50.21
1410.822 | -3.332 | 49.742 | -3.287 | 50.258
1411.263 | -3.333 | 49.679 | -3.277 | 50.321
1411.703 | -3.33 | 49.663 | -3.272 | 50.337
1412.144 | -3.326 | 49.666 | -3.268 | 50.334
1412.585 | -3.324 | 49.654 | -3.264 | 50.346
1413.026 | -3.321 | 49.652 | -3.26 | 50.348
1413.467 | -3.314 | 49.677 | -3.258 | 50.323
1413.908 | -3.303 | 49.722 | -3.255 | 50.278
1414.349 | -3.292 | 49.761 | -3.25 | 50.239
1414.79 | -3.285 | 49.763 | -3.244 | 50.237
1415.23 | -3.282 | 49.743 | -3.238 | 50.257
1415.671 | -3.282 | 49.732 | -3.236 | 50.268
1416.112 | -3.281 | 49.73 | -3.234 | 50.27
1416.553 | -3.278 | 49.73 | -3.231 | 50.27
1416.994 | -3.271 | 49.729 | -3.224 | 50.271
1417.435 | -3.264 | 49.727 | -3.216 | 50.273
1417.876 | -3.257 | 49.721 | -3.209 | 50.279
1418.317 | -3.253 | 49.713 | -3.203 | 50.287
1418.758 | -3.249 | 49.701 | -3.197 | 50.299
1419.198 | -3.247 | 49.7 | -3.195 | 50.3
1419.639 | -3.246 | 49.724 | -3.198 | 50.276
1420.08 | -3.247 | 49.753 | -3.204 | 50.247
1420.521 | -3.247 | 49.764 | -3.206 | 50.236
1420.962 | -3.245 | 49.74 | -3.2 | 50.26
1421.403 | -3.24 | 49.692 | -3.187 | 50.308
1421.844 | -3.232 | 49.661 | -3.173 | 50.339
1422.285 | -3.222 | 49.67 | -3.164 | 50.33
1422.725 | -3.211 | 49.719 | -3.162 | 50.281
1423.166 | -3.203 | 49.768 | -3.162 | 50.232
1423.607 | -3.2 | 49.775 | -3.161 | 50.225
1424.048 | -3.2 | 49.756 | -3.158 | 50.244
1424.489 | -3.2 | 49.743 | -3.155 | 50.257
1424.93 | -3.199 | 49.767 | -3.158 | 50.233
1425.371 | -3.196 | 49.834 | -3.168 | 50.166
1425.812 | -3.193 | 49.909 | -3.177 | 50.091
1426.253 | -3.188 | 49.949 | -3.179 | 50.051
1426.693 | -3.183 | 49.924 | -3.17 | 50.076
1427.134 | -3.178 | 49.887 | -3.158 | 50.113
1427.575 | -3.175 | 49.888 | -3.156 | 50.112
1428.016 | -3.175 | 49.884 | -3.155 | 50.116
1428.457 | -3.177 | 49.852 | -3.151 | 50.148
1428.898 | -3.177 | 49.848 | -3.15 | 50.152
1429.339 | -3.172 | 49.902 | -3.155 | 50.098
1429.78 | -3.164 | 50.003 | -3.164 | 49.997
1430.22 | -3.157 | 50.079 | -3.171 | 49.921
1430.661 | -3.157 | 50.059 | -3.167 | 49.941
1431.102 | -3.156 | 50.009 | -3.158 | 49.991
1431.543 | -3.152 | 50.002 | -3.152 | 49.998
1431.984 | -3.149 | 50.014 | -3.151 | 49.986
1432.425 | -3.149 | 50.017 | -3.152 | 49.983
1432.866 | -3.15 | 50.015 | -3.152 | 49.985
1433.307 | -3.147 | 50.025 | -3.152 | 49.975
1433.747 | -3.143 | 50.064 | -3.154 | 49.936
1434.188 | -3.14 | 50.108 | -3.159 | 49.892
1434.629 | -3.141 | 50.12 | -3.162 | 49.88
1435.07 | -3.139 | 50.119 | -3.159 | 49.881
1435.511 | -3.129 | 50.128 | -3.152 | 49.872
1435.952 | -3.121 | 50.14 | -3.145 | 49.86
1436.393 | -3.119 | 50.144 | -3.144 | 49.856
1436.834 | -3.117 | 50.138 | -3.141 | 49.862
1437.275 | -3.115 | 50.135 | -3.138 | 49.865
1437.715 | -3.113 | 50.155 | -3.14 | 49.845
1438.156 | -3.112 | 50.186 | -3.144 | 49.814
1438.597 | -3.112 | 50.2 | -3.146 | 49.8
1439.038 | -3.109 | 50.191 | -3.142 | 49.809
1439.479 | -3.104 | 50.166 | -3.133 | 49.834
1439.92 | -3.103 | 50.161 | -3.13 | 49.839
1440.361 | -3.103 | 50.192 | -3.137 | 49.808
1440.802 | -3.099 | 50.245 | -3.142 | 49.755
1441.242 | -3.091 | 50.306 | -3.144 | 49.694
1441.683 | -3.085 | 50.371 | -3.15 | 49.629
1442.124 | -3.086 | 50.387 | -3.153 | 49.613
1442.565 | -3.092 | 50.306 | -3.146 | 49.694
1443.006 | -3.099 | 50.207 | -3.135 | 49.793
1443.447 | -3.099 | 50.163 | -3.127 | 49.837
1443.888 | -3.095 | 50.155 | -3.122 | 49.845
1444.329 | -3.087 | 50.181 | -3.118 | 49.819
1444.77 | -3.075 | 50.261 | -3.12 | 49.739
1445.21 | -3.068 | 50.343 | -3.127 | 49.657
1445.651 | -3.075 | 50.353 | -3.136 | 49.647
1446.092 | -3.086 | 50.308 | -3.139 | 49.692
1446.533 | -3.086 | 50.254 | -3.13 | 49.746
1446.974 | -3.083 | 50.222 | -3.121 | 49.778
1447.415 | -3.081 | 50.225 | -3.12 | 49.775
1447.856 | -3.076 | 50.235 | -3.117 | 49.765
1448.297 | -3.071 | 50.236 | -3.111 | 49.764
1448.737 | -3.068 | 50.228 | -3.108 | 49.772
1449.178 | -3.068 | 50.241 | -3.11 | 49.759
1449.619 | -3.068 | 50.31 | -3.122 | 49.69
1450.06 | -3.066 | 50.387 | -3.133 | 49.613
1450.501 | -3.062 | 50.416 | -3.134 | 49.584
1450.942 | -3.057 | 50.403 | -3.127 | 49.597
1451.383 | -3.054 | 50.361 | -3.117 | 49.639
1451.824 | -3.054 | 50.306 | -3.107 | 49.694
1452.265 | -3.056 | 50.274 | -3.103 | 49.726
1452.705 | -3.056 | 50.307 | -3.109 | 49.693
1453.146 | -3.052 | 50.368 | -3.116 | 49.632
1453.587 | -3.046 | 50.396 | -3.115 | 49.604
1454.028 | -3.041 | 50.414 | -3.113 | 49.586
1454.469 | -3.04 | 50.452 | -3.119 | 49.548
1454.91 | -3.043 | 50.475 | -3.125 | 49.525
1455.351 | -3.046 | 50.464 | -3.126 | 49.536
1455.792 | -3.047 | 50.449 | -3.125 | 49.551
1456.232 | -3.047 | 50.431 | -3.122 | 49.569
1456.673 | -3.048 | 50.383 | -3.114 | 49.617
1457.114 | -3.05 | 50.321 | -3.105 | 49.679
1457.555 | -3.054 | 50.277 | -3.102 | 49.723
1457.996 | -3.056 | 50.259 | -3.101 | 49.741
1458.437 | -3.054 | 50.269 | -3.101 | 49.731
1458.878 | -3.053 | 50.289 | -3.104 | 49.711
1459.319 | -3.056 | 50.31 | -3.11 | 49.69
1459.76 | -3.056 | 50.337 | -3.114 | 49.663
1460.2 | -3.053 | 50.333 | -3.111 | 49.667
1460.641 | -3.057 | 50.231 | -3.098 | 49.769
1461.082 | -3.062 | 50.132 | -3.085 | 49.868
1461.523 | -3.059 | 50.181 | -3.09 | 49.819
1461.964 | -3.052 | 50.279 | -3.101 | 49.721
1462.405 | -3.048 | 50.341 | -3.107 | 49.659
1462.846 | -3.047 | 50.392 | -3.115 | 49.608
1463.287 | -3.049 | 50.428 | -3.123 | 49.572
1463.727 | -3.053 | 50.401 | -3.122 | 49.599
1464.168 | -3.055 | 50.342 | -3.115 | 49.658
1464.609 | -3.054 | 50.329 | -3.111 | 49.671
1465.05 | -3.051 | 50.343 | -3.11 | 49.657
1465.491 | -3.05 | 50.346 | -3.11 | 49.654
1465.932 | -3.051 | 50.366 | -3.115 | 49.634
1466.373 | -3.052 | 50.417 | -3.125 | 49.583
1466.814 | -3.048 | 50.445 | -3.125 | 49.555
1467.255 | -3.039 | 50.425 | -3.113 | 49.575
1467.695 | -3.036 | 50.377 | -3.102 | 49.623
1468.136 | -3.039 | 50.338 | -3.097 | 49.662
1468.577 | -3.039 | 50.354 | -3.1 | 49.646
1469.018 | -3.038 | 50.384 | -3.105 | 49.616
1469.459 | -3.041 | 50.378 | -3.107 | 49.622
1469.9 | -3.045 | 50.368 | -3.109 | 49.632
1470.341 | -3.048 | 50.377 | -3.113 | 49.623
1470.782 | -3.049 | 50.4 | -3.119 | 49.6
1471.222 | -3.048 | 50.429 | -3.123 | 49.571
1471.663 | -3.044 | 50.451 | -3.122 | 49.549
1472.104 | -3.038 | 50.484 | -3.122 | 49.516
1472.545 | -3.034 | 50.565 | -3.132 | 49.435
1472.986 | -3.032 | 50.64 | -3.144 | 49.36
1473.427 | -3.035 | 50.645 | -3.147 | 49.355
1473.868 | -3.036 | 50.622 | -3.144 | 49.378
1474.309 | -3.034 | 50.599 | -3.138 | 49.401
1474.75 | -3.03 | 50.583 | -3.132 | 49.417
1475.19 | -3.027 | 50.592 | -3.13 | 49.408
1475.631 | -3.024 | 50.654 | -3.137 | 49.346
1476.072 | -3.019 | 50.743 | -3.148 | 49.257
1476.513 | -3.011 | 50.814 | -3.152 | 49.186
1476.954 | -3.004 | 50.841 | -3.15 | 49.159
1477.395 | -3.003 | 50.793 | -3.141 | 49.207
1477.836 | -3.007 | 50.722 | -3.133 | 49.278
1478.277 | -3.014 | 50.671 | -3.13 | 49.329
1478.717 | -3.015 | 50.693 | -3.136 | 49.307
1479.158 | -3.011 | 50.771 | -3.145 | 49.229
1479.599 | -3.006 | 50.827 | -3.15 | 49.173
1480.04 | -3.001 | 50.859 | -3.15 | 49.141
1480.481 | -2.997 | 50.889 | -3.151 | 49.111
1480.922 | -2.994 | 50.924 | -3.154 | 49.076
1481.363 | -2.993 | 50.965 | -3.161 | 49.035
1481.804 | -2.993 | 50.992 | -3.165 | 49.008
1482.245 | -2.991 | 51.002 | -3.165 | 48.998
1482.685 | -2.986 | 51.035 | -3.166 | 48.965
1483.126 | -2.979 | 51.085 | -3.168 | 48.915
1483.567 | -2.976 | 51.114 | -3.17 | 48.886
1484.008 | -2.975 | 51.129 | -3.171 | 48.871
1484.449 | -2.975 | 51.139 | -3.173 | 48.861
1484.89 | -2.976 | 51.146 | -3.175 | 48.854
1485.331 | -2.978 | 51.141 | -3.176 | 48.859
1485.771 | -2.98 | 51.116 | -3.173 | 48.884
1486.212 | -2.98 | 51.076 | -3.167 | 48.924
1486.653 | -2.975 | 51.071 | -3.161 | 48.929
1487.094 | -2.968 | 51.096 | -3.158 | 48.904
1487.535 | -2.964 | 51.129 | -3.16 | 48.871
1487.976 | -2.962 | 51.166 | -3.165 | 48.834
1488.417 | -2.962 | 51.221 | -3.174 | 48.779
1488.858 | -2.96 | 51.284 | -3.183 | 48.716
1489.299 | -2.954 | 51.349 | -3.188 | 48.651
1489.74 | -2.948 | 51.381 | -3.188 | 48.619
1490.18 | -2.944 | 51.377 | -3.183 | 48.623
1490.621 | -2.94 | 51.393 | -3.182 | 48.607
1491.062 | -2.937 | 51.436 | -3.187 | 48.564
1491.503 | -2.937 | 51.508 | -3.199 | 48.492
1491.944 | -2.938 | 51.575 | -3.212 | 48.425
1492.385 | -2.941 | 51.594 | -3.218 | 48.406
1492.826 | -2.939 | 51.602 | -3.217 | 48.398
1493.266 | -2.928 | 51.611 | -3.208 | 48.389
1493.707 | -2.918 | 51.624 | -3.201 | 48.376
1494.148 | -2.913 | 51.64 | -3.197 | 48.36
1494.589 | -2.911 | 51.652 | -3.198 | 48.348
1495.03 | -2.912 | 51.684 | -3.204 | 48.316
1495.471 | -2.91 | 51.812 | -3.225 | 48.188
1495.912 | -2.907 | 51.948 | -3.245 | 48.052
1496.353 | -2.902 | 51.999 | -3.249 | 48.001
1496.794 | -2.899 | 52.015 | -3.249 | 47.985
1497.234 | -2.899 | 51.999 | -3.246 | 48.001
1497.675 | -2.899 | 51.967 | -3.241 | 48.033
1498.116 | -2.898 | 51.926 | -3.233 | 48.074
1498.557 | -2.898 | 51.887 | -3.226 | 48.113
1498.998 | -2.898 | 51.868 | -3.223 | 48.132
1499.439 | -2.899 | 51.941 | -3.237 | 48.059
1499.88 | -2.898 | 52.03 | -3.251 | 47.97
1500.321 | -2.891 | 52.081 | -3.253 | 47.919
1500.761 | -2.887 | 52.086 | -3.25 | 47.914
1501.202 | -2.89 | 52.041 | -3.245 | 47.959
1501.643 | -2.889 | 52.048 | -3.245 | 47.952
1502.084 | -2.884 | 52.116 | -3.252 | 47.884
1502.525 | -2.878 | 52.208 | -3.262 | 47.792
1502.966 | -2.874 | 52.298 | -3.273 | 47.702
1503.407 | -2.873 | 52.33 | -3.278 | 47.67
1503.848 | -2.875 | 52.335 | -3.281 | 47.665
1504.289 | -2.88 | 52.302 | -3.28 | 47.698
1504.729 | -2.88 | 52.258 | -3.273 | 47.742
1505.17 | -2.873 | 52.21 | -3.258 | 47.79
1505.611 | -2.878 | 52.164 | -3.255 | 47.836
1506.052 | -2.891 | 52.143 | -3.263 | 47.857
1506.493 | -2.885 | 52.264 | -3.278 | 47.736
1506.934 | -2.871 | 52.419 | -3.292 | 47.581
1507.375 | -2.866 | 52.425 | -3.288 | 47.575
1507.816 | -2.865 | 52.414 | -3.285 | 47.586
1508.256 | -2.869 | 52.426 | -3.291 | 47.574
1508.697 | -2.879 | 52.403 | -3.296 | 47.597
1509.138 | -2.892 | 52.339 | -3.299 | 47.661
1509.579 | -2.89 | 52.364 | -3.301 | 47.636
1510.02 | -2.879 | 52.443 | -3.304 | 47.557
1510.461 | -2.876 | 52.43 | -3.298 | 47.57
1510.902 | -2.877 | 52.373 | -3.29 | 47.627
1511.343 | -2.891 | 52.284 | -3.288 | 47.716
1511.784 | -2.9 | 52.268 | -3.294 | 47.732
1512.224 | -2.895 | 52.424 | -3.316 | 47.576
1512.665 | -2.89 | 52.545 | -3.333 | 47.455
1513.106 | -2.89 | 52.585 | -3.339 | 47.415
1513.547 | -2.898 | 52.542 | -3.34 | 47.458
1513.988 | -2.91 | 52.46 | -3.338 | 47.54
1514.429 | -2.911 | 52.452 | -3.337 | 47.548
1514.87 | -2.908 | 52.468 | -3.338 | 47.532
1515.311 | -2.908 | 52.488 | -3.34 | 47.512
1515.751 | -2.912 | 52.479 | -3.343 | 47.521
1516.192 | -2.925 | 52.411 | -3.344 | 47.589
1516.633 | -2.934 | 52.364 | -3.345 | 47.636
1517.074 | -2.935 | 52.36 | -3.346 | 47.64
1517.515 | -2.926 | 52.474 | -3.357 | 47.526
1517.956 | -2.913 | 52.646 | -3.373 | 47.354
1518.397 | -2.902 | 52.774 | -3.384 | 47.226
1518.838 | -2.895 | 52.843 | -3.39 | 47.157
1519.279 | -2.908 | 52.694 | -3.376 | 47.306
1519.719 | -2.916 | 52.599 | -3.368 | 47.401
1520.16 | -2.914 | 52.646 | -3.375 | 47.354
1520.601 | -2.915 | 52.607 | -3.368 | 47.393
1521.042 | -2.917 | 52.492 | -3.35 | 47.508
1521.483 | -2.913 | 52.602 | -3.365 | 47.398
1521.924 | -2.907 | 52.801 | -3.394 | 47.199
1522.365 | -2.908 | 52.792 | -3.393 | 47.208
1522.806 | -2.909 | 52.743 | -3.386 | 47.257
1523.246 | -2.907 | 52.676 | -3.372 | 47.324
1523.687 | -2.906 | 52.653 | -3.367 | 47.347
1524.128 | -2.905 | 52.715 | -3.377 | 47.285
1524.569 | -2.896 | 52.864 | -3.394 | 47.136
1525.01 | -2.879 | 53.072 | -3.413 | 46.928
1525.451 | -2.868 | 53.161 | -3.418 | 46.839
1525.892 | -2.862 | 53.193 | -3.417 | 46.807
1526.333 | -2.883 | 53.086 | -3.419 | 46.914
1526.774 | -2.902 | 52.991 | -3.423 | 47.009
1527.214 | -2.908 | 52.993 | -3.428 | 47.007
1527.655 | -2.914 | 53.004 | -3.436 | 46.996
1528.096 | -2.922 | 53.019 | -3.447 | 46.981
1528.537 | -2.933 | 53.05 | -3.463 | 46.95
1528.978 | -2.944 | 53.097 | -3.482 | 46.903
1529.419 | -2.94 | 53.233 | -3.502 | 46.767
1529.86 | -2.932 | 53.388 | -3.521 | 46.612
1530.301 | -2.927 | 53.369 | -3.514 | 46.631
1530.741 | -2.926 | 53.341 | -3.507 | 46.659
1531.182 | -2.934 | 53.311 | -3.51 | 46.689
1531.623 | -2.94 | 53.265 | -3.508 | 46.735
1532.064 | -2.943 | 53.2 | -3.5 | 46.8
1532.505 | -2.939 | 53.206 | -3.497 | 46.794
1532.946 | -2.931 | 53.261 | -3.499 | 46.739
1533.387 | -2.92 | 53.41 | -3.513 | 46.59
1533.828 | -2.908 | 53.571 | -3.53 | 46.429
1534.269 | -2.911 | 53.563 | -3.531 | 46.437
1534.709 | -2.912 | 53.56 | -3.532 | 46.44
1535.15 | -2.905 | 53.586 | -3.529 | 46.414
1535.591 | -2.895 | 53.623 | -3.525 | 46.377
1536.032 | -2.881 | 53.672 | -3.52 | 46.328
1536.473 | -2.871 | 53.717 | -3.518 | 46.283
1536.914 | -2.864 | 53.76 | -3.518 | 46.24
1537.355 | -2.858 | 53.777 | -3.515 | 46.223
1537.796 | -2.852 | 53.79 | -3.512 | 46.21
1538.236 | -2.848 | 53.817 | -3.512 | 46.183
1538.677 | -2.842 | 53.829 | -3.508 | 46.171
1539.118 | -2.832 | 53.806 | -3.494 | 46.194
1539.559 | -2.819 | 53.85 | -3.489 | 46.15
1540 | -2.803 | 53.965 | -3.494 | 46.035